## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-02-09 | 11:03 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 200 | 0 | mg/L | 43 | 2.22 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 26 | 13.2 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-02-09 | 11:03 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 400 | 0 | ug P/L | 23.8 | 0.719 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 57.7 | 28.9 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-02-09 | 11:03 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 100 | 0 | mg/L | 30.8 | 1.74 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 25.2 | 12.4 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-02-09 | 11:03 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 200 | 0 | ug P/L | 11.7 | 0.349 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 57.3 | 28.9 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-02-09 | 11:06 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 50 | 0 | mg/L | 19.4 | 1.17 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 25.2 | 12.4 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-02-09 | 11:06 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 100 | 0 | ug P/L | 5.66 | 0.161 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 58.1 | 20.2 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 11:09 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 25 | 25 | mg/L | 11.2 | 0.693 | Conc = 2.87e-3 * Area^3 - 0.108 * Area^2 + 4.31 * Area - 13.7 | 24.7 | 12 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 11:09 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 50 | 50 | ug P/L | 2.66 | 0.0736 | Conc = 5.63e-4 * Area^3 - 0.0217 * Area^2 + 16.8 * Area + 5.48 | 57.7 | 20.6 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-02-09 | 11:12 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 10 | 9.9345 | mg/L | 4.73 | 0.283 | Conc = 1.99e-3 * Area^3 - 0.0372 * Area^2 + 2.60 * Area - 1.74 | 24.3 | 0 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-02-09 | 11:12 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 20 | 20.1425 | ug P/L | 1.02 | 0.0267 | Conc = 4.98e-3 * Area^3 - 0.190 * Area^2 + 18.5 * Area + 1.42 | 56.5 | 30.9 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-02-09 | 11:15 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 5 | 4.8791 | mg/L | 2.25 | 0.135 | Conc = 1.75e-3 * Area^3 - 0.0198 * Area^2 + 2.26 * Area - 0.127 | 24.3 | 5.36 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-02-09 | 11:15 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 10 | 10.2311 | ug P/L | 0.524 | 0.0135 | Conc = 6.90e-3 * Area^3 - 0.260 * Area^2 + 19.1 * Area + 0.290 | 56.9 | 31.3 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-02-09 | 11:18 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 2.5 | 2.475 | mg/L | 1.24 | 0.0679 | Conc = 1.79e-3 * Area^3 - 0.0226 * Area^2 + 2.31 * Area - 0.304 | 23.9 | 6.6 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-02-09 | 11:18 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 5 | 5.2816 | ug P/L | 0.295 | 0.00695 | Conc = 8.79e-3 * Area^3 - 0.327 * Area^2 + 19.7 * Area - 0.490 | 52.8 | 31.8 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 11:19 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 0 | 0.056202 | mg/L | 0.201 | 0.00743 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 16.9 | 2.89 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 11:19 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 0 | -1.5951 | ug P/L | -0.216 | -0.00334 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 112 | 19.4 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-02-09 | 11:20 | instrument | OM_2-9-2016_11-01-48AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21.5 |  | mg/L | 9.6 | 0.594 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 5.77 | 21.5 | 21.5 | 21.5
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-02-09 | 11:20 | instrument | OM_2-9-2016_11-01-48AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 44.4 |  | ug P/L | 2.53 | 0.071 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 59 | 18.6 | 44.4 | 44.4 | 44.4
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-02-09 | 11:21 | instrument | OM_2-9-2016_11-01-48AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21.6 |  | mg/L | 9.66 | 0.59 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 24.7 | 8.66 | 21.6 | 21.6 | 21.6
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-02-09 | 11:21 | instrument | OM_2-9-2016_11-01-48AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 45 |  | ug P/L | 2.56 | 0.0742 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.7 | 29.7 | 45 | 45 | 45
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-02-09 | 11:22 | instrument | OM_2-9-2016_11-01-48AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 22 |  | mg/L | 9.85 | 0.601 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 24.7 | 8.25 | 22 | 22 | 22
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-02-09 | 11:22 | instrument | OM_2-9-2016_11-01-48AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 46.9 |  | ug P/L | 2.67 | 0.0758 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 58.6 | 19 | 46.9 | 46.9 | 46.9
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-02-09 | 11:29 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 24 | 24.0383 | mg/L | 10.7 | 0.671 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 24.7 | 14 | 2400 | 24 | 2400
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-02-09 | 11:29 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 46.2 | 46.2268 | ug P/L | 2.64 | 0.0705 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 4620 | 46.2 | 4620
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 11:30 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | -0.596 | -0.59636 | mg/L | -0.0771 | -0.00331 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 26.4 | 0.825 | -0.596 | -0.596 | -0.596
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 11:30 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 0.129 | 0.12923 | ug P/L | -0.111 | -0.002 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 37.5 | 20.6 | 0.129 | 0.129 | 0.129
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 11:32 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 24.3 | 24.2914 | mg/L | 10.8 | 0.793 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.6 | 11.1 | 97.2 | 24.3 | 97.2
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 11:32 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 46.1 | 46.1171 | ug P/L | 2.63 | 0.0726 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 184 | 46.1 | 184
Tres Rios 1762 1.11.16 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-02-09 | 11:39 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 24.8 |  | mg/L | 11 | 0.702 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 24.7 | 9.48 | 248 | 24.8 | 248
Tres Rios 1762 1.11.16 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-02-09 | 11:39 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 342 |  | ug P/L | 20 | 0.59 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 3420 | 342 | 3420
Tres Rios 1763 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-02-09 | 11:42 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 24.7 |  | mg/L | 11 | 0.686 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 24.7 | 11.1 | 247 | 24.7 | 247
Tres Rios 1763 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-02-09 | 11:42 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 339 |  | ug P/L | 19.9 | 0.577 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.7 | 18.6 | 3390 | 339 | 3390
Tres Rios 1764 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-02-09 | 11:44 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 25.5 |  | mg/L | 11.3 | 0.698 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.6 | 12.4 | 255 | 25.5 | 255
Tres Rios 1764 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-02-09 | 11:44 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 281 |  | ug P/L | 16.3 | 0.48 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 2810 | 281 | 2810
Tres Rios 1765 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-02-09 | 11:47 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 23.2 |  | mg/L | 10.3 | 0.643 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.6 | 13.2 | 232 | 23.2 | 232
Tres Rios 1765 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-02-09 | 11:47 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 100 |  | ug P/L | 5.79 | 3.31 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 23.5 | 18.6 | 1000 | 100 | 1000
Tres Rios 1766 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-02-09 | 11:50 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 23.1 |  | mg/L | 10.3 | 0.642 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 7.84 | 231 | 23.1 | 231
Tres Rios 1766 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-02-09 | 11:50 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 292 |  | ug P/L | 17 | 0.506 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 2920 | 292 | 2920
Tres Rios 1767 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-02-09 | 11:53 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 23.1 |  | mg/L | 10.3 | 0.631 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 12.8 | 231 | 23.1 | 231
Tres Rios 1767 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-02-09 | 11:53 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 311 |  | ug P/L | 18.1 | 0.543 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 56.9 | 20.2 | 3110 | 311 | 3110
Tres Rios 1768 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-02-09 | 11:55 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 26.3 |  | mg/L | 11.6 | 0.726 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 13.2 | 263 | 26.3 | 263
Tres Rios 1768 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-02-09 | 11:55 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 312 |  | ug P/L | 18.2 | 0.596 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 54.8 | 39.2 | 3120 | 312 | 3120
Tres Rios 1769 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-02-09 | 11:58 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 23.9 |  | mg/L | 10.6 | 0.66 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 0 | 239 | 23.9 | 239
Tres Rios 1769 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-02-09 | 11:58 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 204 |  | ug P/L | 11.8 | 0.343 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.7 | 18.6 | 2040 | 204 | 2040
Tres Rios 1770 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-02-09 | 12:01 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 31.6 |  | mg/L | 13.6 | 0.844 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 9.9 | 316 | 31.6 | 316
Tres Rios 1770 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-02-09 | 12:01 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 263 |  | ug P/L | 15.2 | 0.448 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 2630 | 263 | 2630
Tres Rios 1771 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-02-09 | 12:04 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 23.4 |  | mg/L | 10.4 | 0.662 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 24.7 | 12.4 | 234 | 23.4 | 234
Tres Rios 1771 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-02-09 | 12:04 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 304 |  | ug P/L | 17.7 | 0.523 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.7 | 18.6 | 3040 | 304 | 3040
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 12:04 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | -0.625 | -0.62528 | mg/L | -0.0894 | -0.00801 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 41.6 | 21 | -0.625 | -0.625 | -0.625
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 12:04 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | -2.35 | -2.345 | ug P/L | -0.261 | -0.00398 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 36.7 | 18.6 | -2.35 | -2.35 | -2.35
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 12:07 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 24.8 | 24.8167 | mg/L | 11 | 0.685 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 12.8 | 99.3 | 24.8 | 99.3
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 12:07 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 53.2 | 53.215 | ug P/L | 3.05 | 0.0854 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 58.1 | 19 | 213 | 53.2 | 213
Tres Rios 1772 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-02-09 | 12:14 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 20 |  | mg/L | 8.97 | 0.541 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 12.4 | 200 | 20 | 200
Tres Rios 1772 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-02-09 | 12:14 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 300 |  | ug P/L | 17.5 | 0.518 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 18.6 | 3000 | 300 | 3000
Tres Rios 1773 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-02-09 | 12:16 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 23.8 |  | mg/L | 10.6 | 0.661 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.2 | 12.4 | 238 | 23.8 | 238
Tres Rios 1773 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-02-09 | 12:16 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 306 |  | ug P/L | 17.8 | 0.537 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 57.3 | 28.9 | 3060 | 306 | 3060
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 12:24 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | -0.775 | -0.77502 | mg/L | -0.153 | -0.00438 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 12.8 | 0 | -0.775 | -0.775 | -0.775
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2016-02-09 | 12:24 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 0.182 | 0.18201 | ug P/L | -0.108 | -0.00164 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 108 | 18.6 | 0.182 | 0.182 | 0.182
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 12:27 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 1 | Chloride | 24.9 | 24.9249 | mg/L | 11 | 0.688 | Conc = 1.83e-3 * Area^3 - 0.0254 * Area^2 + 2.35 * Area - 0.415 | 25.6 | 9.07 | 99.7 | 24.9 | 99.7
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2016-02-09 | 12:27 | instrument | OM_2-9-2016_11-01-48AM.OMN |  | 2 | Phosphate | 52.8 | 52.8217 | ug P/L | 3.02 | 0.0859 | Conc = - 3.53e-3 * Area^3 + 0.0904 * Area^2 + 16.6 * Area + 1.98 | 56.1 | 35.5 | 211 | 52.8 | 211