## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-07-08 | 13:05 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 200 | 199.9979 | mg/L | 31.5 | 2.12 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.9 | 11.1 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-07-08 | 13:05 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 400 | 396.9152 | ug P/L | 21 | 0.67 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 54.4 | 28 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2015-07-08 | 13:06 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 100 | 100.2153 | mg/L | 22.3 | 1.63 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.9 | 12 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2015-07-08 | 13:06 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 200 | 206.111 | ug P/L | 10.6 | 0.334 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 54 | 28.5 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2015-07-08 | 13:08 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 50 | 49.2732 | mg/L | 14.4 | 1.13 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.4 | 3.71 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2015-07-08 | 13:08 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 100 | 99.3788 | ug P/L | 5.15 | 0.154 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 53.6 | 28.9 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 13:11 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 25 | 25.8 | mg/L | 8.93 | 0.715 | Conc = 5.32e-3 * Area^3 - 0.102 * Area^2 + 4.71 * Area - 12.7 | 21.4 | 2.89 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 13:11 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 50 | 47.3618 | ug P/L | 2.48 | 0.0721 | Conc = 6.60e-3 * Area^3 - 0.179 * Area^2 + 19.8 * Area + 1.88 | 52.4 | 29.3 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2015-07-08 | 13:14 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 10 | 9.4902 | mg/L | 3.77 | 1.81 | Conc = 2.89e-3 * Area^3 + 0.0432 * Area^2 + 2.08 * Area + 1.35 | 19.4 | 3.3 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2015-07-08 | 13:14 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 20 | 20.0014 | ug P/L | 80.7 | 6.39 | Conc = - 4.97e-3 * Area^3 + 0.196 * Area^2 + 16.7 * Area + 7.81 | 59.8 | 43.3 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2015-07-08 | 13:17 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 5 | 5.1472 | mg/L | 2.2 | 0.166 | Conc = 3.61e-3 * Area^3 + 5.24e-3 * Area^2 + 2.63 * Area - 0.682 | 21.4 | 2.47 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2015-07-08 | 13:17 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 10 | 9.1354 | ug P/L | 0.502 | 0.0135 | Conc = - 4.01e-3 * Area^3 + 0.0956 * Area^2 + 18.6 * Area + 0.983 | 53.6 | 29.3 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2015-07-08 | 13:20 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 2.5 | 2.5091 | mg/L | 1.21 | 0.089 | Conc = 3.63e-3 * Area^3 + 4.44e-3 * Area^2 + 2.64 * Area - 0.710 | 21.4 | 1.24 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2015-07-08 | 13:20 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 5 | 5.5968 | ug P/L | 0.317 | 0.00711 | Conc = - 3.75e-3 * Area^3 + 0.0684 * Area^2 + 19.1 * Area - 0.470 | 51.1 | 29.3 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 13:21 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 1 | Chloride | 0 | -0.0043007 | mg/L | 0.263 | 0.0107 | Conc = 3.62e-3 * Area^3 + 4.95e-3 * Area^2 + 2.63 * Area - 0.699 | 14.4 | 3.3 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 13:21 | instrument | OM_7-8-2015_01-03-52PM.OMN |  | 2 | Phosphate | 0 | 0.015785 | ug P/L | 0.0261 | 0.00305 | Conc = - 3.75e-3 * Area^3 + 0.0679 * Area^2 + 19.1 * Area - 0.485 | 128 | 122 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 13:22 | instrument | OM_7-8-2015_01-03-52PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20.2 |  | mg/L | 7.31 | 0.585 | Conc = 3.62e-3 * Area^3 + 4.95e-3 * Area^2 + 2.63 * Area - 0.699 | 21.4 | 2.06 | 20.2 | 20.2 | 20.2
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 13:22 | instrument | OM_7-8-2015_01-03-52PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 43.4 |  | ug P/L | 2.28 | 0.0682 | Conc = - 3.75e-3 * Area^3 + 0.0679 * Area^2 + 19.1 * Area - 0.485 | 53.6 | 28.9 | 43.4 | 43.4 | 43.4
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 13:23 | instrument | OM_7-8-2015_01-03-52PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20.2 |  | mg/L | 7.31 | 0.582 | Conc = 3.62e-3 * Area^3 + 4.95e-3 * Area^2 + 2.63 * Area - 0.699 | 21.4 | 7.01 | 20.2 | 20.2 | 20.2
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 13:23 | instrument | OM_7-8-2015_01-03-52PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 45 |  | ug P/L | 2.36 | 0.0704 | Conc = - 3.75e-3 * Area^3 + 0.0679 * Area^2 + 19.1 * Area - 0.485 | 54.4 | 28.5 | 45 | 45 | 45
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 13:24 | instrument | OM_7-8-2015_01-03-52PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20.5 |  | mg/L | 7.38 | 0.582 | Conc = 3.62e-3 * Area^3 + 4.95e-3 * Area^2 + 2.63 * Area - 0.699 | 21.9 | 1.65 | 20.5 | 20.5 | 20.5
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 13:24 | instrument | OM_7-8-2015_01-03-52PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 45.7 |  | ug P/L | 2.4 | 0.0709 | Conc = - 3.75e-3 * Area^3 + 0.0679 * Area^2 + 19.1 * Area - 0.485 | 54.8 | 29.3 | 45.7 | 45.7 | 45.7
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-07-08 | 13:36 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 25.4 | 25.3923 | mg/L | 8.91 | 0.699 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 4.54 | 2540 | 25.4 | 2540
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-07-08 | 13:36 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 48.5 | 48.5092 | ug P/L | 2.44 | 0.0708 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 53.6 | 29.3 | 4850 | 48.5 | 4850
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 13:37 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | -0.23 | -0.22973 | mg/L | 0.152 | 0.00679 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 22.7 | 2.47 | -0.23 | -0.23 | -0.23
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 13:37 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | -3.33 | -3.3287 | ug P/L | -0.115 | -0.00165 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 35.1 | 18.6 | -3.33 | -3.33 | -3.33
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 13:39 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 25.1 | 25.0876 | mg/L | 8.83 | 0.69 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 1.65 | 100 | 25.1 | 100
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 13:39 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 50.9 | 50.8927 | ug P/L | 2.56 | 0.0746 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.9 | 204 | 50.9 | 204
Tres Rios 1726 7.7.2015 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2015-07-08 | 13:46 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 14.8 |  | mg/L | 5.7 | 0.451 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21 | 4.54 | 148 | 14.8 | 148
Tres Rios 1726 7.7.2015 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2015-07-08 | 13:46 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 124 |  | ug P/L | 6.41 | 0.193 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 53.6 | 27.6 | 1240 | 124 | 1240
Tres Rios 1727 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2015-07-08 | 13:49 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 30 |  | mg/L | 10.2 | 0.791 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 4.12 | 300 | 30 | 300
Tres Rios 1727 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2015-07-08 | 13:49 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 252 |  | ug P/L | 13.5 | 0.418 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.9 | 2520 | 252 | 2520
Tres Rios 1728 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2015-07-08 | 13:51 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 27.9 |  | mg/L | 9.59 | 0.757 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 4.12 | 279 | 27.9 | 279
Tres Rios 1728 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2015-07-08 | 13:51 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 285 |  | ug P/L | 15.3 | 0.475 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.8 | 28.9 | 2850 | 285 | 2850
Tres Rios 1729 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2015-07-08 | 13:54 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 32.1 |  | mg/L | 10.7 | 0.835 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 4.95 | 321 | 32.1 | 321
Tres Rios 1729 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2015-07-08 | 13:54 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 287 |  | ug P/L | 15.3 | 0.477 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28 | 2870 | 287 | 2870
Tres Rios 1730 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2015-07-08 | 13:57 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 29 |  | mg/L | 9.88 | 0.776 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 4.95 | 290 | 29 | 290
Tres Rios 1730 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2015-07-08 | 13:57 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 296 |  | ug P/L | 15.9 | 0.494 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28 | 2960 | 296 | 2960
Tres Rios 1731 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2015-07-08 | 14:00 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 32.6 |  | mg/L | 10.8 | 0.842 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 1.24 | 326 | 32.6 | 326
Tres Rios 1731 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2015-07-08 | 14:00 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 290 |  | ug P/L | 15.5 | 0.482 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54 | 28 | 2900 | 290 | 2900
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2015-07-08 | 14:02 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 50.6 |  | mg/L | 14.7 | 1.13 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 12 | 506 | 50.6 | 506
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2015-07-08 | 14:02 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 520 |  | ug P/L | 26.1 | 0.819 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 27.6 | 5200 | 520 | 5200
Tres Rios 1733 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2015-07-08 | 14:05 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 37.4 |  | mg/L | 11.9 | 0.931 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 2.47 | 374 | 37.4 | 374
Tres Rios 1733 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2015-07-08 | 14:05 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 121 |  | ug P/L | 6.25 | 0.188 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.9 | 1210 | 121 | 1210
Tres Rios 1734 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2015-07-08 | 14:08 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 37.1 |  | mg/L | 11.9 | 0.918 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 2.89 | 371 | 37.1 | 371
Tres Rios 1734 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2015-07-08 | 14:08 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 269 |  | ug P/L | 14.4 | 0.446 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.5 | 2690 | 269 | 2690
Tres Rios 1735 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2015-07-08 | 14:11 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 26.6 |  | mg/L | 9.24 | 0.73 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 1.24 | 266 | 26.6 | 266
Tres Rios 1735 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2015-07-08 | 14:11 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 254 |  | ug P/L | 13.6 | 0.421 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.5 | 2540 | 254 | 2540
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 14:11 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | -0.0926 | -0.092554 | mg/L | 0.207 | 0.00749 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 6.19 | -0.0926 | -0.0926 | -0.0926
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 14:11 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | -4.17 | -4.1691 | ug P/L | -0.155 | -0.00248 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 35.5 | 20.2 | -4.17 | -4.17 | -4.17
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 14:14 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 24.5 | 24.5468 | mg/L | 8.67 | 0.685 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 2.06 | 98.2 | 24.5 | 98.2
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 14:14 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 52.2 | 52.1769 | ug P/L | 2.63 | 0.0769 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.9 | 209 | 52.2 | 209
Tres Rios 1736 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2015-07-08 | 14:21 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 32.6 |  | mg/L | 10.8 | 0.844 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 5.36 | 326 | 32.6 | 326
Tres Rios 1736 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2015-07-08 | 14:21 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 271 |  | ug P/L | 14.5 | 0.448 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28 | 2710 | 271 | 2710
Tres Rios 1737 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2015-07-08 | 14:23 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 1 | Chloride | 32.5 |  | mg/L | 10.8 | 0.849 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 3.3 | 325 | 32.5 | 325
Tres Rios 1737 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2015-07-08 | 14:23 | instrument | OM_7-8-2015_01-32-38PM.OMN |  | 2 | Phosphate | 284 |  | ug P/L | 15.2 | 0.473 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54.4 | 28.5 | 2840 | 284 | 2840
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 14:24 | instrument | OM_7-8-2015_01-32-38PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20 |  | mg/L | 7.34 | 0.583 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 4.95 | 20 | 20 | 20
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 14:24 | instrument | OM_7-8-2015_01-32-38PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 47.5 |  | ug P/L | 2.39 | 0.0724 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54 | 28.9 | 47.5 | 47.5 | 47.5
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 14:25 | instrument | OM_7-8-2015_01-32-38PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.8 |  | mg/L | 7.29 | 0.581 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 1.65 | 19.8 | 19.8 | 19.8
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 14:25 | instrument | OM_7-8-2015_01-32-38PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 47.2 |  | ug P/L | 2.37 | 0.0715 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54 | 29.3 | 47.2 | 47.2 | 47.2
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 14:26 | instrument | OM_7-8-2015_01-32-38PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20 |  | mg/L | 7.34 | 0.58 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 4.12 | 20 | 20 | 20
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-08 | 14:26 | instrument | OM_7-8-2015_01-32-38PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 48.2 |  | ug P/L | 2.42 | 0.072 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 53.6 | 28.9 | 48.2 | 48.2 | 48.2
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 15:06 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 1 | Chloride | -0.196 | -0.19625 | mg/L | 0.165 | 0.00815 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 14 | 3.71 | -0.196 | -0.196 | -0.196
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 15:06 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 2 | Phosphate | -3.28 | -3.2766 | ug P/L | -0.112 | -0.0027 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 40.4 | 18.6 | -3.28 | -3.28 | -3.28
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 15:09 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 1 | Chloride | 24.9 | 24.884 | mg/L | 8.77 | 0.686 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.4 | 2.47 | 99.5 | 24.9 | 99.5
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 15:09 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 2 | Phosphate | 49.3 | 49.2533 | ug P/L | 2.48 | 0.0727 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 53.6 | 28.9 | 197 | 49.3 | 197
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 100 |  |  |  | 2015-07-08 | 15:16 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 1 | Chloride | 5.28 |  | mg/L | 2.31 | 0.179 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 20.6 | 4.12 | 528 | 5.28 | 528
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 100 |  |  |  | 2015-07-08 | 15:16 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 2 | Phosphate | 49.1 |  | ug P/L | 2.47 | 0.0717 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 53.2 | 28.5 | 4910 | 49.1 | 4910
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 15:21 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 1 | Chloride | -0.116 | -0.11629 | mg/L | 0.198 | 0.01 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 13.6 | 1.65 | -0.116 | -0.116 | -0.116
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-07-08 | 15:21 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 2 | Phosphate | -1.03 | -1.0325 | ug P/L | -0.00505 | -0.000572 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 42.5 | 18.6 | -1.03 | -1.03 | -1.03
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 15:23 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 1 | Chloride | 24.4 | 24.4183 | mg/L | 8.64 | 0.674 | Conc = 3.33e-3 * Area^3 + 0.0183 * Area^2 + 2.49 * Area - 0.609 | 21.9 | 3.3 | 97.7 | 24.4 | 97.7
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-07-08 | 15:23 | instrument | OM_7-8-2015_03-05-34PM.OMN |  | 2 | Phosphate | 46.5 | 46.5447 | ug P/L | 2.34 | 0.0683 | Conc = 9.83e-3 * Area^3 - 0.294 * Area^2 + 20.9 * Area - 0.927 | 54 | 29.7 | 186 | 46.5 | 186