## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-07-17 | 9:58 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 10 | 9.9988 | mg N/L | 40.1 | 0.93 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 99.4 | 67.2 | 10 | 10 | 10
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-07-17 | 9:58 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 20 | 20 | mg N/L | 96.9 | 2.81 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 141 | 104 | 20 | 20 | 20
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-07-17 | 9:59 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 4 | 4.0064 | mg N/L | 18.3 | 0.463 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 101 | 68.9 | 4 | 4 | 4
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-07-17 | 9:59 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 8 | 8 | mg N/L | 44.2 | 1.38 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 141 | 104 | 8 | 8 | 8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-17 | 10:00 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 1 | 0.98106 | mg N/L | 4.79 | 0.124 | Conc = 1.52e-3 * Area^2 + 0.186 * Area + 0.0722 | 101 | 70.1 | 1 | 1 | 1
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-17 | 10:00 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 2 | 2.0013 | mg N/L | 11.4 | 0.365 | Conc = 5.24e-4 * Area^2 + 0.154 * Area + 0.169 | 141 | 105 | 2 | 2 | 2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 10:02 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.5 | 0.50743 | mg N/L | 2.51 | 0.0638 | Conc = 1.37e-3 * Area^2 + 0.194 * Area + 0.0152 | 99.8 | 70.1 | 0.5 | 0.5 | 0.5
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 10:02 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 1 | 0.99499 | mg N/L | 5.69 | 0.182 | Conc = 5.09e-4 * Area^2 + 0.156 * Area + 0.120 | 141 | 106 | 1 | 1 | 1
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-07-17 | 10:03 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0.19693 | mg N/L | 1 | 0.0257 | Conc = 1.33e-3 * Area^2 + 0.195 * Area + 5.35e-3 | 101 | 68.5 | 0.2 | 0.2 | 0.2
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-07-17 | 10:03 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.4 | 0.40155 | mg N/L | 2.29 | 0.0731 | Conc = 4.94e-4 * Area^2 + 0.158 * Area + 0.0788 | 141 | 107 | 0.4 | 0.4 | 0.4
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-07-17 | 10:04 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.1 | 0.10188 | mg N/L | 0.534 | 0.0145 | Conc = 1.29e-3 * Area^2 + 0.197 * Area - 2.33e-3 | 101 | 64.7 | 0.1 | 0.1 | 0.1
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-07-17 | 10:04 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.2 | 0.20896 | mg N/L | 1.18 | 0.0375 | Conc = 4.84e-4 * Area^2 + 0.159 * Area + 0.0550 | 139 | 106 | 0.2 | 0.2 | 0.2
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-07-17 | 10:05 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.055662 | mg N/L | 0.307 | 0.00761 | Conc = 1.25e-3 * Area^2 + 0.199 * Area - 7.86e-3 | 105 | 71.3 | 0.05 | 0.05 | 0.05
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-07-17 | 10:05 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.1 | 0.099756 | mg N/L | 0.554 | 0.0173 | Conc = 4.79e-4 * Area^2 + 0.160 * Area + 0.0431 | 140 | 100 | 0.1 | 0.1 | 0.1
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 10:06 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0057021 | mg N/L | 0.00491 | 0.00214 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 64.3 | 63.1 | 0 | 0 | 0
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 10:06 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0 | -0.0065381 | mg N/L | -0.0561 | -0.00123 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 85.8 | 56.9 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 10:08 | instrument | OM_7-17-2015_09-57-11AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.02 |  | mg N/L | 5.03 | 0.126 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 101 | 69.3 | 1.02 | 1.02 | 1.02
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 10:08 | instrument | OM_7-17-2015_09-57-11AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.517 |  | mg N/L | 2.98 | 0.095 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 85.4 | 0.517 | 0.517 | 0.517
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 10:09 | instrument | OM_7-17-2015_09-57-11AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.01 |  | mg N/L | 4.96 | 0.127 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 100 | 66.8 | 1.01 | 1.01 | 1.01
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 10:09 | instrument | OM_7-17-2015_09-57-11AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.516 |  | mg N/L | 2.98 | 0.0952 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 79.6 | 0.516 | 0.516 | 0.516
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 10:10 | instrument | OM_7-17-2015_09-57-11AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1 |  | mg N/L | 4.94 | 0.124 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 101 | 70.5 | 1 | 1 | 1
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 10:10 | instrument | OM_7-17-2015_09-57-11AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.515 |  | mg N/L | 2.97 | 0.0944 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 73 | 0.515 | 0.515 | 0.515
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-07-17 | 10:18 | instrument | OM_7-17-2015_09-57-11AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.0354 | 0.034685 | mg N/L | 0.204 | 0.00784 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 116 | 98.1 | 3.54 | 0.0354 | 3.54
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-07-17 | 10:18 | instrument | OM_7-17-2015_09-57-11AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.0826 | 0.054413 | mg N/L | 0.294 | 0.0282 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 118 | 8.26 | 0.0826 | 8.26
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 10:20 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.00806 | 0.0065859 | mg N/L | 0.0655 | 0.00504 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 79.2 | 63.5 | 0.00806 | 0.00806 | 0.00806
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 10:20 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.0522 | 0.021356 | mg N/L | 0.104 | 0.00271 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 111 | 63.5 | 0.0522 | 0.0522 | 0.0522
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 10:21 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.524 | 0.53239 | mg N/L | 2.63 | 0.0683 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 102 | 68.5 | 0.524 | 0.524 | 0.524
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 10:21 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.925 | 0.95669 | mg N/L | 5.47 | 0.176 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 89.9 | 0.925 | 0.925 | 0.925
Tres Rios 1726 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-07-17 | 10:26 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.17 |  | mg N/L | 10.3 | 0.26 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 103 | 68 | 2.17 | 2.17 | 2.17
Tres Rios 1726 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-07-17 | 10:26 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.515 |  | mg N/L | 2.97 | 0.0951 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 140 | 78.4 | 0.515 | 0.515 | 0.515
Tres Rios 1727 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-07-17 | 10:28 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.54 |  | mg N/L | 12 | 0.295 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 103 | 68 | 2.54 | 2.54 | 2.54
Tres Rios 1727 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-07-17 | 10:28 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.549 |  | mg N/L | 3.18 | 0.101 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 77.1 | 0.549 | 0.549 | 0.549
Tres Rios 1728 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-07-17 | 10:29 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.42 |  | mg N/L | 11.4 | 0.285 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 103 | 69.3 | 2.42 | 2.42 | 2.42
Tres Rios 1728 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-07-17 | 10:29 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.522 |  | mg N/L | 3.01 | 0.0963 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 139 | 75.5 | 0.522 | 0.522 | 0.522
Tres Rios 1729 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-07-17 | 10:30 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 4.6 |  | mg N/L | 20.5 | 0.501 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 104 | 69.7 | 4.6 | 4.6 | 4.6
Tres Rios 1729 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-07-17 | 10:30 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 1.05 |  | mg N/L | 6.22 | 0.2 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 75.1 | 1.05 | 1.05 | 1.05
Tres Rios 1730 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-07-17 | 10:31 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.98 |  | mg N/L | 13.9 | 0.341 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 103 | 70.1 | 2.98 | 2.98 | 2.98
Tres Rios 1730 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-07-17 | 10:31 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.819 |  | mg N/L | 4.83 | 0.155 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 142 | 81.2 | 0.819 | 0.819 | 0.819
Tres Rios 1731 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-07-17 | 10:32 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.57 |  | mg N/L | 12.1 | 0.297 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 104 | 69.7 | 2.57 | 2.57 | 2.57
Tres Rios 1731 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-07-17 | 10:32 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.733 |  | mg N/L | 4.3 | 0.139 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 140 | 75.9 | 0.733 | 0.733 | 0.733
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-07-17 | 10:34 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | -0.0663 |  | mg N/L | -0.312 | -0.00538 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 99 | 65.6 | -0.0663 | -0.0663 | -0.0663
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-07-17 | 10:34 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.412 |  | mg N/L | 2.34 | 0.0753 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 89.9 | 0.412 | 0.412 | 0.412
Tres Rios 1733 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-07-17 | 10:35 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | -0.0196 |  | mg N/L | -0.0747 | -0.00323 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 72.2 | 61.4 | -0.0196 | -0.0196 | -0.0196
Tres Rios 1733 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-07-17 | 10:35 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.203 |  | mg N/L | 1.04 | 0.0326 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 75.9 | 0.203 | 0.203 | 0.203
Tres Rios 1734 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-07-17 | 10:36 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.0108 |  | mg N/L | 0.0793 | 0.00328 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 111 | 76.7 | 0.0108 | 0.0108 | 0.0108
Tres Rios 1734 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-07-17 | 10:36 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.261 |  | mg N/L | 1.4 | 0.0433 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 142 | 61.9 | 0.261 | 0.261 | 0.261
Tres Rios 1735 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-07-17 | 10:37 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 3.54 |  | mg N/L | 16.2 | 0.397 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 103 | 69.3 | 3.54 | 3.54 | 3.54
Tres Rios 1735 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-07-17 | 10:37 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.9 |  | mg N/L | 5.32 | 0.169 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 68 | 0.9 | 0.9 | 0.9
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 10:38 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | -0.0697 | -0.073367 | mg N/L | -0.329 | -0.00549 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 98.6 | 63.9 | -0.0697 | -0.0697 | -0.0697
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 10:38 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.00638 | -0.028555 | mg N/L | -0.182 | -0.00324 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 144 | 58.1 | 0.00638 | 0.00638 | 0.00638
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 10:39 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 0.511 | 0.51906 | mg N/L | 2.57 | 0.0656 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 105 | 70.5 | 0.511 | 0.511 | 0.511
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 10:39 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.949 | 0.98213 | mg N/L | 5.62 | 0.18 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 140 | 98.1 | 0.949 | 0.949 | 0.949
Tres Rios 1736 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-07-17 | 10:45 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.79 |  | mg N/L | 13 | 0.326 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 104 | 68.9 | 2.79 | 2.79 | 2.79
Tres Rios 1736 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-07-17 | 10:45 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.659 |  | mg N/L | 3.85 | 0.122 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 73.8 | 0.659 | 0.659 | 0.659
Tres Rios 1737 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-07-17 | 10:46 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 1 | NItrate/Nitrite | 2.27 |  | mg N/L | 10.8 | 0.269 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 103 | 69.7 | 2.27 | 2.27 | 2.27
Tres Rios 1737 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-07-17 | 10:46 | instrument | OM_7-17-2015_09-57-11AM.OMN |  | 2 | Ammonia | 0.502 |  | mg N/L | 2.89 | 0.0932 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 70.9 | 0.502 | 0.502 | 0.502
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 11:53 | instrument | OM_7-17-2015_11-32-16AM.OMN |  | 1 | NItrate/Nitrite | -0.0198 | -0.021997 | mg N/L | -0.0754 | -0.00298 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 100 | 95.7 | -0.0198 | -0.0198 | -0.0198
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 11:53 | instrument | OM_7-17-2015_11-32-16AM.OMN |  | 2 | Ammonia | 0.022 | -0.011582 | mg N/L | -0.085 | -0.00203 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 133 | 122 | 0.022 | 0.022 | 0.022
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 11:54 | instrument | OM_7-17-2015_11-32-16AM.OMN |  | 1 | NItrate/Nitrite | 0.497 | 0.5046 | mg N/L | 2.5 | 0.0645 | Conc = 1.28e-3 * Area^2 + 0.198 * Area - 4.88e-3 | 104 | 70.5 | 0.497 | 0.497 | 0.497
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 11:54 | instrument | OM_7-17-2015_11-32-16AM.OMN |  | 2 | Ammonia | 0.952 | 0.98507 | mg N/L | 5.63 | 0.18 | Conc = 4.75e-4 * Area^2 + 0.160 * Area + 0.0356 | 141 | 93.2 | 0.952 | 0.952 | 0.952