## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-07-21 | 11:10 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 10 | 0 | mg N/L | 29.2 | 0.892 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 69.3 | 43.7 | 10 | 10 | 10
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-07-21 | 11:10 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 20 | 0 | mg N/L | 90.1 | 2.7 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 137 | 101 | 20 | 20 | 20
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-07-21 | 11:11 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 4 | 0 | mg N/L | 14.9 | 0.5 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 68.9 | 43.7 | 4 | 4 | 4
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-07-21 | 11:11 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 8 | 0 | mg N/L | 41.7 | 1.34 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 138 | 102 | 8 | 8 | 8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-21 | 11:13 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 1 | 1 | mg N/L | 4.06 | 0.142 | Conc = 5.71e-3 * Area^2 + 0.167 * Area + 0.227 | 69.3 | 44.9 | 1 | 1 | 1
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-21 | 11:13 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 2 | 0 | mg N/L | 11.2 | 0.726 | Conc = 6.52e-4 * Area^2 + 0.162 * Area + 0.0924 | 135 | 113 | 2 | 2 | 2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 11:14 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.5 | 0.5047 | mg N/L | 2.06 | 0.0718 | Conc = 5.15e-3 * Area^2 + 0.187 * Area + 0.112 | 69.7 | 42.5 | 0.5 | 0.5 | 0.5
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 11:14 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 1 | 1 | mg N/L | 5.55 | 0.182 | Conc = 6.48e-4 * Area^2 + 0.163 * Area + 0.0815 | 138 | 105 | 1 | 1 | 1
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-07-21 | 11:15 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0.19548 | mg N/L | 0.801 | 0.0283 | Conc = 4.65e-3 * Area^2 + 0.202 * Area + 0.0479 | 70.5 | 44.9 | 0.2 | 0.2 | 0.2
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-07-21 | 11:15 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.4 | 0.40622 | mg N/L | 2.21 | 0.0711 | Conc = 6.38e-4 * Area^2 + 0.164 * Area + 0.0578 | 139 | 106 | 0.4 | 0.4 | 0.4
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-07-21 | 11:16 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.1 | 0.10189 | mg N/L | 0.418 | 0.0148 | Conc = 4.38e-3 * Area^2 + 0.210 * Area + 0.0222 | 70.9 | 40 | 0.1 | 0.1 | 0.1
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-07-21 | 11:16 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.2 | 0.20937 | mg N/L | 1.14 | 0.0361 | Conc = 6.30e-4 * Area^2 + 0.165 * Area + 0.0412 | 137 | 108 | 0.2 | 0.2 | 0.2
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-07-21 | 11:17 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.051043 | mg N/L | 0.206 | 0.00716 | Conc = 4.23e-3 * Area^2 + 0.214 * Area + 0.0118 | 70.1 | 44.1 | 0.05 | 0.05 | 0.05
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-07-21 | 11:17 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.1 | 0.10444 | mg N/L | 0.553 | 0.0176 | Conc = 6.25e-4 * Area^2 + 0.165 * Area + 0.0321 | 139 | 104 | 0.1 | 0.1 | 0.1
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 11:18 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0015716 | mg N/L | -0.01 | -0.000925 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 37.9 | 16.1 | 0 | 0 | 0
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 11:18 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0 | -0.0094452 | mg N/L | -0.129 | -0.00324 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 106 | 72.2 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-21 | 11:20 | instrument | OM_7-21-2016_11-09-12AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.963 |  | mg N/L | 4.09 | 0.142 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.3 | 45.4 | 0.963 | 0.963 | 0.963
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-21 | 11:20 | instrument | OM_7-21-2016_11-09-12AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.518 |  | mg N/L | 2.92 | 0.0968 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 137 | 101 | 0.518 | 0.518 | 0.518
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-21 | 11:21 | instrument | OM_7-21-2016_11-09-12AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.965 |  | mg N/L | 4.09 | 0.141 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 70.5 | 44.5 | 0.965 | 0.965 | 0.965
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-21 | 11:21 | instrument | OM_7-21-2016_11-09-12AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.521 |  | mg N/L | 2.93 | 0.097 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 99.8 | 0.521 | 0.521 | 0.521
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-21 | 11:22 | instrument | OM_7-21-2016_11-09-12AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.966 |  | mg N/L | 4.1 | 0.142 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 44.1 | 0.966 | 0.966 | 0.966
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-21 | 11:22 | instrument | OM_7-21-2016_11-09-12AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.515 |  | mg N/L | 2.9 | 0.0965 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 105 | 0.515 | 0.515 | 0.515
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-07-21 | 11:30 | instrument | OM_7-21-2016_11-09-12AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.468 | 0.49876 | mg N/L | 2.04 | 0.072 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 44.9 | 46.8 | 0.468 | 46.8
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-07-21 | 11:30 | instrument | OM_7-21-2016_11-09-12AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.445 | 0.44576 | mg N/L | 2.49 | 0.0804 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 103 | 44.5 | 0.445 | 44.5
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 11:32 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.0126 | 0.0064893 | mg N/L | 0.023 | 0.000668 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 84.9 | 25.6 | 0.0126 | 0.0126 | 0.0126
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 11:32 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.0503 | 0.034393 | mg N/L | 0.124 | 0.00449 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 108 | 0.0503 | 0.0503 | 0.0503
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 11:33 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.469 | 0.50044 | mg N/L | 2.05 | 0.0718 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 44.1 | 0.469 | 0.469 | 0.469
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 11:33 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.894 | 0.91016 | mg N/L | 5.13 | 0.169 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 102 | 0.894 | 0.894 | 0.894
Tres Rios 1709 7.14.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-07-21 | 11:39 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 2.78 |  | mg N/L | 10.6 | 0.362 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 44.1 | 2.78 | 2.78 | 2.78
Tres Rios 1709 7.14.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-07-21 | 11:39 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.414 |  | mg N/L | 2.3 | 0.0754 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 136 | 101 | 0.414 | 0.414 | 0.414
Tres Rios 1798 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-07-21 | 11:40 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 5.02 |  | mg N/L | 17.3 | 0.574 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 44.5 | 5.02 | 5.02 | 5.02
Tres Rios 1798 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-07-21 | 11:40 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.822 |  | mg N/L | 4.71 | 0.156 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 137 | 102 | 0.822 | 0.822 | 0.822
Tres Rios 1799 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-07-21 | 11:41 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 3.83 |  | mg N/L | 13.9 | 0.468 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.3 | 44.1 | 3.83 | 3.83 | 3.83
Tres Rios 1799 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-07-21 | 11:41 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.789 |  | mg N/L | 4.51 | 0.149 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 137 | 104 | 0.789 | 0.789 | 0.789
Tres Rios 1800 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-07-21 | 11:43 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 4.74 |  | mg N/L | 16.6 | 0.553 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.3 | 44.5 | 4.74 | 4.74 | 4.74
Tres Rios 1800 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-07-21 | 11:43 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.807 |  | mg N/L | 4.62 | 0.152 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 136 | 103 | 0.807 | 0.807 | 0.807
Tres Rios 1801 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-07-21 | 11:44 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 2.39 |  | mg N/L | 9.32 | 0.319 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.3 | 43.7 | 2.39 | 2.39 | 2.39
Tres Rios 1801 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-07-21 | 11:44 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.398 |  | mg N/L | 2.21 | 0.0726 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 139 | 104 | 0.398 | 0.398 | 0.398
Tres Rios 1802 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-07-21 | 11:45 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 2.75 |  | mg N/L | 10.5 | 0.359 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 44.1 | 2.75 | 2.75 | 2.75
Tres Rios 1802 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-07-21 | 11:45 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.43 |  | mg N/L | 2.4 | 0.0782 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 139 | 103 | 0.43 | 0.43 | 0.43
Tres Rios 1803 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-07-21 | 11:46 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 2.65 |  | mg N/L | 10.2 | 0.35 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 70.1 | 44.5 | 2.65 | 2.65 | 2.65
Tres Rios 1803 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-07-21 | 11:46 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.419 |  | mg N/L | 2.34 | 0.0769 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 137 | 104 | 0.419 | 0.419 | 0.419
Tres Rios 1804 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-07-21 | 11:47 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.121 |  | mg N/L | 0.519 | 0.0178 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 70.5 | 41.6 | 0.121 | 0.121 | 0.121
Tres Rios 1804 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-07-21 | 11:47 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.357 |  | mg N/L | 1.96 | 0.0644 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 136 | 93.6 | 0.357 | 0.357 | 0.357
Tres Rios 1805 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-07-21 | 11:48 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.00819 |  | mg N/L | 0.00265 | 0.000751 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 71.8 | 21.4 | 0.00819 | 0.00819 | 0.00819
Tres Rios 1805 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-07-21 | 11:48 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.205 |  | mg N/L | 1.06 | 0.0344 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 98.6 | 0.205 | 0.205 | 0.205
Tres Rios 1806 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-07-21 | 11:50 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.0484 |  | mg N/L | 0.187 | 0.00664 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 71.8 | 47 | 0.0484 | 0.0484 | 0.0484
Tres Rios 1806 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-07-21 | 11:50 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.339 |  | mg N/L | 1.86 | 0.0606 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 96.1 | 0.339 | 0.339 | 0.339
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 11:51 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.0112 | 0.0048414 | mg N/L | 0.0163 | 0.00109 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 63.1 | 41.6 | 0.0112 | 0.0112 | 0.0112
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 11:51 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.0264 | 0.0093432 | mg N/L | -0.0202 | 0.000912 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 181 | 82.5 | 0.0264 | 0.0264 | 0.0264
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 11:52 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.466 | 0.49671 | mg N/L | 2.03 | 0.0718 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 70.5 | 45.4 | 0.466 | 0.466 | 0.466
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 11:52 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.932 | 0.94954 | mg N/L | 5.35 | 0.176 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 137 | 104 | 0.932 | 0.932 | 0.932
Tres Rios 1807 1 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-07-21 | 11:58 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 3.11 |  | mg N/L | 11.7 | 0.398 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 70.1 | 44.1 | 3.11 | 3.11 | 3.11
Tres Rios 1807 1 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-07-21 | 11:58 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.817 |  | mg N/L | 4.68 | 0.154 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 138 | 103 | 0.817 | 0.817 | 0.817
Tres Rios 1807 2 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-07-21 | 11:59 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 2.73 |  | mg N/L | 10.5 | 0.358 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 45.4 | 2.73 | 2.73 | 2.73
Tres Rios 1807 2 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-07-21 | 11:59 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.398 |  | mg N/L | 2.21 | 0.0733 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 139 | 104 | 0.398 | 0.398 | 0.398
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 12:10 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.00863 | 0.0020098 | mg N/L | 0.00468 | 0.000718 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 59.8 | 14.8 | 0.00863 | 0.00863 | 0.00863
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-07-21 | 12:10 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.00794 | -0.0099469 | mg N/L | -0.132 | -0.00265 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 114 | 54.4 | 0.00794 | 0.00794 | 0.00794
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 12:11 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 1 | NItrate/Nitrite | 0.467 | 0.49838 | mg N/L | 2.04 | 0.072 | Conc = 4.15e-3 * Area^2 + 0.217 * Area + 7.62e-3 | 69.7 | 43.7 | 0.467 | 0.467 | 0.467
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-07-21 | 12:11 | instrument | OM_7-21-2016_11-09-12AM.OMN |  | 2 | Ammonia | 0.942 | 0.95936 | mg N/L | 5.4 | 0.177 | Conc = 6.24e-4 * Area^2 + 0.165 * Area + 0.0297 | 139 | 97.7 | 0.942 | 0.942 | 0.942