## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-04-05 | 10:43 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 10 | 0 | mg N/L | 30.3 | 0.905 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 69.3 | 43.7 | 10 | 10 | 10
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-04-05 | 10:43 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 20 | 0 | mg N/L | 94 | 2.75 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 137 | 99 | 20 | 20 | 20
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-04-05 | 10:44 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 4 | 0 | mg N/L | 15.2 | 0.495 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 69.3 | 43.3 | 4 | 4 | 4
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-04-05 | 10:44 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 8 | 0 | mg N/L | 43 | 1.35 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 138 | 101 | 8 | 8 | 8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-05 | 10:46 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 1 | 1 | mg N/L | 4.15 | 0.14 | Conc = 4.68e-3 * Area^2 + 0.182 * Area + 0.162 | 69.3 | 43.7 | 1 | 1 | 1
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-05 | 10:46 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 2 | 0 | mg N/L | 11.1 | 0.357 | Conc = 5.71e-4 * Area^2 + 0.157 * Area + 0.181 | 136 | 101 | 2 | 2 | 2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 10:47 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.5 | 0.5043 | mg N/L | 2.12 | 0.0708 | Conc = 4.29e-3 * Area^2 + 0.196 * Area + 0.0772 | 69.7 | 44.1 | 0.5 | 0.5 | 0.5
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 10:47 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1 | 1 | mg N/L | 5.69 | 0.182 | Conc = 5.48e-4 * Area^2 + 0.160 * Area + 0.107 | 136 | 102 | 1 | 1 | 1
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-04-05 | 10:48 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0.19799 | mg N/L | 0.844 | 0.028 | Conc = 3.96e-3 * Area^2 + 0.207 * Area + 0.0316 | 69.7 | 45.4 | 0.2 | 0.2 | 0.2
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-04-05 | 10:48 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.4 | 0.4055 | mg N/L | 2.58 | 0.0826 | Conc = 5.23e-4 * Area^2 + 0.163 * Area + 0.0426 | 139 | 104 | 0.4 | 0.4 | 0.4
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-04-05 | 10:49 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.1 | 0.09802 | mg N/L | 0.435 | 0.0146 | Conc = 3.79e-3 * Area^2 + 0.212 * Area + 0.0143 | 68.9 | 44.9 | 0.1 | 0.1 | 0.1
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-04-05 | 10:49 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.2 | 0.17038 | mg N/L | 1.13 | 0.0359 | Conc = 5.19e-4 * Area^2 + 0.164 * Area + 0.0326 | 136 | 102 | 0.2 | 0.2 | 0.2
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-04-05 | 10:50 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.051275 | mg N/L | 0.24 | 0.00773 | Conc = 3.66e-3 * Area^2 + 0.216 * Area + 3.87e-3 | 68 | 42.1 | 0.05 | 0.05 | 0.05
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-04-05 | 10:50 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.1 | 0.081098 | mg N/L | 0.566 | 0.0175 | Conc = 5.16e-4 * Area^2 + 0.164 * Area + 0.0255 | 144 | 103 | 0.1 | 0.1 | 0.1
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 10:51 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0 | 0.00020321 | mg N/L | 0.0275 | 0.00103 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 92.8 | 22.7 | 0 | 0 | 0
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 10:51 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0 | -0.0093533 | mg N/L | 0.0386 | 0.00251 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 133 | 127 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 10:53 | instrument | OM_4-5-2016_10-40-23AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.949 |  | mg N/L | 4.07 | 0.137 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.3 | 44.9 | 0.949 | 0.949 | 0.949
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 10:53 | instrument | OM_4-5-2016_10-40-23AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.537 |  | mg N/L | 3.13 | 0.102 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 102 | 0.537 | 0.537 | 0.537
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 10:54 | instrument | OM_4-5-2016_10-40-23AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.95 |  | mg N/L | 4.07 | 0.137 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 68.9 | 44.1 | 0.95 | 0.95 | 0.95
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 10:54 | instrument | OM_4-5-2016_10-40-23AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.536 |  | mg N/L | 3.12 | 0.101 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 100 | 0.536 | 0.536 | 0.536
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 10:55 | instrument | OM_4-5-2016_10-40-23AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.947 |  | mg N/L | 4.06 | 0.137 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 68.9 | 44.1 | 0.947 | 0.947 | 0.947
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 10:55 | instrument | OM_4-5-2016_10-40-23AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.533 |  | mg N/L | 3.1 | 0.102 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 102 | 0.533 | 0.533 | 0.533
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-04-05 | 11:03 | instrument | OM_4-5-2016_10-40-23AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.113 | 0.1175 | mg N/L | 0.516 | 0.0173 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 68.9 | 43.7 | 11.3 | 0.113 | 11.3
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-04-05 | 11:03 | instrument | OM_4-5-2016_10-40-23AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.515 | 0.52083 | mg N/L | 2.99 | 0.0981 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 103 | 51.5 | 0.515 | 51.5
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 11:05 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | -0.0048 | -0.011225 | mg N/L | -0.0201 | -0.00123 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 49.5 | 44.9 | -0.0048 | -0.0048 | -0.0048
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 11:05 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.0176 | -0.017139 | mg N/L | -0.00481 | 0.00216 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 144 | 114 | 0.0176 | 0.0176 | 0.0176
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 11:06 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.471 | 0.49601 | mg N/L | 2.09 | 0.0713 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.3 | 44.1 | 0.471 | 0.471 | 0.471
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 11:06 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.92 | 0.95166 | mg N/L | 5.39 | 0.172 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 101 | 0.92 | 0.92 | 0.92
Tres Rios 1762 1.11.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-04-05 | 11:12 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 5.42 |  | mg N/L | 18.9 | 0.606 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.3 | 43.7 | 5.42 | 5.42 | 5.42
Tres Rios 1762 1.11.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-04-05 | 11:12 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.66 |  | mg N/L | 9.71 | 0.316 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 139 | 101 | 1.66 | 1.66 | 1.66
Tres Rios 1763 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-04-05 | 11:13 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 3.43 |  | mg N/L | 13 | 0.426 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 44.5 | 3.43 | 3.43 | 3.43
Tres Rios 1763 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-04-05 | 11:13 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.65 |  | mg N/L | 9.66 | 0.314 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 139 | 103 | 1.65 | 1.65 | 1.65
Tres Rios 1764 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-04-05 | 11:14 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 4.45 |  | mg N/L | 16.1 | 0.523 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 44.1 | 4.45 | 4.45 | 4.45
Tres Rios 1764 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-04-05 | 11:14 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.75 |  | mg N/L | 10.2 | 0.332 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 101 | 1.75 | 1.75 | 1.75
Tres Rios 1765 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-04-05 | 11:15 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 4.18 |  | mg N/L | 15.3 | 0.501 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 43.7 | 4.18 | 4.18 | 4.18
Tres Rios 1765 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-04-05 | 11:15 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.05 |  | mg N/L | 6.17 | 0.201 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 102 | 1.05 | 1.05 | 1.05
Tres Rios 1766 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-04-05 | 11:16 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 5.4 |  | mg N/L | 18.9 | 0.604 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 44.1 | 5.4 | 5.4 | 5.4
Tres Rios 1766 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-04-05 | 11:16 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.19 |  | mg N/L | 6.97 | 0.226 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 102 | 1.19 | 1.19 | 1.19
Tres Rios 1767 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-04-05 | 11:17 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 4.69 |  | mg N/L | 16.8 | 0.543 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 43.3 | 4.69 | 4.69 | 4.69
Tres Rios 1767 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-04-05 | 11:17 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.14 |  | mg N/L | 6.69 | 0.216 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 103 | 1.14 | 1.14 | 1.14
Tres Rios 1768 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-04-05 | 11:19 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.8 |  | mg N/L | 10.9 | 0.36 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.3 | 43.7 | 2.8 | 2.8 | 2.8
Tres Rios 1768 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-04-05 | 11:19 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.671 |  | mg N/L | 3.92 | 0.126 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 102 | 0.671 | 0.671 | 0.671
Tres Rios 1769 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-04-05 | 11:20 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 1.86 |  | mg N/L | 7.56 | 0.252 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 43.3 | 1.86 | 1.86 | 1.86
Tres Rios 1769 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-04-05 | 11:20 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.19 |  | mg N/L | 1.04 | 0.0327 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 141 | 56.9 | 0.19 | 0.19 | 0.19
Tres Rios 1770 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-04-05 | 11:21 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.329 |  | mg N/L | 1.47 | 0.049 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 68.5 | 45.4 | 0.329 | 0.329 | 0.329
Tres Rios 1770 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-04-05 | 11:21 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.0418 |  | mg N/L | 0.142 | 0.0056 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 101 | 0.0418 | 0.0418 | 0.0418
Tres Rios 1771 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-04-05 | 11:22 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 3.11 |  | mg N/L | 11.9 | 0.393 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 44.5 | 3.11 | 3.11 | 3.11
Tres Rios 1771 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-04-05 | 11:22 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.54 |  | mg N/L | 8.97 | 0.292 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 102 | 1.54 | 1.54 | 1.54
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 11:23 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | -0.0101 | -0.017061 | mg N/L | -0.0445 | -0.00135 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 36.7 | 21 | -0.0101 | -0.0101 | -0.0101
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 11:23 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.0176 | -0.017161 | mg N/L | -0.00493 | 0.00225 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 132 | 130 | 0.0176 | 0.0176 | 0.0176
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 11:25 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.475 | 0.50007 | mg N/L | 2.1 | 0.0714 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 41.6 | 0.475 | 0.475 | 0.475
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 11:25 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.971 | 1.0055 | mg N/L | 5.69 | 0.184 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 139 | 103 | 0.971 | 0.971 | 0.971
Tres Rios 1772 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-04-05 | 11:30 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 4.73 |  | mg N/L | 16.9 | 0.552 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 44.1 | 4.73 | 4.73 | 4.73
Tres Rios 1772 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-04-05 | 11:30 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.27 |  | mg N/L | 7.46 | 0.243 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 139 | 101 | 1.27 | 1.27 | 1.27
Tres Rios 1773 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-04-05 | 11:31 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 5.05 |  | mg N/L | 17.9 | 0.58 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 44.1 | 5.05 | 5.05 | 5.05
Tres Rios 1773 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-04-05 | 11:31 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.988 |  | mg N/L | 5.79 | 0.19 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 104 | 0.988 | 0.988 | 0.988
Tres Rios 1774 3.24.16 | Unknown | 1 | 1 | 13 | 1 | 1 |  |  |  | 2016-04-05 | 11:33 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.46 |  | mg N/L | 9.71 | 0.323 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 43.7 | 2.46 | 2.46 | 2.46
Tres Rios 1774 3.24.16 | Unknown | 1 | 1 | 13 | 1 | 1 |  |  |  | 2016-04-05 | 11:33 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.33 |  | mg N/L | 7.76 | 0.252 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 104 | 1.33 | 1.33 | 1.33
Tres Rios 1775 | Unknown | 1 | 1 | 14 | 1 | 1 |  |  |  | 2016-04-05 | 11:34 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.29 |  | mg N/L | 9.12 | 0.305 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 43.7 | 2.29 | 2.29 | 2.29
Tres Rios 1775 | Unknown | 1 | 1 | 14 | 1 | 1 |  |  |  | 2016-04-05 | 11:34 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.3 |  | mg N/L | 7.63 | 0.247 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 102 | 1.3 | 1.3 | 1.3
Tres Rios 1776 | Unknown | 1 | 1 | 15 | 1 | 1 |  |  |  | 2016-04-05 | 11:35 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.71 |  | mg N/L | 10.6 | 0.351 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 43.7 | 2.71 | 2.71 | 2.71
Tres Rios 1776 | Unknown | 1 | 1 | 15 | 1 | 1 |  |  |  | 2016-04-05 | 11:35 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.74 |  | mg N/L | 10.1 | 0.328 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 99.8 | 1.74 | 1.74 | 1.74
Tres Rios 1777 | Unknown | 1 | 1 | 16 | 1 | 1 |  |  |  | 2016-04-05 | 11:36 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.46 |  | mg N/L | 9.73 | 0.324 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.3 | 44.5 | 2.46 | 2.46 | 2.46
Tres Rios 1777 | Unknown | 1 | 1 | 16 | 1 | 1 |  |  |  | 2016-04-05 | 11:36 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.04 |  | mg N/L | 6.1 | 0.197 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 103 | 1.04 | 1.04 | 1.04
Tres Rios 1778 | Unknown | 1 | 1 | 17 | 1 | 1 |  |  |  | 2016-04-05 | 11:37 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.02 |  | mg N/L | 8.17 | 0.273 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 44.5 | 2.02 | 2.02 | 2.02
Tres Rios 1778 | Unknown | 1 | 1 | 17 | 1 | 1 |  |  |  | 2016-04-05 | 11:37 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.956 |  | mg N/L | 5.6 | 0.182 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 139 | 102 | 0.956 | 0.956 | 0.956
Tres Rios 1779 | Unknown | 1 | 1 | 18 | 1 | 1 |  |  |  | 2016-04-05 | 11:39 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.49 |  | mg N/L | 9.8 | 0.327 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.7 | 44.1 | 2.49 | 2.49 | 2.49
Tres Rios 1779 | Unknown | 1 | 1 | 18 | 1 | 1 |  |  |  | 2016-04-05 | 11:39 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.07 |  | mg N/L | 6.25 | 0.203 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 96.9 | 1.07 | 1.07 | 1.07
Tres Rios 1780 | Unknown | 1 | 1 | 19 | 1 | 1 |  |  |  | 2016-04-05 | 11:40 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.0474 |  | mg N/L | 0.218 | 0.00704 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 68.5 | 36.3 | 0.0474 | 0.0474 | 0.0474
Tres Rios 1780 | Unknown | 1 | 1 | 19 | 1 | 1 |  |  |  | 2016-04-05 | 11:40 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.46 |  | mg N/L | 2.66 | 0.0862 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 98.6 | 0.46 | 0.46 | 0.46
Tres Rios 1781 | Unknown | 1 | 1 | 20 | 1 | 1 |  |  |  | 2016-04-05 | 11:41 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.068 |  | mg N/L | 0.311 | 0.0103 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.5 | 39.6 | 0.068 | 0.068 | 0.068
Tres Rios 1781 | Unknown | 1 | 1 | 20 | 1 | 1 |  |  |  | 2016-04-05 | 11:41 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.287 |  | mg N/L | 1.63 | 0.0535 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 139 | 105 | 0.287 | 0.287 | 0.287
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 11:42 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | -0.00853 | -0.015323 | mg N/L | -0.0372 | -0.000976 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 79.2 | 16.1 | -0.00853 | -0.00853 | -0.00853
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 11:42 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.0363 | 0.0032778 | mg N/L | 0.109 | 0.00346 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 105 | 0.0363 | 0.0363 | 0.0363
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 11:43 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.47 | 0.49433 | mg N/L | 2.08 | 0.0709 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 44.1 | 0.47 | 0.47 | 0.47
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 11:43 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.976 | 1.0113 | mg N/L | 5.72 | 0.181 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 101 | 0.976 | 0.976 | 0.976
Tres Rios 1782 | Unknown | 1 | 1 | 21 | 1 | 1 |  |  |  | 2016-04-05 | 11:49 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.0112 |  | mg N/L | 0.053 | 0.00171 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 63.9 | 41.2 | 0.0112 | 0.0112 | 0.0112
Tres Rios 1782 | Unknown | 1 | 1 | 21 | 1 | 1 |  |  |  | 2016-04-05 | 11:49 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.229 |  | mg N/L | 1.28 | 0.042 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 136 | 106 | 0.229 | 0.229 | 0.229
Tres Rios 1783 | Unknown | 1 | 1 | 22 | 1 | 1 |  |  |  | 2016-04-05 | 11:50 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.04 |  | mg N/L | 8.23 | 0.278 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 44.9 | 2.04 | 2.04 | 2.04
Tres Rios 1783 | Unknown | 1 | 1 | 22 | 1 | 1 |  |  |  | 2016-04-05 | 11:50 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 1.43 |  | mg N/L | 8.36 | 0.272 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 99.4 | 1.43 | 1.43 | 1.43
Tres Rios 1784 | Unknown | 1 | 1 | 23 | 1 | 1 |  |  |  | 2016-04-05 | 11:51 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.49 |  | mg N/L | 9.82 | 0.327 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 45.4 | 2.49 | 2.49 | 2.49
Tres Rios 1784 | Unknown | 1 | 1 | 23 | 1 | 1 |  |  |  | 2016-04-05 | 11:51 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.989 |  | mg N/L | 5.8 | 0.187 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 101 | 0.989 | 0.989 | 0.989
Tres Rios 1785 | Unknown | 1 | 1 | 24 | 1 | 1 |  |  |  | 2016-04-05 | 11:53 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 2.58 |  | mg N/L | 10.1 | 0.337 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 69.3 | 44.1 | 2.58 | 2.58 | 2.58
Tres Rios 1785 | Unknown | 1 | 1 | 24 | 1 | 1 |  |  |  | 2016-04-05 | 11:53 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.549 |  | mg N/L | 3.2 | 0.105 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 99 | 0.549 | 0.549 | 0.549
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2016-04-05 | 11:56 | instrument | OM_4-5-2016_10-40-23AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.455 | 0.47959 | mg N/L | 2.02 | 0.0693 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.1 | 44.9 | 45.5 | 0.455 | 45.5
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2016-04-05 | 11:56 | instrument | OM_4-5-2016_10-40-23AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.512 | 0.51803 | mg N/L | 2.98 | 0.097 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 138 | 105 | 51.2 | 0.512 | 51.2
Blank | Check Standard | 1 | 4 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 12:02 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.00263 | -0.0030769 | mg N/L | 0.0138 | 0.000781 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 88.7 | 46.2 | 0.00263 | 0.00263 | 0.00263
Blank | Check Standard | 1 | 4 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 12:02 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.0364 | 0.0033172 | mg N/L | 0.109 | 0.00379 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 132 | 111 | 0.0364 | 0.0364 | 0.0364
CCV | Check Standard | 1 | 4 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 12:03 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 1 | NItrate/Nitrite | 0.471 | 0.49574 | mg N/L | 2.09 | 0.0711 | Conc = 3.58e-3 * Area^2 + 0.219 * Area - 3.99e-4 | 70.5 | 44.9 | 0.471 | 0.471 | 0.471
CCV | Check Standard | 1 | 4 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 12:03 | instrument | OM_4-5-2016_10-40-23AM.OMN |  | 2 | Ammonia | 0.969 | 1.0037 | mg N/L | 5.68 | 0.181 | Conc = 5.12e-4 * Area^2 + 0.164 * Area + 0.0184 | 137 | 103 | 0.969 | 0.969 | 0.969