## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-06-04 | 11:20 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 200 | 0 | mg/L | 31.3 | 2.09 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.9 | 11.5 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-06-04 | 11:20 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 400 | 0 | ug P/L | 19.9 | 0.662 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 53.2 | 27.6 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2015-06-04 | 11:21 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 100 | 0 | mg/L | 22.4 | 1.61 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 22.3 | 12 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2015-06-04 | 11:21 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 200 | 0 | ug P/L | 10.5 | 0.342 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 53.2 | 27.6 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2015-06-04 | 11:23 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 50 | 0 | mg/L | 14.5 | 1.1 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.9 | 7.42 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2015-06-04 | 11:23 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 100 | 0 | ug P/L | 4.99 | 0.155 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 53.6 | 28.9 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 11:26 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 25 | 25 | mg/L | 8.88 | 0.7 | Conc = 6.71e-3 * Area^3 - 0.166 * Area^2 + 5.54 * Area - 15.8 | 21.9 | 10.3 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 11:26 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 50 | 50 | ug P/L | 2.43 | 0.0735 | Conc = 0.0216 * Area^3 - 0.560 * Area^2 + 22.8 * Area - 2.26 | 53.2 | 28.9 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2015-06-04 | 11:29 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 10 | 9.9462 | mg/L | 4.21 | 0.33 | Conc = 4.48e-3 * Area^3 - 0.0328 * Area^2 + 3.14 * Area - 3.02 | 21.4 | 7.42 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2015-06-04 | 11:29 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 20 | 19.9666 | ug P/L | 0.972 | 0.0275 | Conc = 0.0199 * Area^3 - 0.505 * Area^2 + 22.3 * Area - 1.22 | 52.8 | 28.9 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2015-06-04 | 11:32 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 5 | 4.8781 | mg/L | 2.18 | 0.17 | Conc = 3.65e-3 * Area^3 + 0.0102 * Area^2 + 2.51 * Area - 0.676 | 21.4 | 7.42 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2015-06-04 | 11:32 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 10 | 9.5952 | ug P/L | 0.412 | 0.0118 | Conc = 0.0138 * Area^3 - 0.316 * Area^2 + 20.8 * Area + 1.08 | 53.6 | 29.3 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2015-06-04 | 11:35 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 2.5 | 2.1066 | mg/L | 0.987 | 0.0813 | Conc = 3.16e-3 * Area^3 + 0.0344 * Area^2 + 2.20 * Area + 0.182 | 21.4 | 12 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2015-06-04 | 11:35 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 5 | 5.6284 | ug P/L | 0.28 | 0.00662 | Conc = 0.0192 * Area^3 - 0.478 * Area^2 + 22.0 * Area - 0.503 | 52 | 30.1 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 11:36 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 0 | 0.24816 | mg/L | 0.235 | 0.0114 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 22.3 | 4.95 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 11:36 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 0 | -0.032891 | ug P/L | 0.0196 | 0.0025 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 129 | 122 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 11:37 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.7 |  | mg/L | 7.32 | 0.578 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.4 | 11.1 | 19.7 | 19.7 | 19.7
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 11:37 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 41.7 |  | ug P/L | 2 | 0.061 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 28.9 | 41.7 | 41.7 | 41.7
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 11:38 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.8 |  | mg/L | 7.35 | 0.583 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.54 | 19.8 | 19.8 | 19.8
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 11:38 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 42.3 |  | ug P/L | 2.03 | 0.0628 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 54 | 28.5 | 42.3 | 42.3 | 42.3
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 11:39 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.7 |  | mg/L | 7.3 | 0.578 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.4 | 9.9 | 19.7 | 19.7 | 19.7
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 11:39 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 42.9 |  | ug P/L | 2.06 | 0.0625 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 54 | 28.9 | 42.9 | 42.9 | 42.9
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-06-04 | 11:46 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 24.4 | 24.387 | mg/L | 8.71 | 0.682 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.54 | 2440 | 24.4 | 2440
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-06-04 | 11:46 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 49.3 | 49.3122 | ug P/L | 2.38 | 0.0707 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 52.4 | 28.9 | 4930 | 49.3 | 4930
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 11:47 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 0.308 | 0.30806 | mg/L | 0.26 | 0.0122 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 22.3 | 11.1 | 0.308 | 0.308 | 0.308
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 11:47 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | -2.32 | -2.3173 | ug P/L | -0.0843 | -0.0018 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 34.6 | 19 | -2.32 | -2.32 | -2.32
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 11:50 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 24.9 | 24.8749 | mg/L | 8.85 | 0.696 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 6.6 | 99.5 | 24.9 | 99.5
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 11:50 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 49.2 | 49.1593 | ug P/L | 2.37 | 0.0713 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 54 | 28.5 | 197 | 49.2 | 197
TRES RIOS 460 5.12.15 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2015-06-04 | 11:56 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 19.5 |  | mg/L | 7.25 | 0.576 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 11.1 | 195 | 19.5 | 195
TRES RIOS 460 5.12.15 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2015-06-04 | 11:56 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 295 |  | ug P/L | 15.4 | 0.496 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 2950 | 295 | 2950
1893 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2015-06-04 | 11:59 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 18.5 |  | mg/L | 6.95 | 0.555 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 6.19 | 185 | 18.5 | 185
1893 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2015-06-04 | 11:59 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 241 |  | ug P/L | 12.7 | 0.405 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 2410 | 241 | 2410
2320 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2015-06-04 | 12:02 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 16.8 |  | mg/L | 6.38 | 0.509 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 9.07 | 168 | 16.8 | 168
2320 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2015-06-04 | 12:02 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 235 |  | ug P/L | 12.4 | 0.396 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 2350 | 235 | 2350
3857 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2015-06-04 | 12:05 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 18.4 |  | mg/L | 6.91 | 0.547 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 10.7 | 184 | 18.4 | 184
3857 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2015-06-04 | 12:05 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 273 |  | ug P/L | 14.3 | 0.46 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.6 | 2730 | 273 | 2730
6642 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2015-06-04 | 12:07 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 28.9 |  | mg/L | 9.95 | 0.775 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 22.3 | 5.36 | 289 | 28.9 | 289
6642 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2015-06-04 | 12:07 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 455 |  | ug P/L | 21.9 | 0.713 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.6 | 28 | 4550 | 455 | 4550
7651 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2015-06-04 | 12:10 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 19.1 |  | mg/L | 7.13 | 0.567 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.4 | 9.07 | 191 | 19.1 | 191
7651 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2015-06-04 | 12:10 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 283 |  | ug P/L | 14.8 | 0.475 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 2830 | 283 | 2830
8227 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2015-06-04 | 12:13 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 17.9 |  | mg/L | 6.74 | 0.535 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 5.77 | 179 | 17.9 | 179
8227 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2015-06-04 | 12:13 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 240 |  | ug P/L | 12.6 | 0.404 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 2400 | 240 | 2400
9240 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2015-06-04 | 12:15 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 16.9 |  | mg/L | 6.41 | 0.507 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 10.7 | 169 | 16.9 | 169
9240 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2015-06-04 | 12:15 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 244 |  | ug P/L | 12.8 | 0.41 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 2440 | 244 | 2440
9749 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2015-06-04 | 12:18 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 16.9 |  | mg/L | 6.4 | 0.503 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 5.36 | 169 | 16.9 | 169
9749 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2015-06-04 | 12:18 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 254 |  | ug P/L | 13.4 | 0.428 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 28.5 | 2540 | 254 | 2540
10023 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2015-06-04 | 12:21 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 20.8 |  | mg/L | 7.65 | 0.603 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.95 | 208 | 20.8 | 208
10023 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2015-06-04 | 12:21 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 278 |  | ug P/L | 14.6 | 0.466 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.6 | 2780 | 278 | 2780
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 12:22 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 0.243 | 0.24349 | mg/L | 0.233 | 0.0106 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 22.3 | 5.36 | 0.243 | 0.243 | 0.243
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 12:22 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | -4.21 | -4.2125 | ug P/L | -0.17 | -0.0024 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 37.1 | 19.4 | -4.21 | -4.21 | -4.21
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 12:24 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 25 | 24.9695 | mg/L | 8.87 | 0.695 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.95 | 99.9 | 25 | 99.9
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 12:24 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 50.8 | 50.7697 | ug P/L | 2.45 | 0.0745 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 52.8 | 28.5 | 203 | 50.8 | 203
10055 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2015-06-04 | 12:31 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 15.5 |  | mg/L | 5.95 | 0.47 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 10.7 | 155 | 15.5 | 155
10055 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2015-06-04 | 12:31 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 193 |  | ug P/L | 10.1 | 0.32 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.2 | 1930 | 193 | 1930
10124 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2015-06-04 | 12:34 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 18.6 |  | mg/L | 6.96 | 0.547 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 7.01 | 186 | 18.6 | 186
10124 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2015-06-04 | 12:34 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 225 |  | ug P/L | 11.9 | 0.38 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 27.6 | 2250 | 225 | 2250
Ext Source QC | Method Detection Limit | 1 | 2 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 12:35 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21 |  | mg/L | 7.73 | 0.609 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 9.48 | 21 | 21 | 21
Ext Source QC | Method Detection Limit | 1 | 2 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 12:35 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 51 |  | ug P/L | 2.46 | 0.0777 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 54 | 28.5 | 51 | 51 | 51
Ext Source QC | Method Detection Limit | 2 | 2 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 12:36 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21 |  | mg/L | 7.72 | 0.606 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 9.9 | 21 | 21 | 21
Ext Source QC | Method Detection Limit | 2 | 2 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 12:36 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 50.6 |  | ug P/L | 2.44 | 0.077 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 28.9 | 50.6 | 50.6 | 50.6
Ext Source QC | Method Detection Limit | 3 | 2 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 12:36 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21 |  | mg/L | 7.71 | 0.61 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 10.7 | 21 | 21 | 21
Ext Source QC | Method Detection Limit | 3 | 2 | S16 | 1 | 1 |  |  |  | 2015-06-04 | 12:36 | instrument | OM_6-4-2015_11-17-05AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 52.4 |  | ug P/L | 2.53 | 0.0775 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 53.2 | 28.5 | 52.4 | 52.4 | 52.4
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2015-06-04 | 12:43 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 24.6 | 24.5571 | mg/L | 8.76 | 0.682 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.95 | 2460 | 24.6 | 2460
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2015-06-04 | 12:43 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 49 | 49.0074 | ug P/L | 2.36 | 0.0708 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 54 | 28.5 | 4900 | 49 | 4900
6642 | Unknown | 1 | 2 | 5 | 1 | 100 |  |  |  | 2015-06-04 | 12:46 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 2.89 |  | mg/L | 1.3 | 0.0991 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 6.19 | 289 | 2.89 | 289
6642 | Unknown | 1 | 2 | 5 | 1 | 100 |  |  |  | 2015-06-04 | 12:46 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 40.9 |  | ug P/L | 1.96 | 0.058 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 52.8 | 28.9 | 4090 | 40.9 | 4090
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 12:51 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 0.0698 | 0.069774 | mg/L | 0.163 | 0.00665 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.95 | 0.0698 | 0.0698 | 0.0698
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2015-06-04 | 12:51 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | -0.951 | -0.95115 | ug P/L | -0.0222 | -0.00131 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 34.2 | 21 | -0.951 | -0.951 | -0.951
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 12:54 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 1 | Chloride | 25.3 | 25.3032 | mg/L | 8.97 | 0.695 | Conc = 3.63e-3 * Area^3 + 0.0126 * Area^2 + 2.45 * Area - 0.330 | 21.9 | 4.12 | 101 | 25.3 | 101
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2015-06-04 | 12:54 | instrument | OM_6-4-2015_11-17-05AM.OMN |  | 2 | Phosphate | 48.9 | 48.8544 | ug P/L | 2.35 | 0.071 | Conc = 0.0189 * Area^3 - 0.471 * Area^2 + 21.9 * Area - 0.463 | 52.4 | 28 | 195 | 48.9 | 195