## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-06-01 | 12:22 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 10.8 | 0.391 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 65.6 | 41.2 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-06-01 | 12:23 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 4.44 | 0.163 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 65.2 | 40.8 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-01 | 12:24 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 1.15 | 0.042 | Conc = 5.64e-4 * Area^2 + 0.179 * Area - 5.47e-3 | 65.2 | 42.1 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-06-01 | 12:25 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.317 | 0.0118 | Conc = 5.08e-4 * Area^2 + 0.179 * Area - 6.79e-3 | 67.2 | 41.6 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-06-01 | 12:26 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.019821 | mg N/L | 0.145 | 0.00534 | Conc = 5.49e-4 * Area^2 + 0.179 * Area - 6.16e-3 | 65.6 | 43.7 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-06-01 | 12:28 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.0092545 | mg N/L | 0.076 | 0.0028 | Conc = 7.13e-4 * Area^2 + 0.177 * Area - 4.41e-3 | 64.3 | 44.9 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-06-01 | 12:29 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0050244 | mg N/L | 0.0519 | 0.00206 | Conc = 7.29e-4 * Area^2 + 0.177 * Area - 4.28e-3 | 63.9 | 44.9 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-06-01 | 12:30 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0 | -2.821e-06 | mg N/L | 0.0229 | 0.00107 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 56.9 | 26.4 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-01 | 12:31 | instrument | OM_6-1-2015_12-20-48PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.981 |  | mg N/L | 5.45 | 0.198 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 65.2 | 42.5 | 0.981 | 0.981 | 0.981
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-01 | 12:33 | instrument | OM_6-1-2015_12-20-48PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.983 |  | mg N/L | 5.46 | 0.199 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 65.6 | 42.1 | 0.983 | 0.983 | 0.983
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-01 | 12:34 | instrument | OM_6-1-2015_12-20-48PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.984 |  | mg N/L | 5.46 | 0.199 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 64.7 | 41.6 | 0.984 | 0.984 | 0.984
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-06-01 | 12:38 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | -0.00855 | -0.0082593 | mg N/L | -0.0247 | -0.000848 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 46.6 | 30.5 | -0.00855 | -0.00855 | -0.00855
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-06-01 | 12:39 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.0505 | 0.049798 | mg N/L | 0.309 | 0.0116 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 65.6 | 41.2 | 0.0505 | 0.0505 | 0.0505
Tres Rios 460 5.12.15 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-06-01 | 12:43 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.00608 |  | mg N/L | 0.0581 | 0.0021 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 53.2 | 41.2 | 0.00608 | 0.00608 | 0.00608
1893 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-06-01 | 12:44 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.117 |  | mg N/L | 0.681 | 0.0248 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 66.4 | 40.8 | 0.117 | 0.117 | 0.117
2320 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-06-01 | 12:45 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.112 |  | mg N/L | 0.656 | 0.024 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 64.7 | 42.9 | 0.112 | 0.112 | 0.112
3857 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-06-01 | 12:47 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.23 |  | mg N/L | 1.32 | 0.0477 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 66 | 41.6 | 0.23 | 0.23 | 0.23
6642 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-06-01 | 12:48 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.167 |  | mg N/L | 0.964 | 0.0348 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 65.6 | 39.6 | 0.167 | 0.167 | 0.167
7651 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-06-01 | 12:49 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.232 |  | mg N/L | 1.33 | 0.048 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 67.2 | 41.6 | 0.232 | 0.232 | 0.232
8227 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-06-01 | 12:50 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.219 |  | mg N/L | 1.25 | 0.0457 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 66.4 | 43.3 | 0.219 | 0.219 | 0.219
9240 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-06-01 | 12:51 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.124 |  | mg N/L | 0.725 | 0.0261 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 63.9 | 41.6 | 0.124 | 0.124 | 0.124
9749 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-06-01 | 12:53 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.0045 |  | mg N/L | 0.0491 | 0.0019 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 56.9 | 41.6 | 0.0045 | 0.0045 | 0.0045
10023 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-06-01 | 12:54 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.279 |  | mg N/L | 1.59 | 0.0585 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 64.7 | 42.9 | 0.279 | 0.279 | 0.279
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-06-01 | 12:55 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | -0.00934 | -0.0090307 | mg N/L | -0.0291 | -0.00099 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 34.6 | 31.3 | -0.00934 | -0.00934 | -0.00934
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-06-01 | 12:56 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.0511 | 0.050454 | mg N/L | 0.313 | 0.0119 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 65.6 | 42.9 | 0.0511 | 0.0511 | 0.0511
10055 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-06-01 | 13:00 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.21 |  | mg N/L | 1.2 | 0.0433 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 66.8 | 42.5 | 0.21 | 0.21 | 0.21
10124 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-06-01 | 13:01 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.144 |  | mg N/L | 0.835 | 0.0309 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 65.2 | 42.1 | 0.144 | 0.144 | 0.144
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2015-06-01 | 13:05 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | -0.00725 | -0.0069845 | mg N/L | -0.0173 | -0.00117 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 42.1 | 32.6 | -0.00725 | -0.00725 | -0.00725
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2015-06-01 | 13:07 | instrument | OM_6-1-2015_12-20-48PM.OMN |  | 1 | NItrate/Nitrite | 0.0513 | 0.050625 | mg N/L | 0.314 | 0.0112 | Conc = 7.44e-4 * Area^2 + 0.177 * Area - 4.19e-3 | 69.3 | 43.7 | 0.0513 | 0.0513 | 0.0513