## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-06-02 | 10:39 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 10 | 0 | mg N/L | 39 | 0.944 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 89.1 | 61.4 | 10 | 10 | 10
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-06-02 | 10:39 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 20 | 0 | mg N/L | 93.1 | 2.75 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 142 | 104 | 20 | 20 | 20
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-06-02 | 10:40 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 4 | 0 | mg N/L | 18.3 | 0.481 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 90.3 | 61.4 | 4 | 4 | 4
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-06-02 | 10:40 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 8 | 0 | mg N/L | 43.4 | 1.38 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 142 | 105 | 8 | 8 | 8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-02 | 10:41 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1 | 0 | mg N/L | 4.85 | 0.13 | Conc = 1.95e-3 * Area^2 + 0.178 * Area + 0.0913 | 91.5 | 61.9 | 1 | 1 | 1
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-06-02 | 10:41 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 2 | 0 | mg N/L | 11.2 | 0.363 | Conc = 6.68e-4 * Area^2 + 0.150 * Area + 0.239 | 142 | 107 | 2 | 2 | 2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 10:42 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.5 | 0.5 | mg N/L | 2.47 | 0.0661 | Conc = 1.81e-3 * Area^2 + 0.184 * Area + 0.0425 | 88.7 | 61.9 | 0.5 | 0.5 | 0.5
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 10:42 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 1 | 1 | mg N/L | 5.63 | 0.183 | Conc = 6.42e-4 * Area^2 + 0.153 * Area + 0.156 | 142 | 108 | 1 | 1 | 1
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-06-02 | 10:44 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0.20001 | mg N/L | 1.03 | 0.0274 | Conc = 1.66e-3 * Area^2 + 0.191 * Area + 8.75e-3 | 90.7 | 61.4 | 0.2 | 0.2 | 0.2
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-06-02 | 10:44 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.4 | 0.39811 | mg N/L | 2.25 | 0.0723 | Conc = 6.20e-4 * Area^2 + 0.156 * Area + 0.102 | 142 | 111 | 0.4 | 0.4 | 0.4
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-06-02 | 10:45 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.1 | 0.099331 | mg N/L | 0.542 | 0.014 | Conc = 1.60e-3 * Area^2 + 0.193 * Area - 8.21e-4 | 90.3 | 62.7 | 0.1 | 0.1 | 0.1
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-06-02 | 10:45 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.2 | 0.20259 | mg N/L | 1.18 | 0.0378 | Conc = 6.07e-4 * Area^2 + 0.157 * Area + 0.0702 | 143 | 112 | 0.2 | 0.2 | 0.2
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-06-02 | 10:46 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.047991 | mg N/L | 0.274 | 0.00705 | Conc = 1.59e-3 * Area^2 + 0.193 * Area - 2.25e-3 | 88.7 | 65.6 | 0.05 | 0.05 | 0.05
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-06-02 | 10:46 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.1 | 0.097846 | mg N/L | 0.591 | 0.0183 | Conc = 5.99e-4 * Area^2 + 0.158 * Area + 0.0527 | 143 | 106 | 0.1 | 0.1 | 0.1
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 10:47 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0066712 | mg N/L | -0.0291 | -0.00103 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 67.2 | 61.4 | 0 | 0 | 0
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 10:47 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0 | -0.013917 | mg N/L | -0.0685 | -0.00233 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 115 | 78.4 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-02 | 10:48 | instrument | OM_6-2-2015_10-37-53AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.942 |  | mg N/L | 4.72 | 0.126 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 91.1 | 61.9 | 0.942 | 0.942 | 0.942
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-02 | 10:48 | instrument | OM_6-2-2015_10-37-53AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.5 |  | mg N/L | 2.84 | 0.0934 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 143 | 106 | 0.5 | 0.5 | 0.5
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-02 | 10:50 | instrument | OM_6-2-2015_10-37-53AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.943 |  | mg N/L | 4.72 | 0.126 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 91.1 | 61.4 | 0.943 | 0.943 | 0.943
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-02 | 10:50 | instrument | OM_6-2-2015_10-37-53AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.507 |  | mg N/L | 2.88 | 0.0934 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 68 | 0.507 | 0.507 | 0.507
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-02 | 10:51 | instrument | OM_6-2-2015_10-37-53AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.951 |  | mg N/L | 4.76 | 0.126 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 92 | 61.4 | 0.951 | 0.951 | 0.951
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-06-02 | 10:51 | instrument | OM_6-2-2015_10-37-53AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.496 |  | mg N/L | 2.82 | 0.0939 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 141 | 106 | 0.496 | 0.496 | 0.496
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-06-02 | 10:59 | instrument | OM_6-2-2015_10-37-53AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.00553 | 0.0036231 | mg N/L | 0.0228 | 0.00117 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 120 | 94.8 | 0.553 | 0.00553 | 0.553
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-06-02 | 10:59 | instrument | OM_6-2-2015_10-37-53AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.0636 | 0.021059 | mg N/L | 0.127 | 0.0038 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 141 | 111 | 6.36 | 0.0636 | 6.36
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 11:00 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.00107 | -0.00099081 | mg N/L | -0.000474 | 0.00127 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 70.1 | 68 | 0.00107 | 0.00107 | 0.00107
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 11:00 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.0339 | -0.012422 | mg N/L | -0.0601 | -0.00137 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 84.9 | 71.3 | 0.0339 | 0.0339 | 0.0339
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 11:01 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.479 | 0.48815 | mg N/L | 2.44 | 0.0657 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.7 | 61.4 | 0.479 | 0.479 | 0.479
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 11:01 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.909 | 0.95248 | mg N/L | 5.34 | 0.175 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 107 | 0.909 | 0.909 | 0.909
Tres Rios 460 5.12.15 | Unknown | 1 | 1 | 41 | 1 | 1 |  |  |  | 2015-06-02 | 12:22 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.00379 |  | mg N/L | 0.0137 | 0.000659 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 94 | 61.9 | 0.00379 | 0.00379 | 0.00379
Tres Rios 460 5.12.15 | Unknown | 1 | 1 | 41 | 1 | 1 |  |  |  | 2015-06-02 | 12:22 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.0611 |  | mg N/L | 0.111 | 0.00261 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 73.4 | 0.0611 | 0.0611 | 0.0611
1893 | Unknown | 1 | 1 | 42 | 1 | 1 |  |  |  | 2015-06-02 | 12:23 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.28 |  | mg N/L | 6.31 | 0.165 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.3 | 61.4 | 1.28 | 1.28 | 1.28
1893 | Unknown | 1 | 1 | 42 | 1 | 1 |  |  |  | 2015-06-02 | 12:23 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.158 |  | mg N/L | 0.718 | 0.0221 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 140 | 64.7 | 0.158 | 0.158 | 0.158
2320 | Unknown | 1 | 1 | 43 | 1 | 1 |  |  |  | 2015-06-02 | 12:25 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.13 |  | mg N/L | 5.62 | 0.147 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.3 | 61.4 | 1.13 | 1.13 | 1.13
2320 | Unknown | 1 | 1 | 43 | 1 | 1 |  |  |  | 2015-06-02 | 12:25 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.221 |  | mg N/L | 1.12 | 0.0357 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 62.7 | 0.221 | 0.221 | 0.221
3857 | Unknown | 1 | 1 | 44 | 1 | 1 |  |  |  | 2015-06-02 | 12:26 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.76 |  | mg N/L | 8.56 | 0.223 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.7 | 61.4 | 1.76 | 1.76 | 1.76
3857 | Unknown | 1 | 1 | 44 | 1 | 1 |  |  |  | 2015-06-02 | 12:26 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.636 |  | mg N/L | 3.68 | 0.119 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 144 | 65.6 | 0.636 | 0.636 | 0.636
6642 | Unknown | 1 | 1 | 45 | 1 | 1 |  |  |  | 2015-06-02 | 12:27 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.112 |  | mg N/L | 0.573 | 0.0154 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 89.1 | 61.9 | 0.112 | 0.112 | 0.112
6642 | Unknown | 1 | 1 | 45 | 1 | 1 |  |  |  | 2015-06-02 | 12:27 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.993 |  | mg N/L | 5.84 | 0.189 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 143 | 104 | 0.993 | 0.993 | 0.993
7651 | Unknown | 1 | 1 | 46 | 1 | 1 |  |  |  | 2015-06-02 | 12:28 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.46 |  | mg N/L | 7.16 | 0.187 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 91.5 | 61.4 | 1.46 | 1.46 | 1.46
7651 | Unknown | 1 | 1 | 46 | 1 | 1 |  |  |  | 2015-06-02 | 12:28 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.694 |  | mg N/L | 4.03 | 0.133 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 143 | 105 | 0.694 | 0.694 | 0.694
8227 | Unknown | 1 | 1 | 47 | 1 | 1 |  |  |  | 2015-06-02 | 12:29 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.74 |  | mg N/L | 8.43 | 0.219 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 89.9 | 61.4 | 1.74 | 1.74 | 1.74
8227 | Unknown | 1 | 1 | 47 | 1 | 1 |  |  |  | 2015-06-02 | 12:29 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.494 |  | mg N/L | 2.81 | 0.0917 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 68 | 0.494 | 0.494 | 0.494
9240 | Unknown | 1 | 1 | 48 | 1 | 1 |  |  |  | 2015-06-02 | 12:31 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.14 |  | mg N/L | 5.66 | 0.148 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.7 | 61.4 | 1.14 | 1.14 | 1.14
9240 | Unknown | 1 | 1 | 48 | 1 | 1 |  |  |  | 2015-06-02 | 12:31 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.156 |  | mg N/L | 0.705 | 0.0219 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 141 | 67.6 | 0.156 | 0.156 | 0.156
9744 | Unknown | 1 | 1 | 49 | 1 | 1 |  |  |  | 2015-06-02 | 12:32 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | -0.00349 |  | mg N/L | -0.0242 | 0.000546 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 151 | 99 | -0.00349 | -0.00349 | -0.00349
9744 | Unknown | 1 | 1 | 49 | 1 | 1 |  |  |  | 2015-06-02 | 12:32 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.0936 |  | mg N/L | 0.316 | 0.0101 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 111 | 0.0936 | 0.0936 | 0.0936
10023 | Unknown | 1 | 1 | 50 | 1 | 1 |  |  |  | 2015-06-02 | 12:33 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 2.04 |  | mg N/L | 9.81 | 0.254 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.3 | 61.4 | 2.04 | 2.04 | 2.04
10023 | Unknown | 1 | 1 | 50 | 1 | 1 |  |  |  | 2015-06-02 | 12:33 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 1.1 |  | mg N/L | 6.5 | 0.212 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 68.9 | 1.1 | 1.1 | 1.1
Blank | Check Standard | 1 | 6 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 12:34 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | -0.00209 | -0.0042481 | mg N/L | -0.0169 | -0.000532 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 82.5 | 61.4 | -0.00209 | -0.00209 | -0.00209
Blank | Check Standard | 1 | 6 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 12:34 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.0178 | -0.030568 | mg N/L | -0.161 | -0.00246 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 96.9 | 59 | 0.0178 | 0.0178 | 0.0178
CCV | Check Standard | 1 | 6 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 12:35 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.477 | 0.48647 | mg N/L | 2.43 | 0.0645 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.7 | 61.4 | 0.477 | 0.477 | 0.477
CCV | Check Standard | 1 | 6 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 12:35 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.975 | 1.0236 | mg N/L | 5.74 | 0.185 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 143 | 104 | 0.975 | 0.975 | 0.975
10055 | Unknown | 1 | 1 | 51 | 1 | 1 |  |  |  | 2015-06-02 | 12:41 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.44 |  | mg N/L | 7.06 | 0.184 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 91.1 | 61.4 | 1.44 | 1.44 | 1.44
10055 | Unknown | 1 | 1 | 51 | 1 | 1 |  |  |  | 2015-06-02 | 12:41 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.416 |  | mg N/L | 2.32 | 0.0725 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 59.4 | 0.416 | 0.416 | 0.416
10124 | Unknown | 1 | 1 | 52 | 1 | 1 |  |  |  | 2015-06-02 | 12:42 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 1.49 |  | mg N/L | 7.3 | 0.19 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 91.1 | 61.9 | 1.49 | 1.49 | 1.49
10124 | Unknown | 1 | 1 | 52 | 1 | 1 |  |  |  | 2015-06-02 | 12:42 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.233 |  | mg N/L | 1.19 | 0.0372 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 59.8 | 0.233 | 0.233 | 0.233
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2015-06-02 | 12:46 | instrument | OM_6-2-2015_10-37-53AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.441 | 0.44997 | mg N/L | 2.25 | 0.0594 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 90.7 | 61.4 | 44.1 | 0.441 | 44.1
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2015-06-02 | 12:46 | instrument | OM_6-2-2015_10-37-53AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.497 | 0.50368 | mg N/L | 2.83 | 0.0905 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 142 | 109 | 49.7 | 0.497 | 49.7
Blank | Check Standard | 1 | 7 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 12:52 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.00156 | -0.00048278 | mg N/L | 0.00209 | 0.000648 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 77.9 | 70.9 | 0.00156 | 0.00156 | 0.00156
Blank | Check Standard | 1 | 7 | S8 | 1 | 1 |  |  |  | 2015-06-02 | 12:52 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.0408 | -0.0045752 | mg N/L | -0.0163 | -0.00144 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 97.7 | 92 | 0.0408 | 0.0408 | 0.0408
CCV | Check Standard | 1 | 7 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 12:53 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 1 | NItrate/Nitrite | 0.474 | 0.48332 | mg N/L | 2.42 | 0.0639 | Conc = 1.63e-3 * Area^2 + 0.192 * Area + 1.16e-3 | 91.5 | 61.4 | 0.474 | 0.474 | 0.474
CCV | Check Standard | 1 | 7 | S4 | 1 | 1 |  |  |  | 2015-06-02 | 12:53 | instrument | OM_6-2-2015_10-37-53AM.OMN |  | 2 | Ammonia | 0.963 | 1.0109 | mg N/L | 5.67 | 0.183 | Conc = 5.94e-4 * Area^2 + 0.159 * Area + 0.0434 | 144 | 107 | 0.963 | 0.963 | 0.963