## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-05-27 | 10:07 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 17.9 | 0.753 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 49.5 | 30.1 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-05-27 | 10:08 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 8.58 | 0.381 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 49.9 | 29.7 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-27 | 10:09 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.33 | 0.106 | Conc = 2.05e-3 * Area^2 + 0.0737 * Area + 0.0168 | 49.9 | 30.9 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-05-27 | 10:10 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.593 | 0.0269 | Conc = 1.86e-3 * Area^2 + 0.0776 * Area + 4.15e-3 | 49.9 | 30.9 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-05-27 | 10:11 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.019985 | mg N/L | 0.237 | 0.0104 | Conc = 1.81e-3 * Area^2 + 0.0786 * Area + 1.94e-3 | 50.3 | 31.8 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-05-27 | 10:13 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.010463 | mg N/L | 0.135 | 0.00569 | Conc = 1.76e-3 * Area^2 + 0.0796 * Area + 1.77e-4 | 51.1 | 30.9 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-05-27 | 10:14 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0050972 | mg N/L | 0.0741 | 0.00299 | Conc = 1.73e-3 * Area^2 + 0.0801 * Area - 4.87e-4 | 50.3 | 35.1 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-05-27 | 10:15 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0011327 | mg N/L | -0.0111 | -0.000978 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 31.3 | 22.7 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-27 | 10:16 | instrument | OM_5-27-2016_10-05-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.0913 |  | mg N/L | 1.12 | 0.0506 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 50.3 | 30.1 | 0.0913 | 0.0913 | 0.0913
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-27 | 10:17 | instrument | OM_5-27-2016_10-05-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.0907 |  | mg N/L | 1.11 | 0.0506 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.9 | 31.8 | 0.0907 | 0.0907 | 0.0907
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-27 | 10:19 | instrument | OM_5-27-2016_10-05-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.0911 |  | mg N/L | 1.12 | 0.0505 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.5 | 30.5 | 0.0911 | 0.0911 | 0.0911
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-05-27 | 10:23 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | -0.000762 | -0.0010778 | mg N/L | -0.0105 | -0.00082 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 27.6 | 15.3 | -0.000762 | -0.000762 | -0.000762
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-05-27 | 10:24 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0477 | 0.049121 | mg N/L | 0.593 | 0.0265 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.9 | 31.8 | 0.0477 | 0.0477 | 0.0477
Tres Rios 1786 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-05-27 | 10:28 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.295 |  | mg N/L | 3.45 | 0.155 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.9 | 29.3 | 0.295 | 0.295 | 0.295
Tres Rios 1787 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-05-27 | 10:29 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.293 |  | mg N/L | 3.43 | 0.154 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.9 | 31.3 | 0.293 | 0.293 | 0.293
Tres Rios 1788 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-05-27 | 10:30 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.293 |  | mg N/L | 3.43 | 0.154 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.5 | 29.3 | 0.293 | 0.293 | 0.293
Tres Rios 1789 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-05-27 | 10:32 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.25 |  | mg N/L | 2.95 | 0.133 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 50.3 | 31.3 | 0.25 | 0.25 | 0.25
Tres Rios 1790 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-05-27 | 10:33 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.241 |  | mg N/L | 2.85 | 0.128 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.9 | 30.5 | 0.241 | 0.241 | 0.241
Tres Rios 1791 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-05-27 | 10:34 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.218 |  | mg N/L | 2.6 | 0.117 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.1 | 30.9 | 0.218 | 0.218 | 0.218
Tres Rios 1792 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-05-27 | 10:35 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.152 |  | mg N/L | 1.84 | 0.0821 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.5 | 29.3 | 0.152 | 0.152 | 0.152
Tres Rios 1793 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-05-27 | 10:36 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.00593 |  | mg N/L | 0.0737 | 0.00253 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 44.5 | 32.2 | 0.00593 | 0.00593 | 0.00593
Tres Rios 1794 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-05-27 | 10:37 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0144 |  | mg N/L | 0.18 | 0.00708 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.5 | 31.3 | 0.0144 | 0.0144 | 0.0144
Tres Rios 1795 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-05-27 | 10:39 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.257 |  | mg N/L | 3.03 | 0.137 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 50.3 | 31.3 | 0.257 | 0.257 | 0.257
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-05-27 | 10:40 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.00179 | 0.0015754 | mg N/L | 0.0216 | 0.0008 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 48.7 | 22.3 | 0.00179 | 0.00179 | 0.00179
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-05-27 | 10:41 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0489 | 0.050368 | mg N/L | 0.608 | 0.027 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.9 | 31.3 | 0.0489 | 0.0489 | 0.0489
Tres Rios 1796 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-05-27 | 10:45 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.236 |  | mg N/L | 2.8 | 0.126 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 50.3 | 28.5 | 0.236 | 0.236 | 0.236
Tres Rios 1797 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-05-27 | 10:46 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.274 |  | mg N/L | 3.22 | 0.146 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.5 | 28.5 | 0.274 | 0.274 | 0.274
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-05-27 | 10:50 | instrument | OM_5-27-2016_10-05-41AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.00245 | 0.0022679 | mg N/L | 0.03 | 0.000945 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 42.9 | 33 | 0.245 | 0.00245 | 0.245
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-05-27 | 10:54 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | -0.00189 | -0.0022533 | mg N/L | -0.0247 | -0.000642 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 77.9 | 20.2 | -0.00189 | -0.00189 | -0.00189
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-05-27 | 10:55 | instrument | OM_5-27-2016_10-05-41AM.OMN |  | 1 | NItrate/Nitrite | 0.048 | 0.049366 | mg N/L | 0.596 | 0.0269 | Conc = 1.77e-3 * Area^2 + 0.0794 * Area + 6.77e-5 | 49.5 | 31.3 | 0.048 | 0.048 | 0.048