## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-10-09 | 9:36 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 20.6 | 0.844 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 49.9 | 29.3 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-10-09 | 9:38 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 9.44 | 0.411 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 49.5 | 28.5 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-09 | 9:39 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.56 | 0.114 | Conc = 1.12e-3 * Area^2 + 0.0737 * Area + 4.36e-3 | 49.5 | 29.7 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-10-09 | 9:40 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.659 | 0.0291 | Conc = 1.08e-3 * Area^2 + 0.0747 * Area + 5.45e-4 | 50.7 | 29.7 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-10-09 | 9:41 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.020103 | mg N/L | 0.279 | 0.0118 | Conc = 1.06e-3 * Area^2 + 0.0752 * Area - 6.79e-4 | 49.9 | 32.6 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-10-09 | 9:42 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.0096378 | mg N/L | 0.132 | 0.00601 | Conc = 1.07e-3 * Area^2 + 0.0749 * Area - 1.88e-4 | 48.2 | 33.8 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-10-09 | 9:43 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.005311 | mg N/L | 0.082 | 0.00341 | Conc = 1.05e-3 * Area^2 + 0.0753 * Area - 7.73e-4 | 49.1 | 32.6 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-10-09 | 9:45 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.00079128 | mg N/L | -0.00674 | -0.000691 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 101 | 89.9 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-09 | 9:46 | instrument | OM_10-9-2015_09-35-24AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.948 |  | mg N/L | 11 | 0.472 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 28.5 | 0.948 | 0.948 | 0.948
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-09 | 9:47 | instrument | OM_10-9-2015_09-35-24AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.948 |  | mg N/L | 10.9 | 0.472 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 29.7 | 0.948 | 0.948 | 0.948
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-09 | 9:48 | instrument | OM_10-9-2015_09-35-24AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.946 |  | mg N/L | 10.9 | 0.472 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.9 | 29.7 | 0.946 | 0.946 | 0.946
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-10-09 | 9:52 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | -0.00173 | -0.0017595 | mg N/L | -0.0197 | -0.000704 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 110 | 61 | -0.00173 | -0.00173 | -0.00173
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-10-09 | 9:54 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.0507 | 0.050813 | mg N/L | 0.675 | 0.0295 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 30.1 | 0.0507 | 0.0507 | 0.0507
Tres Rios 1738 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-10-09 | 9:58 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.302 |  | mg N/L | 3.84 | 0.168 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.9 | 30.5 | 0.302 | 0.302 | 0.302
Tres Rios 1739 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-10-09 | 9:59 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.327 |  | mg N/L | 4.13 | 0.181 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.1 | 28.5 | 0.327 | 0.327 | 0.327
Tres Rios 1740 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-10-09 | 10:00 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.248 |  | mg N/L | 3.18 | 0.14 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 30.1 | 0.248 | 0.248 | 0.248
Tres Rios 1741 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-10-09 | 10:01 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.217 |  | mg N/L | 2.8 | 0.123 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.9 | 28.9 | 0.217 | 0.217 | 0.217
Tres Rios 1742 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-10-09 | 10:02 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.208 |  | mg N/L | 2.68 | 0.117 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 28.5 | 0.208 | 0.208 | 0.208
Tres Rios 1743 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-10-09 | 10:04 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.19 |  | mg N/L | 2.46 | 0.108 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.9 | 30.5 | 0.19 | 0.19 | 0.19
Tres Rios 1744 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-10-09 | 10:05 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.00934 |  | mg N/L | 0.128 | 0.00423 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 51.5 | 30.9 | 0.00934 | 0.00934 | 0.00934
Tres Rios 1745 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-10-09 | 10:06 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.224 |  | mg N/L | 2.88 | 0.127 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 30.1 | 0.224 | 0.224 | 0.224
Tres Rios 1746 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-10-09 | 10:07 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.00794 |  | mg N/L | 0.11 | 0.00368 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 53.2 | 31.3 | 0.00794 | 0.00794 | 0.00794
Tres Rios 1747 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-10-09 | 10:08 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.185 |  | mg N/L | 2.39 | 0.104 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.9 | 31.3 | 0.185 | 0.185 | 0.185
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-10-09 | 10:10 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.00135 | 0.0013296 | mg N/L | 0.0215 | 0.000695 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 87.8 | 42.1 | 0.00135 | 0.00135 | 0.00135
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-10-09 | 10:11 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.051 | 0.051124 | mg N/L | 0.679 | 0.0294 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 50.3 | 24.3 | 0.051 | 0.051 | 0.051
Tres Rios 1748 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-10-09 | 10:15 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.159 |  | mg N/L | 2.07 | 0.0908 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.5 | 30.9 | 0.159 | 0.159 | 0.159
Tres Rios 1749 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-10-09 | 10:16 | instrument | OM_10-9-2015_09-35-24AM.OMN |  | 1 | NItrate/Nitrite | 0.152 |  | mg N/L | 1.98 | 0.0864 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 48.7 | 28.9 | 0.152 | 0.152 | 0.152
Blank | Check Standard | 1 | 11 | S8 | 1 | 1 |  |  |  | 2015-10-09 | 13:37 | instrument | OM_10-9-2015_10-36-48AM.OMN |  | 1 | NItrate/Nitrite | -3.76e-05 | -6.0655e-05 | mg N/L | 0.003 | 0.000744 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 92.4 | 92 | -3.76e-05 | -3.76e-05 | -3.76e-05
CCV | Check Standard | 1 | 11 | S4 | 1 | 1 |  |  |  | 2015-10-09 | 13:38 | instrument | OM_10-9-2015_10-36-48AM.OMN |  | 1 | NItrate/Nitrite | 0.0506 | 0.050687 | mg N/L | 0.673 | 0.0297 | Conc = 1.08e-3 * Area^2 + 0.0748 * Area - 2.62e-4 | 49.9 | 30.5 | 0.0506 | 0.0506 | 0.0506