## Sheet1
Type | Analysis | Sample Name | Sample ID | Result | Date/Time
Unknown | NPOC/TN | Cleaning |  | NPOC:0.2428mg/L TN:0.04356mg/L | 2017-04-19 14:44
Standard | NPOC | Standards |  |  | 2017-04-19 16:52
Standard | TN | Untitled |  |  | 2017-04-19 17:59
Unknown | NPOC/TN | Blank |  | NPOC:0.4033mg/L TN:0.04621mg/L | 2017-04-19 18:35
Unknown | NPOC/TN | QC |  | NPOC:48.77mg/L TN:4.868mg/L | 2017-04-19 19:06
Unknown | NPOC/TN | Dig Check |  | NPOC:1.102mg/L TN:10.81mg/L | 2017-04-19 19:44
Unknown | NPOC/TN | Sample 1 | 2363 TR 9.8.2016 | NPOC:10.71mg/L TN:6.533mg/L | 2017-04-19 20:09
Unknown | NPOC/TN | Sample 2 | 2289 | NPOC:8.144mg/L TN:5.573mg/L | 2017-04-19 20:48
Unknown | NPOC/TN | Sample 3 | 10116 | NPOC:8.090mg/L TN:3.543mg/L | 2017-04-19 21:20
Unknown | NPOC/TN | Sample 4 | 10210 | NPOC:8.125mg/L TN:5.857mg/L | 2017-04-20 16:02
Unknown | NPOC/TN | Sample 5 | 38 | NPOC:10.34mg/L TN:6.975mg/L | 2017-04-20 16:26
Unknown | NPOC/TN | Sample 6 | 10175 | NPOC:8.312mg/L TN:1.471mg/L | 2017-04-20 17:00
Unknown | NPOC/TN | Sample 7 | 10058 | NPOC:11.18mg/L TN:2.426mg/L | 2017-04-20 17:38
Unknown | NPOC/TN | Sample 8 | 10055 | NPOC:7.423mg/L TN:4.909mg/L | 2017-04-20 18:16
Unknown | NPOC/TN | Sample 9 | 10151 | NPOC:6.889mg/L TN:4.962mg/L | 2017-04-20 18:48
Unknown | NPOC/TN | Sample 10 | 5012 | NPOC:14.23mg/L TN:5.337mg/L | 2017-04-20 19:13
Unknown | NPOC/TN | Blank |  | NPOC:0.2493mg/L TN:0.03151mg/L | 2017-04-20 19:48
Unknown | NPOC/TN | QC |  | NPOC:48.38mg/L TN:4.738mg/L | 2017-04-20 20:13
Unknown | NPOC/TN | Sample 11 | 2278 | NPOC:7.457mg/L TN:5.045mg/L | 2017-04-20 20:45
Unknown | NPOC/TN | Sample 12 | 2374 | NPOC:7.303mg/L TN:4.925mg/L | 2017-04-20 21:23
Unknown | NPOC/TN | Sample 13 | 2049 TR 11.9.2016 | NPOC:2.055mg/L TN:0.1608mg/L | 2017-04-20 22:00
Unknown | NPOC/TN | Sample 14 | 10014 | NPOC:0.9022mg/L TN:0.2104mg/L | 2017-04-20 22:37
Unknown | NPOC/TN | Sample 15 | 10082 | NPOC:0.7210mg/L TN:0.1692mg/L | 2017-04-20 23:13
Unknown | NPOC/TN | Sample 16 | 10236 TR 1.18.2017 | NPOC:6.934mg/L TN:6.084mg/L | 2017-04-20 23:41
Unknown | NPOC/TN | Sample 17 | 10038 | NPOC:7.429mg/L TN:5.536mg/L | 2017-04-21 00:06
Unknown | NPOC/TN | Sample 18 | 2029 | NPOC:7.004mg/L TN:5.162mg/L | 2017-04-21 00:38
Unknown | NPOC/TN | Sample19 | 10183 | NPOC:7.965mg/L TN:7.127mg/L | 2017-04-21 01:09
Unknown | NPOC/TN | Sample 20 | 20258 | NPOC:7.647mg/L TN:6.683mg/L | 2017-04-21 01:44
Unknown | NPOC/TN | Blank |  | NPOC:0.1333mg/L TN:0.02871mg/L | 2017-04-21 02:19
Unknown | NPOC/TN | QC |  | NPOC:47.86mg/L TN:4.551mg/L | 2017-04-21 02:48
Unknown | NPOC/TN | Sample 21 | 10157 | NPOC:8.528mg/L TN:5.376mg/L | 2017-04-21 03:26
Unknown | NPOC/TN | Sample 22 | 10091 TR 3.20.2017 | NPOC:7.816mg/L TN:4.653mg/L | 2017-04-21 03:58
Unknown | NPOC/TN | Sample 23 | 10110 | NPOC:6.791mg/L TN:4.183mg/L | 2017-04-21 04:36
Unknown | NPOC/TN | Sample 24 | 5 | NPOC:8.090mg/L TN:5.827mg/L | 2017-04-21 05:15
Unknown | NPOC/TN | Sample 25 | 10221 | NPOC:7.451mg/L TN:5.569mg/L | 2017-04-21 05:54
Unknown | NPOC/TN | Sample 26 | 10168 | NPOC:7.360mg/L TN:5.534mg/L | 2017-04-21 06:32
Unknown | NPOC/TN | Sample 27 | 380 | NPOC:7.363mg/L TN:4.550mg/L | 2017-04-21 07:11
Unknown | NPOC/TN | Blank |  | NPOC:0.1920mg/L TN:0.03219mg/L | 2017-04-21 09:37
Unknown | NPOC/TN | QC |  | NPOC:47.42mg/L TN:4.668mg/L | 2017-04-21 10:02
Unknown | NPOC/TN | Dig Check |  | NPOC:0.7968mg/L TN:10.24mg/L | 2017-04-22 01:51
Unknown | NPOC/TN | Cleaning |  | NPOC:0.1631mg/L TN:0.08909mg/L | 2017-04-22 03:01
Note: Samples 5011 and 2044 did not have enough sample for analysis so not included. #2049 was questionable but looks like data was good.