## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-07-17 | 12:06 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 23.1 | 0.695 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 76.3 | 46.2 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-07-17 | 12:07 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 9.81 | 0.307 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 75.9 | 47 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-07-17 | 12:08 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.51 | 0.0799 | Conc = 3.92e-4 * Area^2 + 0.0774 * Area + 3.39e-3 | 75.1 | 47 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 12:09 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.612 | 0.0194 | Conc = 3.82e-4 * Area^2 + 0.0776 * Area + 2.40e-3 | 76.7 | 47 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-07-17 | 12:10 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.01994 | mg N/L | 0.225 | 0.00729 | Conc = 3.84e-4 * Area^2 + 0.0776 * Area + 2.49e-3 | 80 | 51.5 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-07-17 | 12:12 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.011235 | mg N/L | 0.145 | 0.00487 | Conc = 3.39e-4 * Area^2 + 0.0787 * Area + 4.20e-5 | 69.7 | 48.7 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-07-17 | 12:13 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0052683 | mg N/L | 0.0763 | 0.00281 | Conc = 3.23e-4 * Area^2 + 0.0790 * Area - 5.81e-4 | 78.4 | 16.1 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 12:14 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0 | 0.0014 | mg N/L | 0.0409 | 0.00142 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 44.5 | 15.3 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 12:15 | instrument | OM_7-17-2015_12-04-40PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.03 |  | mg N/L | 12.4 | 0.384 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 75.9 | 46.2 | 1.03 | 1.03 | 1.03
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 12:16 | instrument | OM_7-17-2015_12-04-40PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.03 |  | mg N/L | 12.4 | 0.387 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 75.9 | 47.4 | 1.03 | 1.03 | 1.03
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-07-17 | 12:18 | instrument | OM_7-17-2015_12-04-40PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.03 |  | mg N/L | 12.3 | 0.385 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 76.7 | 47 | 1.03 | 1.03 | 1.03
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 12:22 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | -0.00823 | -0.0089615 | mg N/L | -0.083 | -0.00237 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 52 | 18.6 | -0.00823 | -0.00823 | -0.00823
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 12:23 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.0454 | 0.047011 | mg N/L | 0.588 | 0.0198 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 76.3 | 45.8 | 0.0454 | 0.0454 | 0.0454
Tres Rios 1726 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-07-17 | 12:27 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.191 |  | mg N/L | 2.39 | 0.0759 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 77.5 | 47 | 0.191 | 0.191 | 0.191
Tres Rios 1727 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-07-17 | 12:28 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.225 |  | mg N/L | 2.81 | 0.089 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 76.7 | 45.8 | 0.225 | 0.225 | 0.225
Tres Rios 1728 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-07-17 | 12:29 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.215 |  | mg N/L | 2.69 | 0.0843 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 75.1 | 47.8 | 0.215 | 0.215 | 0.215
Tres Rios 1729 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-07-17 | 12:31 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.374 |  | mg N/L | 4.63 | 0.144 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 76.7 | 46.2 | 0.374 | 0.374 | 0.374
Tres Rios 1730 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-07-17 | 12:32 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.26 |  | mg N/L | 3.24 | 0.104 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 75.5 | 46.2 | 0.26 | 0.26 | 0.26
Tres Rios 1731 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-07-17 | 12:33 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.227 |  | mg N/L | 2.84 | 0.0895 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 77.1 | 48.2 | 0.227 | 0.227 | 0.227
Tres Rios 1732 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-07-17 | 12:34 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | -0.000561 |  | mg N/L | 0.0131 | 0.00227 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 64.7 | 16.9 | -0.000561 | -0.000561 | -0.000561
Tres Rios 1733 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-07-17 | 12:35 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.00468 |  | mg N/L | 0.0788 | 0.00372 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 58.1 | 46.2 | 0.00468 | 0.00468 | 0.00468
Tres Rios 1734 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-07-17 | 12:36 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.0112 |  | mg N/L | 0.16 | 0.00526 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 66.8 | 47.4 | 0.0112 | 0.0112 | 0.0112
Tres Rios 1735 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-07-17 | 12:38 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.284 |  | mg N/L | 3.53 | 0.111 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 77.9 | 46.2 | 0.284 | 0.284 | 0.284
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 12:39 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | -0.00137 | -0.0017769 | mg N/L | 0.00292 | 0.0012 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 105 | 102 | -0.00137 | -0.00137 | -0.00137
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 12:40 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.048 | 0.04964 | mg N/L | 0.62 | 0.0187 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 81.2 | 40.4 | 0.048 | 0.048 | 0.048
Tres Rios 1736 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-07-17 | 12:44 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.223 |  | mg N/L | 2.78 | 0.0875 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 76.3 | 46.6 | 0.223 | 0.223 | 0.223
Tres Rios 1737 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-07-17 | 12:45 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.199 |  | mg N/L | 2.49 | 0.0793 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 75.9 | 47.4 | 0.199 | 0.199 | 0.199
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2015-07-17 | 12:49 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | -0.00284 | -0.003312 | mg N/L | -0.0154 | -0.00105 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 47.8 | 16.9 | -0.00284 | -0.00284 | -0.00284
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2015-07-17 | 12:50 | instrument | OM_7-17-2015_12-04-40PM.OMN |  | 1 | NItrate/Nitrite | 0.0466 | 0.04816 | mg N/L | 0.602 | 0.0191 | Conc = 2.89e-4 * Area^2 + 0.0798 * Area - 1.61e-3 | 79.6 | 41.6 | 0.0466 | 0.0466 | 0.0466