## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-07-25 | 13:18 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 200 | 0 | mg/L | 30.5 | 1.9 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.9 | 10.7 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-07-25 | 13:18 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 400 | 0 | ug P/L | 19.9 | 0.673 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47.8 | 12.8 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-07-25 | 13:19 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 100 | 0 | mg/L | 21.3 | 1.45 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.4 | 10.3 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-07-25 | 13:19 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 200 | 0 | ug P/L | 9.79 | 0.33 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47.8 | 13.2 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-07-25 | 13:21 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 50 | 0 | mg/L | 13.7 | 0.987 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.4 | 11.5 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-07-25 | 13:21 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 100 | 0 | ug P/L | 4.74 | 0.158 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 48.2 | 13.2 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 13:24 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 25 | 25 | mg/L | 8.2 | 0.603 | Conc = 4.35e-3 * Area^3 - 0.0328 * Area^2 + 3.69 * Area - 5.50 | 21.4 | 9.48 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 13:24 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 50 | 50 | ug P/L | 2.31 | 0.0767 | Conc = 6.16e-3 * Area^3 - 0.212 * Area^2 + 21.9 * Area + 0.474 | 47 | 13.6 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-07-25 | 13:27 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 10 | 9.9716 | mg/L | 3.51 | 0.264 | Conc = 3.08e-3 * Area^3 + 0.0401 * Area^2 + 2.44 * Area + 0.787 | 21 | 10.7 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-07-25 | 13:27 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 20 | 19.9454 | ug P/L | 0.846 | 0.0281 | Conc = 2.87e-3 * Area^3 - 0.107 * Area^2 + 21.0 * Area + 2.28 | 46.2 | 26 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-07-25 | 13:30 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 5 | 5.0566 | mg/L | 1.85 | 0.137 | Conc = 3.40e-3 * Area^3 + 0.0242 * Area^2 + 2.66 * Area + 0.0234 | 20.6 | 2.89 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-07-25 | 13:30 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 10 | 10.0612 | ug P/L | 0.383 | 0.0118 | Conc = 3.77e-3 * Area^3 - 0.134 * Area^2 + 21.2 * Area + 1.97 | 47 | 26 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-07-25 | 13:33 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 2.5 | 2.517 | mg/L | 0.993 | 0.0687 | Conc = 3.55e-3 * Area^3 + 0.0167 * Area^2 + 2.75 * Area - 0.217 | 21 | 13.2 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-07-25 | 13:33 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 5 | 5.1103 | ug P/L | 0.161 | 0.00443 | Conc = 5.07e-3 * Area^3 - 0.172 * Area^2 + 21.4 * Area + 1.67 | 47.4 | 28.9 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 13:34 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 0 | 0.01865 | mg/L | 0.101 | 0.00519 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 14 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 13:34 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 0 | -1.2512 | ug P/L | -0.243 | -0.00634 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 45.8 | 7.42 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-25 | 13:35 | instrument | OM_7-25-2016_01-17-05PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.5 |  | mg/L | 6.54 | 0.499 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21 | 10.7 | 19.5 | 19.5 | 19.5
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-25 | 13:35 | instrument | OM_7-25-2016_01-17-05PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 49.4 |  | ug P/L | 2.37 | 0.0803 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 48.2 | 13.6 | 49.4 | 49.4 | 49.4
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-25 | 13:36 | instrument | OM_7-25-2016_01-17-05PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.7 |  | mg/L | 6.58 | 0.498 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 11.5 | 19.7 | 19.7 | 19.7
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-25 | 13:36 | instrument | OM_7-25-2016_01-17-05PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 50.5 |  | ug P/L | 2.43 | 0.0826 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 48.2 | 26.8 | 50.5 | 50.5 | 50.5
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-25 | 13:37 | instrument | OM_7-25-2016_01-17-05PM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.5 |  | mg/L | 6.51 | 0.494 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21 | 7.84 | 19.5 | 19.5 | 19.5
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-25 | 13:37 | instrument | OM_7-25-2016_01-17-05PM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 50.6 |  | ug P/L | 2.43 | 0.0813 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.6 | 50.6 | 50.6 | 50.6
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-07-25 | 13:45 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 25.2 | 25.1676 | mg/L | 8.11 | 0.613 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 5.36 | 2520 | 25.2 | 2520
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-07-25 | 13:45 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 46.1 | 46.0858 | ug P/L | 2.21 | 0.0719 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 48.2 | 12.8 | 4610 | 46.1 | 4610
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 13:46 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | -0.566 | -0.56572 | mg/L | -0.11 | -0.00486 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 37.1 | 22.3 | -0.566 | -0.566 | -0.566
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 13:46 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | -1.63 | -1.6321 | ug P/L | -0.263 | -0.00542 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 45.8 | 3.3 | -1.63 | -1.63 | -1.63
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 13:48 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 25.3 | 25.2637 | mg/L | 8.14 | 0.614 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 6.19 | 101 | 25.3 | 101
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 13:48 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 47.9 | 47.9162 | ug P/L | 2.3 | 0.0757 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 14.4 | 192 | 47.9 | 192
Tres Rios 1798 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-07-25 | 13:55 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 39 |  | mg/L | 11.5 | 0.847 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 9.9 | 390 | 39 | 390
Tres Rios 1798 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-07-25 | 13:55 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 241 |  | ug P/L | 11.6 | 0.39 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 14.4 | 2410 | 241 | 2410
Tres Rios 1799 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-07-25 | 13:57 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 42.8 |  | mg/L | 12.3 | 0.906 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 10.3 | 428 | 42.8 | 428
Tres Rios 1799 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-07-25 | 13:57 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 227 |  | ug P/L | 11 | 0.368 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.6 | 2270 | 227 | 2270
Tres Rios 1800 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-07-25 | 14:00 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 45.7 |  | mg/L | 12.9 | 0.94 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 11.1 | 457 | 45.7 | 457
Tres Rios 1800 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-07-25 | 14:00 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 211 |  | ug P/L | 10.2 | 0.342 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.6 | 2110 | 211 | 2110
Tres Rios 1801 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-07-25 | 14:03 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 42.1 |  | mg/L | 12.1 | 0.894 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 12.4 | 421 | 42.1 | 421
Tres Rios 1801 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-07-25 | 14:03 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 226 |  | ug P/L | 10.9 | 0.368 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.2 | 2260 | 226 | 2260
Tres Rios 1802 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-07-25 | 14:06 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 26.8 |  | mg/L | 8.56 | 0.641 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 10.7 | 268 | 26.8 | 268
Tres Rios 1802 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-07-25 | 14:06 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 202 |  | ug P/L | 9.77 | 0.329 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.6 | 2020 | 202 | 2020
Tres Rios 1803 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-07-25 | 14:08 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 42.7 |  | mg/L | 12.3 | 0.909 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 12 | 427 | 42.7 | 427
Tres Rios 1803 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-07-25 | 14:08 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 220 |  | ug P/L | 10.6 | 0.359 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.4 | 14 | 2200 | 220 | 2200
Tres Rios 1804 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-07-25 | 14:11 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 39.1 |  | mg/L | 11.5 | 0.854 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 6.19 | 391 | 39.1 | 391
Tres Rios 1804 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-07-25 | 14:11 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 280 |  | ug P/L | 13.6 | 0.459 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 14 | 2800 | 280 | 2800
Tres Rios 1805 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-07-25 | 14:14 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 54.1 |  | mg/L | 14.5 | 1.06 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 6.6 | 541 | 54.1 | 541
Tres Rios 1805 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-07-25 | 14:14 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 114 |  | ug P/L | 5.53 | 0.184 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.2 | 1140 | 114 | 1140
Tres Rios 1806 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-07-25 | 14:17 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 54.9 |  | mg/L | 14.6 | 1.07 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 1.65 | 549 | 54.9 | 549
Tres Rios 1806 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-07-25 | 14:17 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 236 |  | ug P/L | 11.4 | 0.383 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.2 | 2360 | 236 | 2360
Tres Rios 1807 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-07-25 | 14:19 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 43.1 |  | mg/L | 12.3 | 0.911 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 4.54 | 431 | 43.1 | 431
Tres Rios 1807 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-07-25 | 14:19 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 227 |  | ug P/L | 11 | 0.37 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 14 | 2270 | 227 | 2270
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 14:20 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | -0.125 | -0.12526 | mg/L | 0.049 | 0.00527 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21 | 9.07 | -0.125 | -0.125 | -0.125
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 14:20 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | -2.97 | -2.9673 | ug P/L | -0.334 | -0.00594 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.4 | 2.06 | -2.97 | -2.97 | -2.97
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 14:23 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 24.9 | 24.8978 | mg/L | 8.04 | 0.611 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 6.19 | 99.6 | 24.9 | 99.6
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 14:23 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 50.1 | 50.1322 | ug P/L | 2.41 | 0.0793 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47 | 13.6 | 201 | 50.1 | 201
Tres Rios 1808 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-07-25 | 14:29 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 43.8 |  | mg/L | 12.5 | 0.943 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 22.3 | 12 | 438 | 43.8 | 438
Tres Rios 1808 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-07-25 | 14:29 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 178 |  | ug P/L | 8.61 | 0.289 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.8 | 13.6 | 1780 | 178 | 1780
Tres Rios 1809 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-07-25 | 14:32 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 44.8 |  | mg/L | 12.7 | 0.953 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.9 | 12.4 | 448 | 44.8 | 448
Tres Rios 1809 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-07-25 | 14:32 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 189 |  | ug P/L | 9.14 | 0.308 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 47.4 | 13.6 | 1890 | 189 | 1890
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 14:39 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 0.0369 | 0.036942 | mg/L | 0.107 | 0.00488 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21.4 | 11.1 | 0.0369 | 0.0369 | 0.0369
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2016-07-25 | 14:39 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | -2.62 | -2.6155 | ug P/L | -0.315 | -0.00479 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 33 | 2.89 | -2.62 | -2.62 | -2.62
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 14:42 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 1 | Chloride | 25 | 25.0092 | mg/L | 8.07 | 0.607 | Conc = 3.60e-3 * Area^3 + 0.0145 * Area^2 + 2.78 * Area - 0.261 | 21 | 12 | 100 | 25 | 100
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2016-07-25 | 14:42 | instrument | OM_7-25-2016_01-17-05PM.OMN |  | 2 | Phosphate | 49.7 | 49.6825 | ug P/L | 2.39 | 0.078 | Conc = - 9.76e-3 * Area^3 + 0.246 * Area^2 + 18.9 * Area + 3.31 | 48.2 | 13.6 | 199 | 49.7 | 199