## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-07-22 | 10:06 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 18.3 | 0.747 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 51.1 | 29.3 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-07-22 | 10:07 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 8.5 | 0.369 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 50.7 | 31.3 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-22 | 10:08 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.33 | 0.111 | Conc = 1.55e-3 * Area^2 + 0.0805 * Area + 4.38e-3 | 50.3 | 38.8 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:09 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.638 | 0.0266 | Conc = 1.45e-3 * Area^2 + 0.0826 * Area - 2.81e-3 | 49.9 | 32.2 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-07-22 | 10:11 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.019592 | mg N/L | 0.263 | 0.011 | Conc = 1.46e-3 * Area^2 + 0.0823 * Area - 1.99e-3 | 50.3 | 29.3 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-07-22 | 10:12 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.0097981 | mg N/L | 0.141 | 0.00597 | Conc = 1.47e-3 * Area^2 + 0.0821 * Area - 1.75e-3 | 50.3 | 30.5 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-07-22 | 10:13 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0054236 | mg N/L | 0.0969 | 0.00358 | Conc = 1.44e-3 * Area^2 + 0.0827 * Area - 2.51e-3 | 49.1 | 31.8 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:14 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0 | 0.0002531 | mg N/L | 0.038 | 0.000876 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 43.7 | 16.1 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-22 | 10:15 | instrument | OM_7-22-2016_10-04-54AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 10.7 | 0.458 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 23.9 | 1.05 | 1.05 | 1.05
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-22 | 10:17 | instrument | OM_7-22-2016_10-04-54AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 10.7 | 0.458 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 30.9 | 1.05 | 1.05 | 1.05
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-22 | 10:18 | instrument | OM_7-22-2016_10-04-54AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 10.7 | 0.458 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 30.5 | 1.05 | 1.05 | 1.05
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:22 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.00482 | -0.0050651 | mg N/L | -0.0248 | -0.00119 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 83.7 | 59.4 | -0.00482 | -0.00482 | -0.00482
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:23 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0463 | 0.046968 | mg N/L | 0.585 | 0.026 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 33.8 | 0.0463 | 0.0463 | 0.0463
Tres Rios 1709 7.14.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-07-22 | 10:27 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.902 |  | mg N/L | 9.39 | 2.13 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 53.2 | 36.7 | 0.902 | 0.902 | 0.902
Tres Rios 1798 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-07-22 | 10:28 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.286 |  | mg N/L | 3.29 | 0.143 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 28 | 0.286 | 0.286 | 0.286
Tres Rios 1799 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-07-22 | 10:30 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.25 |  | mg N/L | 2.9 | 0.126 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 32.2 | 0.25 | 0.25 | 0.25
Tres Rios 1800 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-07-22 | 10:31 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.286 |  | mg N/L | 3.29 | 0.144 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 30.1 | 0.286 | 0.286 | 0.286
Tres Rios 1801 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-07-22 | 10:32 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.239 |  | mg N/L | 2.78 | 0.121 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 29.3 | 0.239 | 0.239 | 0.239
Tres Rios 1802 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-07-22 | 10:33 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.252 |  | mg N/L | 2.93 | 0.127 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 28.9 | 0.252 | 0.252 | 0.252
Tres Rios 1803 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-07-22 | 10:34 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.238 |  | mg N/L | 2.77 | 0.121 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 30.1 | 0.238 | 0.238 | 0.238
Tres Rios 1804 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-07-22 | 10:35 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0366 |  | mg N/L | 0.471 | 0.0193 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.5 | 30.5 | 0.0366 | 0.0366 | 0.0366
Tres Rios 1805 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-07-22 | 10:37 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.00354 |  | mg N/L | 0.076 | 0.00269 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.4 | 31.8 | 0.00354 | 0.00354 | 0.00354
Tres Rios 1806 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-07-22 | 10:38 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0138 |  | mg N/L | 0.199 | 0.00832 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.3 | 32.6 | 0.0138 | 0.0138 | 0.0138
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:39 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.0043 | -0.0045349 | mg N/L | -0.0185 | -0.000509 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 65.6 | 19.4 | -0.0043 | -0.0043 | -0.0043
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:40 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0481 | 0.048818 | mg N/L | 0.607 | 0.0298 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.5 | 28 | 0.0481 | 0.0481 | 0.0481
Tres Rios 1807 1 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-07-22 | 10:44 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.267 |  | mg N/L | 3.09 | 0.135 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 29.7 | 0.267 | 0.267 | 0.267
Tres Rios 1807 2 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-07-22 | 10:45 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.234 |  | mg N/L | 2.73 | 0.119 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 30.9 | 0.234 | 0.234 | 0.234
Tres Rios 1709 7.14.16 | Unknown | 1 | 2 | 1 | 1 | 1 |  |  |  | 2016-07-22 | 11:27 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.255 |  | mg N/L | 2.96 | 0.129 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 29.3 | 0.255 | 0.255 | 0.255
Blank | Check Standard | 1 | 5 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 11:33 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.00479 | -0.0050306 | mg N/L | -0.0243 | -0.000869 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 78.4 | 16.1 | -0.00479 | -0.00479 | -0.00479
CCV | Check Standard | 1 | 5 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 11:34 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0481 | 0.048829 | mg N/L | 0.607 | 0.0256 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.5 | 30.9 | 0.0481 | 0.0481 | 0.0481
Auto-sampler missed sample tube use reanalyzed values at the end of analysis in green.