## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-07-22 | 10:06 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 18.3 | 0.747 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 51.1 | 29.3 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-07-22 | 10:07 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 8.5 | 0.369 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 50.7 | 31.3 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-07-22 | 10:08 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.33 | 0.111 | Conc = 1.55e-3 * Area^2 + 0.0805 * Area + 4.38e-3 | 50.3 | 38.8 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:09 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.638 | 0.0266 | Conc = 1.45e-3 * Area^2 + 0.0826 * Area - 2.81e-3 | 49.9 | 32.2 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-07-22 | 10:11 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.019592 | mg N/L | 0.263 | 0.011 | Conc = 1.46e-3 * Area^2 + 0.0823 * Area - 1.99e-3 | 50.3 | 29.3 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-07-22 | 10:12 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.0097981 | mg N/L | 0.141 | 0.00597 | Conc = 1.47e-3 * Area^2 + 0.0821 * Area - 1.75e-3 | 50.3 | 30.5 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-07-22 | 10:13 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0054236 | mg N/L | 0.0969 | 0.00358 | Conc = 1.44e-3 * Area^2 + 0.0827 * Area - 2.51e-3 | 49.1 | 31.8 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:14 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0 | 0.0002531 | mg N/L | 0.038 | 0.000876 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 43.7 | 16.1 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-22 | 10:15 | instrument | OM_7-22-2016_10-04-54AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 10.7 | 0.458 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 23.9 | 1.05 | 1.05 | 1.05
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-22 | 10:17 | instrument | OM_7-22-2016_10-04-54AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 10.7 | 0.458 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 30.9 | 1.05 | 1.05 | 1.05
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-07-22 | 10:18 | instrument | OM_7-22-2016_10-04-54AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 10.7 | 0.458 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 30.5 | 1.05 | 1.05 | 1.05
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:22 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.00482 | -0.0050651 | mg N/L | -0.0248 | -0.00119 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 83.7 | 59.4 | -0.00482 | -0.00482 | -0.00482
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:23 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0463 | 0.046968 | mg N/L | 0.585 | 0.026 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 33.8 | 0.0463 | 0.0463 | 0.0463
Tres Rios 1709 7.14.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-07-22 | 10:27 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.902 |  | mg N/L | 9.39 | 2.13 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 53.2 | 36.7 | 0.902 | 0.902 | 0.902
Tres Rios 1798 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-07-22 | 10:28 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.286 |  | mg N/L | 3.29 | 0.143 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 28 | 0.286 | 0.286 | 0.286
Tres Rios 1799 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-07-22 | 10:30 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.25 |  | mg N/L | 2.9 | 0.126 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 32.2 | 0.25 | 0.25 | 0.25
Tres Rios 1800 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-07-22 | 10:31 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.286 |  | mg N/L | 3.29 | 0.144 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 30.1 | 0.286 | 0.286 | 0.286
Tres Rios 1801 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-07-22 | 10:32 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.239 |  | mg N/L | 2.78 | 0.121 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 29.3 | 0.239 | 0.239 | 0.239
Tres Rios 1802 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-07-22 | 10:33 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.252 |  | mg N/L | 2.93 | 0.127 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 28.9 | 0.252 | 0.252 | 0.252
Tres Rios 1803 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-07-22 | 10:34 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.238 |  | mg N/L | 2.77 | 0.121 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 30.1 | 0.238 | 0.238 | 0.238
Tres Rios 1804 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-07-22 | 10:35 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0366 |  | mg N/L | 0.471 | 0.0193 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.5 | 30.5 | 0.0366 | 0.0366 | 0.0366
Tres Rios 1805 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-07-22 | 10:37 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.00354 |  | mg N/L | 0.076 | 0.00269 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.4 | 31.8 | 0.00354 | 0.00354 | 0.00354
Tres Rios 1806 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-07-22 | 10:38 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0138 |  | mg N/L | 0.199 | 0.00832 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.3 | 32.6 | 0.0138 | 0.0138 | 0.0138
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:39 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.0043 | -0.0045349 | mg N/L | -0.0185 | -0.000509 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 65.6 | 19.4 | -0.0043 | -0.0043 | -0.0043
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:40 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0481 | 0.048818 | mg N/L | 0.607 | 0.0298 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.5 | 28 | 0.0481 | 0.0481 | 0.0481
Tres Rios 1807 1 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-07-22 | 10:44 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.267 |  | mg N/L | 3.09 | 0.135 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 29.7 | 0.267 | 0.267 | 0.267
Tres Rios 1807 2 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-07-22 | 10:45 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.234 |  | mg N/L | 2.73 | 0.119 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 30.9 | 0.234 | 0.234 | 0.234
SW Cent S 15_1 1 7.19.16 | Unknown | 1 | 1 | 13 | 1 | 1 |  |  |  | 2016-07-22 | 10:47 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.00575 |  | mg N/L | 0.103 | 0.00339 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 48.7 | 21.9 | 0.00575 | 0.00575 | 0.00575
SW Cent S 15_1 2 | Unknown | 1 | 1 | 14 | 1 | 1 |  |  |  | 2016-07-22 | 10:48 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0259 |  | mg N/L | 0.344 | 0.0138 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 44.5 | 25.6 | 0.0259 | 0.0259 | 0.0259
SW Cent S 15_1 3 | Unknown | 1 | 1 | 15 | 1 | 1 |  |  |  | 2016-07-22 | 10:49 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0256 |  | mg N/L | 0.34 | 0.014 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.8 | 28.9 | 0.0256 | 0.0256 | 0.0256
SW Cent S 15_1 4 | Unknown | 1 | 1 | 16 | 1 | 1 |  |  |  | 2016-07-22 | 10:50 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0298 |  | mg N/L | 0.39 | 0.0163 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 46.2 | 30.5 | 0.0298 | 0.0298 | 0.0298
SW Cent S 15_1 5 | Unknown | 1 | 1 | 17 | 1 | 1 |  |  |  | 2016-07-22 | 10:51 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0254 |  | mg N/L | 0.337 | 0.0139 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.8 | 30.5 | 0.0254 | 0.0254 | 0.0254
SW Cent S 15_1 6 | Unknown | 1 | 1 | 18 | 1 | 1 |  |  |  | 2016-07-22 | 10:52 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0195 |  | mg N/L | 0.267 | 0.011 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 44.5 | 20.2 | 0.0195 | 0.0195 | 0.0195
SW Cent S 15_1 7 | Unknown | 1 | 1 | 19 | 1 | 1 |  |  |  | 2016-07-22 | 10:54 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0203 |  | mg N/L | 0.276 | 0.0111 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 44.9 | 30.9 | 0.0203 | 0.0203 | 0.0203
SW Cent S 15_1 8 | Unknown | 1 | 1 | 20 | 1 | 1 |  |  |  | 2016-07-22 | 10:55 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0197 |  | mg N/L | 0.269 | 0.0106 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.8 | 30.5 | 0.0197 | 0.0197 | 0.0197
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 10:56 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.000296 | 0.00015897 | mg N/L | 0.0369 | 0.00107 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 41.6 | 30.9 | 0.000296 | 0.000296 | 0.000296
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 10:57 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.048 | 0.048661 | mg N/L | 0.605 | 0.0263 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 50.7 | 28.9 | 0.048 | 0.048 | 0.048
SW Cent S 15_1 9 | Unknown | 1 | 1 | 21 | 1 | 1 |  |  |  | 2016-07-22 | 11:01 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.6 |  | mg N/L | 6.54 | 2.18 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 52 | 37.1 | 0.6 | 0.6 | 0.6
SW Cent S 15_1 10 | Unknown | 1 | 1 | 22 | 1 | 1 |  |  |  | 2016-07-22 | 11:03 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.718 |  | mg N/L | 7.67 | 1.95 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 52 | 37.1 | 0.718 | 0.718 | 0.718
SW Cent S 15_1 11 | Unknown | 1 | 1 | 23 | 1 | 1 |  |  |  | 2016-07-22 | 11:04 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0189 |  | mg N/L | 0.26 | 0.0103 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 48.2 | 31.3 | 0.0189 | 0.0189 | 0.0189
SW Cent S 15_1 12 | Unknown | 1 | 1 | 24 | 1 | 1 |  |  |  | 2016-07-22 | 11:05 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0189 |  | mg N/L | 0.26 | 0.00982 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.8 | 16.5 | 0.0189 | 0.0189 | 0.0189
SW Cent S 15_1 13 | Unknown | 1 | 1 | 25 | 1 | 1 |  |  |  | 2016-07-22 | 11:06 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0159 |  | mg N/L | 0.224 | 0.009 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 47 | 33 | 0.0159 | 0.0159 | 0.0159
SW Cent S 15_1 14 | Unknown | 1 | 1 | 26 | 1 | 1 |  |  |  | 2016-07-22 | 11:07 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0171 |  | mg N/L | 0.239 | 0.00947 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.4 | 32.6 | 0.0171 | 0.0171 | 0.0171
SW Cent S 15_1 15 | Unknown | 1 | 1 | 27 | 1 | 1 |  |  |  | 2016-07-22 | 11:08 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0181 |  | mg N/L | 0.25 | 0.00982 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 47.4 | 21 | 0.0181 | 0.0181 | 0.0181
SW Cent S 15_1 16 | Unknown | 1 | 1 | 28 | 1 | 1 |  |  |  | 2016-07-22 | 11:10 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.018 |  | mg N/L | 0.249 | 0.00971 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.8 | 31.8 | 0.018 | 0.018 | 0.018
SW Cent S 15_1 17 | Unknown | 1 | 1 | 29 | 1 | 1 |  |  |  | 2016-07-22 | 11:11 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0175 |  | mg N/L | 0.243 | 0.00955 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.4 | 20.2 | 0.0175 | 0.0175 | 0.0175
SW Cent S 15_1 18 | Unknown | 1 | 1 | 30 | 1 | 1 |  |  |  | 2016-07-22 | 11:12 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0177 |  | mg N/L | 0.246 | 0.00939 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 46.2 | 28.9 | 0.0177 | 0.0177 | 0.0177
Blank | Check Standard | 1 | 4 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 11:13 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.000139 | -0.00028514 | mg N/L | 0.0317 | 0.000739 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 42.5 | 29.3 | -0.000139 | -0.000139 | -0.000139
CCV | Check Standard | 1 | 4 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 11:14 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0462 | 0.046903 | mg N/L | 0.585 | 0.0256 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 33.4 | 0.0462 | 0.0462 | 0.0462
SW Cent S 15_1 19 | Unknown | 1 | 1 | 31 | 1 | 1 |  |  |  | 2016-07-22 | 11:18 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0212 |  | mg N/L | 0.287 | 0.0114 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 44.1 | 28.9 | 0.0212 | 0.0212 | 0.0212
SW Cent S 15_1 20 | Unknown | 1 | 1 | 32 | 1 | 1 |  |  |  | 2016-07-22 | 11:20 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0211 |  | mg N/L | 0.286 | 0.0112 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 46.2 | 15.7 | 0.0211 | 0.0211 | 0.0211
SW Cent S 15_1 21 | Unknown | 1 | 1 | 33 | 1 | 1 |  |  |  | 2016-07-22 | 11:21 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0207 |  | mg N/L | 0.281 | 0.0112 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 44.1 | 30.5 | 0.0207 | 0.0207 | 0.0207
SW Cent S 15_1 22 | Unknown | 1 | 1 | 34 | 1 | 1 |  |  |  | 2016-07-22 | 11:22 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0221 |  | mg N/L | 0.298 | 0.0135 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 47.4 | 38.4 | 0.0221 | 0.0221 | 0.0221
SW Cent S 15_1 23 | Unknown | 1 | 1 | 35 | 1 | 1 |  |  |  | 2016-07-22 | 11:23 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0188 |  | mg N/L | 0.259 | 0.0101 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.8 | 32.2 | 0.0188 | 0.0188 | 0.0188
SW Cent S 15_1 24 | Unknown | 1 | 1 | 36 | 1 | 1 |  |  |  | 2016-07-22 | 11:24 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0184 |  | mg N/L | 0.254 | 0.00982 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 47.4 | 32.2 | 0.0184 | 0.0184 | 0.0184
SW Cent S 15_1 BLK | Unknown | 1 | 1 | 37 | 1 | 1 |  |  |  | 2016-07-22 | 11:26 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.000894 |  | mg N/L | 0.0226 | 0.000632 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 19.8 | 14.8 | -0.000894 | -0.000894 | -0.000894
Tres Rios 1709 7.14.16 | Unknown | 1 | 2 | 1 | 1 | 1 |  |  |  | 2016-07-22 | 11:27 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.255 |  | mg N/L | 2.96 | 0.129 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.1 | 29.3 | 0.255 | 0.255 | 0.255
SW Cent S 15_1 9 | Unknown | 1 | 2 | 21 | 1 | 1 |  |  |  | 2016-07-22 | 11:28 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0156 |  | mg N/L | 0.221 | 0.00869 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 45.4 | 29.3 | 0.0156 | 0.0156 | 0.0156
SW Cent S 15_1 10 | Unknown | 1 | 2 | 22 | 1 | 1 |  |  |  | 2016-07-22 | 11:29 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.443 |  | mg N/L | 4.95 | 1.51 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 54 | 37.1 | 0.443 | 0.443 | 0.443
Blank | Check Standard | 1 | 5 | S8 | 1 | 1 |  |  |  | 2016-07-22 | 11:33 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | -0.00479 | -0.0050306 | mg N/L | -0.0243 | -0.000869 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 78.4 | 16.1 | -0.00479 | -0.00479 | -0.00479
CCV | Check Standard | 1 | 5 | S4 | 1 | 1 |  |  |  | 2016-07-22 | 11:34 | instrument | OM_7-22-2016_10-04-54AM.OMN |  | 1 | NItrate/Nitrite | 0.0481 | 0.048829 | mg N/L | 0.607 | 0.0256 | Conc = 1.43e-3 * Area^2 + 0.0829 * Area - 2.77e-3 | 51.5 | 30.9 | 0.0481 | 0.0481 | 0.0481