## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-04-06 | 11:20 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 200 | 0 | mg/L | 50.8 | 2.16 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 32.2 | 16.5 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-04-06 | 11:20 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 400 | 0 | ug P/L | 21.7 | 0.765 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47 | 23.9 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-04-06 | 11:21 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 100 | 0 | mg/L | 36.2 | 1.7 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 31.3 | 16.1 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-04-06 | 11:21 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 200 | 0 | ug P/L | 11.1 | 0.379 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47.4 | 19 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-04-06 | 11:24 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 50 | 0 | mg/L | 22.6 | 1.13 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 31.3 | 16.9 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-04-06 | 11:24 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 100 | 0 | ug P/L | 5.44 | 0.184 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47.4 | 19 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 11:27 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 25 | 25 | mg/L | 12.7 | 0.674 | Conc = 1.65e-3 * Area^3 - 0.0686 * Area^2 + 3.37 * Area - 10.1 | 30.5 | 13.2 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 11:27 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 50 | 50 | ug P/L | 2.75 | 0.0921 | Conc = 9.00e-3 * Area^3 - 0.275 * Area^2 + 20.4 * Area - 4.26 | 47 | 18.6 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-04-06 | 11:29 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 10 | 9.9462 | mg/L | 5.24 | 0.276 | Conc = 1.25e-3 * Area^3 - 0.0306 * Area^2 + 2.30 * Area - 1.44 | 30.1 | 16.9 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-04-06 | 11:29 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 20 | 19.8656 | ug P/L | 1.05 | 0.035 | Conc = 2.49e-3 * Area^3 - 0.0443 * Area^2 + 18.2 * Area + 0.844 | 47.4 | 19.8 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-04-06 | 11:33 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 5 | 4.9258 | mg/L | 2.64 | 0.136 | Conc = 1.17e-3 * Area^3 - 0.0240 * Area^2 + 2.15 * Area - 0.592 | 29.7 | 14.4 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-04-06 | 11:33 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 10 | 10.0877 | ug P/L | 0.526 | 0.0165 | Conc = 3.44e-3 * Area^3 - 0.0761 * Area^2 + 18.5 * Area + 0.379 | 46.2 | 24.7 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-04-06 | 11:36 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 2.5 | 2.6191 | mg/L | 1.43 | 0.0677 | Conc = 1.15e-3 * Area^3 - 0.0230 * Area^2 + 2.13 * Area - 0.506 | 30.1 | 14.8 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-04-06 | 11:36 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 5 | 5.6122 | ug P/L | 0.352 | 0.00815 | Conc = 8.01e-3 * Area^3 - 0.225 * Area^2 + 19.7 * Area - 1.28 | 46.6 | 26.8 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 11:37 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 0 | -0.12187 | mg/L | 0.0642 | 0.00565 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 3.3 | 0 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 11:37 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 0 | -0.47554 | ug P/L | 0.00707 | 0.00197 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 114 | 19.8 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 11:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 0.356 |  | mg/L | 0.299 | 0.0118 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 34.2 | 17.3 | 0.356 | 0.356 | 0.356
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 11:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 0.0686 |  | ug P/L | 0.0359 | 0.0017 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 131 | 107 | 0.0686 | 0.0686 | 0.0686
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 11:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 0.281 |  | mg/L | 0.262 | 0.0124 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 19 | 0.281 | 0.281 | 0.281
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 11:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | -1.37 |  | ug P/L | -0.0401 | -0.0031 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 43.7 | 21.9 | -1.37 | -1.37 | -1.37
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 11:39 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 0.271 |  | mg/L | 0.257 | 0.0126 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 0.825 | 0.271 | 0.271 | 0.271
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 11:39 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | -2.54 |  | ug P/L | -0.102 | -0.00303 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 49.5 | 18.6 | -2.54 | -2.54 | -2.54
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-04-06 | 11:48 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 24.9 | 24.9178 | mg/L | 12.7 | 0.683 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 15.7 | 2490 | 24.9 | 2490
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-04-06 | 11:48 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 49.5 | 49.5297 | ug P/L | 2.69 | 0.0873 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 19 | 4950 | 49.5 | 4950
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 11:49 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | -0.61 | -0.60968 | mg/L | -0.175 | -0.00837 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 17.7 | 3.71 | -0.61 | -0.61 | -0.61
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 11:49 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | -2.28 | -2.2846 | ug P/L | -0.0887 | -0.00267 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 49.9 | 21.4 | -2.28 | -2.28 | -2.28
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 11:52 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 24.4 | 24.4031 | mg/L | 12.4 | 0.671 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 13.6 | 97.6 | 24.4 | 97.6
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 11:52 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 49.3 | 49.2581 | ug P/L | 2.68 | 0.0906 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 19 | 197 | 49.3 | 197
Tres Rios 1774 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-04-06 | 11:58 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 25 |  | mg/L | 12.7 | 0.702 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 30.1 | 13.6 | 250 | 25 | 250
Tres Rios 1774 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-04-06 | 11:58 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 251 |  | ug P/L | 13.9 | 0.479 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47 | 18.6 | 2510 | 251 | 2510
Tres Rios 1775 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-04-06 | 12:01 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 22.9 |  | mg/L | 11.7 | 0.766 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 28.9 | 16.5 | 229 | 22.9 | 229
Tres Rios 1775 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-04-06 | 12:01 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 301 |  | ug P/L | 16.6 | 0.569 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 18.6 | 3010 | 301 | 3010
Tres Rios 1776 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-04-06 | 12:04 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 23.6 |  | mg/L | 12 | 0.672 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 16.5 | 236 | 23.6 | 236
Tres Rios 1776 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-04-06 | 12:04 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 301 |  | ug P/L | 16.5 | 0.574 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 46.6 | 18.6 | 3010 | 301 | 3010
Tres Rios 1777 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-04-06 | 12:07 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 23.4 |  | mg/L | 12 | 0.657 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 10.7 | 234 | 23.4 | 234
Tres Rios 1777 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-04-06 | 12:07 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 241 |  | ug P/L | 13.3 | 0.46 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 18.6 | 2410 | 241 | 2410
Tres Rios 1778 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-04-06 | 12:09 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 24.8 |  | mg/L | 12.6 | 0.689 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 13.6 | 248 | 24.8 | 248
Tres Rios 1778 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-04-06 | 12:09 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 217 |  | ug P/L | 12 | 0.412 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 46.6 | 19 | 2170 | 217 | 2170
Tres Rios 1779 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-04-06 | 12:12 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 24.5 |  | mg/L | 12.5 | 0.678 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 16.5 | 245 | 24.5 | 245
Tres Rios 1779 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-04-06 | 12:12 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 277 |  | ug P/L | 15.3 | 0.527 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 18.6 | 2770 | 277 | 2770
Tres Rios 1780 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-04-06 | 12:15 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 39.6 |  | mg/L | 19.1 | 1.03 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 15.7 | 396 | 39.6 | 396
Tres Rios 1780 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-04-06 | 12:15 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 253 |  | ug P/L | 14 | 0.479 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 18.6 | 2530 | 253 | 2530
Tres Rios 1781 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-04-06 | 12:18 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 27 |  | mg/L | 13.6 | 0.751 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 28.5 | 16.5 | 270 | 27 | 270
Tres Rios 1781 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-04-06 | 12:18 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 232 |  | ug P/L | 12.8 | 0.448 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 44.9 | 18.6 | 2320 | 232 | 2320
Tres Rios 1782 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-04-06 | 12:20 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 35.7 |  | mg/L | 17.5 | 0.943 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 16.5 | 357 | 35.7 | 357
Tres Rios 1782 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-04-06 | 12:20 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 495 |  | ug P/L | 26.2 | 0.946 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 46.2 | 19 | 4950 | 495 | 4950
Tres Rios 1783 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-04-06 | 12:23 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 27.6 |  | mg/L | 13.9 | 0.779 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 10.3 | 276 | 27.6 | 276
Tres Rios 1783 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-04-06 | 12:23 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 178 |  | ug P/L | 9.84 | 0.326 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47 | 18.6 | 1780 | 178 | 1780
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 12:24 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | -0.0627 | -0.062715 | mg/L | 0.0933 | 0.00846 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 28.9 | 15.7 | -0.0627 | -0.0627 | -0.0627
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 12:24 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | -2.31 | -2.3121 | ug P/L | -0.0901 | -0.00229 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 49.1 | 19 | -2.31 | -2.31 | -2.31
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 12:27 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 23.5 | 23.5348 | mg/L | 12 | 0.679 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 14 | 94.1 | 23.5 | 94.1
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 12:27 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 51.6 | 51.5564 | ug P/L | 2.81 | 0.0943 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 18.6 | 206 | 51.6 | 206
Tres Rios 1784 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-04-06 | 12:33 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 23.8 |  | mg/L | 12.2 | 0.676 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 28.9 | 16.1 | 238 | 23.8 | 238
Tres Rios 1784 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-04-06 | 12:33 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 342 |  | ug P/L | 18.7 | 0.641 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47 | 18.6 | 3420 | 342 | 3420
Tres Rios 1785 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-04-06 | 12:36 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 1 | Chloride | 27.7 |  | mg/L | 14 | 0.766 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 14.8 | 277 | 27.7 | 277
Tres Rios 1785 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-04-06 | 12:36 | instrument | OM_4-6-2016_11-19-24AM.OMN |  | 2 | Phosphate | 251 |  | ug P/L | 13.9 | 0.481 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47 | 19 | 2510 | 251 | 2510
Ext Source QC | Method Detection Limit | 1 | 2 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 12:37 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.5 |  | mg/L | 10 | 0.559 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 28.5 | 16.5 | 19.5 | 19.5 | 19.5
Ext Source QC | Method Detection Limit | 1 | 2 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 12:37 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 19.8 |  | ug P/L | 1.09 | 0.0792 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47 | 19.8 | 19.8 | 19.8 | 19.8
Ext Source QC | Method Detection Limit | 2 | 2 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 12:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.5 |  | mg/L | 10 | 0.569 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 13.6 | 19.5 | 19.5 | 19.5
Ext Source QC | Method Detection Limit | 2 | 2 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 12:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 18.9 |  | ug P/L | 1.04 | 0.0785 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47 | 20.6 | 18.9 | 18.9 | 18.9
Ext Source QC | Method Detection Limit | 3 | 2 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 12:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.4 |  | mg/L | 10 | 0.566 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 15.7 | 19.4 | 19.4 | 19.4
Ext Source QC | Method Detection Limit | 3 | 2 | S16 | 1 | 1 |  |  |  | 2016-04-06 | 12:38 | instrument | OM_4-6-2016_11-19-24AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 45.1 |  | ug P/L | 2.45 | 0.0841 | Conc = 4.51e-3 * Area^3 - 0.116 * Area^2 + 18.9 * Area - 0.609 | 47.4 | 18.6 | 45.1 | 45.1 | 45.1
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 12:57 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 1 | Chloride | -1.13 | -1.1339 | mg/L | -0.43 | -0.0221 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 80.4 | 2.89 | -1.13 | -1.13 | -1.13
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 12:57 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 2 | Phosphate | -0.86 | -0.85968 | ug P/L | -0.0953 | -0.00233 | Conc = - 4.24e-3 * Area^3 + 0.124 * Area^2 + 17.4 * Area + 0.799 | 48.7 | 19.8 | -0.86 | -0.86 | -0.86
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 13:00 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 1 | Chloride | 24.6 | 24.5808 | mg/L | 12.5 | 0.675 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.3 | 13.2 | 98.3 | 24.6 | 98.3
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 13:00 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 2 | Phosphate | 48.5 | 48.4767 | ug P/L | 2.69 | 0.0907 | Conc = - 4.24e-3 * Area^3 + 0.124 * Area^2 + 17.4 * Area + 0.799 | 46.6 | 19.8 | 194 | 48.5 | 194
Tres Rios 1782 | Unknown | 1 | 2 | 9 | 1 | 100 |  |  |  | 2016-04-06 | 13:13 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 1 | Chloride | 4.18 |  | mg/L | 2.21 | 0.122 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 28.5 | 16.5 | 418 | 4.18 | 418
Tres Rios 1782 | Unknown | 1 | 2 | 9 | 1 | 100 |  |  |  | 2016-04-06 | 13:13 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 2 | Phosphate | 36.6 |  | ug P/L | 2.03 | 0.0688 | Conc = - 4.24e-3 * Area^3 + 0.124 * Area^2 + 17.4 * Area + 0.799 | 47.8 | 24.7 | 3660 | 36.6 | 3660
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 13:17 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 1 | Chloride | -0.515 | -0.51514 | mg/L | -0.129 | -0.00898 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 19 | 1.65 | -0.515 | -0.515 | -0.515
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-04-06 | 13:17 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 2 | Phosphate | -0.672 | -0.67223 | ug P/L | -0.0846 | -0.00244 | Conc = - 4.24e-3 * Area^3 + 0.124 * Area^2 + 17.4 * Area + 0.799 | 47.4 | 21.9 | -0.672 | -0.672 | -0.672
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 13:20 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 1 | Chloride | 24.7 | 24.7259 | mg/L | 12.6 | 0.687 | Conc = 1.09e-3 * Area^3 - 0.0181 * Area^2 + 2.04 * Area - 0.253 | 29.7 | 14.4 | 98.9 | 24.7 | 98.9
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-04-06 | 13:20 | instrument | OM_4-6-2016_12-56-29PM.OMN |  | 2 | Phosphate | 48.2 | 48.151 | ug P/L | 2.67 | 0.0897 | Conc = - 4.24e-3 * Area^3 + 0.124 * Area^2 + 17.4 * Area + 0.799 | 47 | 19.8 | 193 | 48.2 | 193