## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-04-05 | 12:24 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 9.19 | 0.424 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 47 | 29.7 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2016-04-05 | 12:25 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 3.94 | 0.185 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 46.6 | 30.1 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-04-05 | 12:26 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 1.02 | 0.0474 | Conc = 2.79e-3 * Area^2 + 0.192 * Area + 2.50e-3 | 46.6 | 30.5 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 12:27 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.254 | 0.0115 | Conc = 2.71e-3 * Area^2 + 0.192 * Area + 1.14e-3 | 47 | 31.3 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2016-04-05 | 12:28 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.021564 | mg N/L | 0.14 | 0.00651 | Conc = 2.14e-3 * Area^2 + 0.198 * Area - 5.64e-3 | 46.2 | 31.8 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2016-04-05 | 12:30 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.0094541 | mg N/L | 0.0765 | 0.00299 | Conc = 2.18e-3 * Area^2 + 0.198 * Area - 5.31e-3 | 47 | 27.6 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2016-04-05 | 12:31 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0050192 | mg N/L | 0.0551 | 0.00254 | Conc = 2.13e-3 * Area^2 + 0.198 * Area - 5.67e-3 | 49.1 | 28.5 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 12:32 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0014981 | mg N/L | 0.0166 | 0.000716 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 52.4 | 31.3 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 12:33 | instrument | OM_4-5-2016_12-22-45PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.996 |  | mg N/L | 4.83 | 0.226 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 30.1 | 0.996 | 0.996 | 0.996
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 12:34 | instrument | OM_4-5-2016_12-22-45PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.993 |  | mg N/L | 4.81 | 0.226 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 29.3 | 0.993 | 0.993 | 0.993
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-04-05 | 12:36 | instrument | OM_4-5-2016_12-22-45PM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.992 |  | mg N/L | 4.81 | 0.226 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 26.4 | 0.992 | 0.992 | 0.992
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 12:40 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | -0.00535 | -0.0054687 | mg N/L | -0.00344 | 0.000736 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 55.3 | 51.1 | -0.00535 | -0.00535 | -0.00535
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 12:41 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.0437 | 0.043987 | mg N/L | 0.246 | 0.0107 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 31.3 | 0.0437 | 0.0437 | 0.0437
Tres Rios 1762 1.11.16 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2016-04-05 | 12:46 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.304 |  | mg N/L | 1.55 | 0.0723 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 23.9 | 0.304 | 0.304 | 0.304
Tres Rios 1763 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2016-04-05 | 12:47 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.211 |  | mg N/L | 1.09 | 0.0499 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 20.6 | 0.211 | 0.211 | 0.211
Tres Rios 1764 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2016-04-05 | 12:48 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.259 |  | mg N/L | 1.33 | 0.0617 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.8 | 28.5 | 0.259 | 0.259 | 0.259
Tres Rios 1765 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2016-04-05 | 12:49 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.246 |  | mg N/L | 1.26 | 0.058 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 21.9 | 0.246 | 0.246 | 0.246
Tres Rios 1766 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2016-04-05 | 12:51 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.308 |  | mg N/L | 1.57 | 0.0732 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 30.5 | 0.308 | 0.308 | 0.308
Tres Rios 1767 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2016-04-05 | 12:52 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.277 |  | mg N/L | 1.42 | 0.0648 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.2 | 20.6 | 0.277 | 0.277 | 0.277
Tres Rios 1768 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2016-04-05 | 12:53 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.286 |  | mg N/L | 1.46 | 0.0674 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 30.1 | 0.286 | 0.286 | 0.286
Tres Rios 1769 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2016-04-05 | 12:54 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.117 |  | mg N/L | 0.617 | 0.0277 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 29.7 | 0.117 | 0.117 | 0.117
Tres Rios 1770 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2016-04-05 | 12:55 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.0353 |  | mg N/L | 0.204 | 0.00881 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 44.9 | 31.3 | 0.0353 | 0.0353 | 0.0353
Tres Rios 1771 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2016-04-05 | 12:56 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.199 |  | mg N/L | 1.03 | 0.0474 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 20.2 | 0.199 | 0.199 | 0.199
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 12:58 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.00214 | 0.0020924 | mg N/L | 0.0348 | 0.000942 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 42.5 | 30.9 | 0.00214 | 0.00214 | 0.00214
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 12:59 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.048 | 0.048333 | mg N/L | 0.268 | 0.0113 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 16.1 | 0.048 | 0.048 | 0.048
Tres Rios 1772 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2016-04-05 | 13:03 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.284 |  | mg N/L | 1.45 | 0.0673 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 29.7 | 0.284 | 0.284 | 0.284
Tres Rios 1773 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2016-04-05 | 13:04 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.321 |  | mg N/L | 1.63 | 0.0762 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 29.3 | 0.321 | 0.321 | 0.321
Tres Rios 1774 3.24.16 | Unknown | 1 | 1 | 13 | 1 | 1 |  |  |  | 2016-04-05 | 13:05 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.205 |  | mg N/L | 1.06 | 0.0489 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 30.5 | 0.205 | 0.205 | 0.205
Tres Rios 1775 | Unknown | 1 | 1 | 14 | 1 | 1 |  |  |  | 2016-04-05 | 13:06 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.205 |  | mg N/L | 1.06 | 0.0488 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 29.3 | 0.205 | 0.205 | 0.205
Tres Rios 1776 | Unknown | 1 | 1 | 15 | 1 | 1 |  |  |  | 2016-04-05 | 13:08 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.278 |  | mg N/L | 1.42 | 0.0654 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 23.9 | 0.278 | 0.278 | 0.278
Tres Rios 1777 | Unknown | 1 | 1 | 16 | 1 | 1 |  |  |  | 2016-04-05 | 13:09 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.268 |  | mg N/L | 1.37 | 0.0633 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 27.6 | 0.268 | 0.268 | 0.268
Tres Rios 1778 | Unknown | 1 | 1 | 17 | 1 | 1 |  |  |  | 2016-04-05 | 13:10 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.206 |  | mg N/L | 1.06 | 0.049 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 22.3 | 0.206 | 0.206 | 0.206
Tres Rios 1779 | Unknown | 1 | 1 | 18 | 1 | 1 |  |  |  | 2016-04-05 | 13:11 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.258 |  | mg N/L | 1.32 | 0.0618 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47 | 30.1 | 0.258 | 0.258 | 0.258
Tres Rios 1780 | Unknown | 1 | 1 | 19 | 1 | 1 |  |  |  | 2016-04-05 | 13:12 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.0106 |  | mg N/L | 0.0779 | 0.00285 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 32.6 | 0.0106 | 0.0106 | 0.0106
Tres Rios 1781 | Unknown | 1 | 1 | 20 | 1 | 1 |  |  |  | 2016-04-05 | 13:14 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.0127 |  | mg N/L | 0.0885 | 0.00338 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 43.7 | 32.2 | 0.0127 | 0.0127 | 0.0127
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 13:15 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | -0.00803 | -0.0081711 | mg N/L | -0.0171 | -0.000882 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 55.7 | 22.3 | -0.00803 | -0.00803 | -0.00803
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 13:16 | instrument | OM_4-5-2016_12-22-45PM.OMN |  | 1 | NItrate/Nitrite | 0.0443 | 0.044627 | mg N/L | 0.249 | 0.0114 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 45.8 | 32.2 | 0.0443 | 0.0443 | 0.0443
Tres Rios 1782 | Unknown | 1 | 1 | 21 | 1 | 1 |  |  |  | 2016-04-05 | 13:38 | instrument | OM_4-5-2016_01-31-16PM.OMN |  | 1 | NItrate/Nitrite | 0.00371 |  | mg N/L | 0.0428 | 0.00169 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 42.1 | 31.8 | 0.00371 | 0.00371 | 0.00371
Tres Rios 1783 | Unknown | 1 | 1 | 22 | 1 | 1 |  |  |  | 2016-04-05 | 13:39 | instrument | OM_4-5-2016_01-31-16PM.OMN |  | 1 | NItrate/Nitrite | 0.248 |  | mg N/L | 1.27 | 0.0593 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 47.4 | 29.7 | 0.248 | 0.248 | 0.248
Tres Rios 1784 | Unknown | 1 | 1 | 23 | 1 | 1 |  |  |  | 2016-04-05 | 13:40 | instrument | OM_4-5-2016_01-31-16PM.OMN |  | 1 | NItrate/Nitrite | 0.288 |  | mg N/L | 1.47 | 0.0687 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.2 | 30.1 | 0.288 | 0.288 | 0.288
Tres Rios 1785 | Unknown | 1 | 1 | 24 | 1 | 1 |  |  |  | 2016-04-05 | 13:41 | instrument | OM_4-5-2016_01-31-16PM.OMN |  | 1 | NItrate/Nitrite | 0.226 |  | mg N/L | 1.16 | 0.0538 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 46.6 | 30.1 | 0.226 | 0.226 | 0.226
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2016-04-05 | 13:45 | instrument | OM_4-5-2016_01-31-16PM.OMN |  | 1 | NItrate/Nitrite | -0.00281 | -0.0029057 | mg N/L | 0.00953 | 0.000719 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 44.1 | 21 | -0.00281 | -0.00281 | -0.00281
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2016-04-05 | 13:46 | instrument | OM_4-5-2016_01-31-16PM.OMN |  | 1 | NItrate/Nitrite | 0.0446 | 0.044901 | mg N/L | 0.251 | 0.0113 | Conc = 2.40e-3 * Area^2 + 0.196 * Area - 4.68e-3 | 48.2 | 27.6 | 0.0446 | 0.0446 | 0.0446