## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-05-26 | 9:51 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 200 | 199.8375 | mg/L | 32.7 | 2.03 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 22.3 | 5.36 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2016-05-26 | 9:51 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 400 | 399.7257 | ug P/L | 21.9 | 0.748 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47.4 | 14 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-05-26 | 9:52 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 100 | 100.4524 | mg/L | 22.9 | 1.57 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 22.7 | 11.5 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2016-05-26 | 9:52 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 200 | 201.6156 | ug P/L | 10.8 | 0.367 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 47.8 | 14.8 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-05-26 | 9:54 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 50 | 49.477 | mg/L | 14.6 | 1.07 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 21.9 | 5.77 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2016-05-26 | 9:54 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 100 | 98.2587 | ug P/L | 5.27 | 0.177 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 48.2 | 14 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 9:57 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 25 | 25.2847 | mg/L | 8.73 | 0.653 | Conc = 4.08e-3 * Area^3 - 0.0588 * Area^2 + 3.91 * Area - 7.34 | 21.9 | 6.19 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 9:57 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 50 | 49.229 | ug P/L | 2.64 | 0.0884 | Conc = 4.07e-3 * Area^3 - 0.171 * Area^2 + 20.2 * Area - 2.18 | 48.2 | 14.4 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-05-26 | 10:00 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 10 | 9.899 | mg/L | 3.76 | 0.284 | Conc = 2.86e-3 * Area^3 + 0.0164 * Area^2 + 2.53 * Area + 0.0770 | 21.4 | 4.95 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2016-05-26 | 10:00 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 20 | 19.3889 | ug P/L | 1.02 | 0.0338 | Conc = 1.18e-4 * Area^3 - 0.0311 * Area^2 + 18.9 * Area + 0.785 | 46.6 | 14.4 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-05-26 | 10:03 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 5 | 5.0047 | mg/L | 1.97 | 0.141 | Conc = 2.93e-3 * Area^3 + 0.0126 * Area^2 + 2.58 * Area - 0.131 | 21.9 | 10.3 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2016-05-26 | 10:03 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 10 | 9.9171 | ug P/L | 0.494 | 0.0163 | Conc = 3.21e-4 * Area^3 - 0.0379 * Area^2 + 18.9 * Area + 0.690 | 48.2 | 26 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-05-26 | 10:06 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 2.5 | 2.5322 | mg/L | 1.03 | 0.0726 | Conc = 2.95e-3 * Area^3 + 0.0114 * Area^2 + 2.60 * Area - 0.175 | 21.4 | 7.01 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2016-05-26 | 10:06 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 5 | 6.2794 | ug P/L | 0.292 | 0.0088 | Conc = 3.45e-3 * Area^3 - 0.140 * Area^2 + 19.7 * Area - 0.362 | 47 | 26 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 10:07 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 0 | -0.020939 | mg/L | 0.0407 | 0.00618 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 14 | 2.89 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 10:07 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 0 | -0.95794 | ug P/L | -0.11 | -0.00245 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 31.8 | 8.25 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-26 | 10:08 | instrument | OM_5-26-2016_09-49-57AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20.2 |  | mg/L | 7.2 | 0.54 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 11.5 | 20.2 | 20.2 | 20.2
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-26 | 10:08 | instrument | OM_5-26-2016_09-49-57AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 46.6 |  | ug P/L | 2.5 | 0.0852 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47 | 14.8 | 46.6 | 46.6 | 46.6
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-26 | 10:09 | instrument | OM_5-26-2016_09-49-57AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 20.3 |  | mg/L | 7.22 | 0.542 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 12 | 20.3 | 20.3 | 20.3
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-26 | 10:09 | instrument | OM_5-26-2016_09-49-57AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 46.7 |  | ug P/L | 2.51 | 0.085 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.8 | 14 | 46.7 | 46.7 | 46.7
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-26 | 10:10 | instrument | OM_5-26-2016_09-49-57AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19.9 |  | mg/L | 7.11 | 0.543 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 9.48 | 19.9 | 19.9 | 19.9
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2016-05-26 | 10:10 | instrument | OM_5-26-2016_09-49-57AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 46.9 |  | ug P/L | 2.52 | 0.0849 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 48.2 | 13.2 | 46.9 | 46.9 | 46.9
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-05-26 | 10:17 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 23.7 | 23.7383 | mg/L | 8.28 | 0.622 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 12 | 2370 | 23.7 | 2370
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2016-05-26 | 10:17 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 47.7 | 47.7164 | ug P/L | 2.56 | 0.0847 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.4 | 14 | 4770 | 47.7 | 4770
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 10:18 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | -0.234 | -0.23378 | mg/L | -0.0421 | -0.00499 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 17.7 | 14.4 | -0.234 | -0.234 | -0.234
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 10:18 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | -0.954 | -0.95388 | ug P/L | -0.11 | -0.00231 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 30.9 | 4.12 | -0.954 | -0.954 | -0.954
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 10:20 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 24.5 | 24.5402 | mg/L | 8.51 | 0.643 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 10.3 | 98.2 | 24.5 | 98.2
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 10:20 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 48.2 | 48.2156 | ug P/L | 2.59 | 0.086 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47 | 13.6 | 193 | 48.2 | 193
Tres Rios 1786 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-05-26 | 10:27 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 28.7 |  | mg/L | 9.68 | 0.732 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 22.3 | 9.9 | 287 | 28.7 | 287
Tres Rios 1786 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2016-05-26 | 10:27 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 256 |  | ug P/L | 13.7 | 0.467 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.4 | 14 | 2560 | 256 | 2560
Tres Rios 1787 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-05-26 | 10:30 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 29.2 |  | mg/L | 9.81 | 0.737 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 22.3 | 10.7 | 292 | 29.2 | 292
Tres Rios 1787 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2016-05-26 | 10:30 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 271 |  | ug P/L | 14.5 | 0.494 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.4 | 14 | 2710 | 271 | 2710
Tres Rios 1788 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-05-26 | 10:32 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 22.6 |  | mg/L | 7.95 | 0.598 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 11.5 | 226 | 22.6 | 226
Tres Rios 1788 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2016-05-26 | 10:32 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 247 |  | ug P/L | 13.2 | 0.455 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.4 | 14 | 2470 | 247 | 2470
Tres Rios 1789 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-05-26 | 10:35 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 28.2 |  | mg/L | 9.55 | 0.718 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.4 | 9.07 | 282 | 28.2 | 282
Tres Rios 1789 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2016-05-26 | 10:35 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 238 |  | ug P/L | 12.7 | 0.434 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.8 | 14.4 | 2380 | 238 | 2380
Tres Rios 1790 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-05-26 | 10:38 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 34.3 |  | mg/L | 11.2 | 0.824 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 11.5 | 343 | 34.3 | 343
Tres Rios 1790 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2016-05-26 | 10:38 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 253 |  | ug P/L | 13.5 | 0.459 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.8 | 13.6 | 2530 | 253 | 2530
Tres Rios 1791 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-05-26 | 10:41 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 32 |  | mg/L | 10.6 | 0.789 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 22.3 | 12.4 | 320 | 32 | 320
Tres Rios 1791 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2016-05-26 | 10:41 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 244 |  | ug P/L | 13 | 0.45 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.4 | 14.4 | 2440 | 244 | 2440
Tres Rios 1792 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-05-26 | 10:43 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 35.5 |  | mg/L | 11.4 | 0.856 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 5.77 | 355 | 35.5 | 355
Tres Rios 1792 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2016-05-26 | 10:43 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 257 |  | ug P/L | 13.7 | 0.467 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.8 | 13.6 | 2570 | 257 | 2570
Tres Rios 1793 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-05-26 | 10:46 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 37.6 |  | mg/L | 12 | 0.893 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 10.3 | 376 | 37.6 | 376
Tres Rios 1793 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2016-05-26 | 10:46 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 257 |  | ug P/L | 13.7 | 0.463 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47 | 13.6 | 2570 | 257 | 2570
Tres Rios 1794 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-05-26 | 10:49 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 47.9 |  | mg/L | 14.3 | 1.05 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 22.3 | 9.07 | 479 | 47.9 | 479
Tres Rios 1794 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2016-05-26 | 10:49 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 268 |  | ug P/L | 14.3 | 0.487 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.8 | 13.6 | 2680 | 268 | 2680
Tres Rios 1795 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-05-26 | 10:52 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 33.4 |  | mg/L | 10.9 | 0.82 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 12 | 334 | 33.4 | 334
Tres Rios 1795 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2016-05-26 | 10:52 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 243 |  | ug P/L | 13 | 0.443 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 47.4 | 14 | 2430 | 243 | 2430
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 10:52 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 0.229 | 0.22948 | mg/L | 0.138 | 0.00777 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 14.4 | 9.07 | 0.229 | 0.229 | 0.229
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 10:52 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | -1.08 | -1.0756 | ug P/L | -0.117 | -0.00319 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 27.2 | 5.36 | -1.08 | -1.08 | -1.08
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 10:55 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 1 | Chloride | 24.9 | 24.8879 | mg/L | 8.61 | 0.651 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 22.3 | 11.1 | 99.6 | 24.9 | 99.6
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 10:55 | instrument | OM_5-26-2016_09-49-57AM.OMN |  | 2 | Phosphate | 58.9 | 58.91 | ug P/L | 3.17 | 0.105 | Conc = - 4.66e-3 * Area^3 + 0.113 * Area^2 + 18.0 * Area + 1.02 | 48.2 | 13.6 | 236 | 58.9 | 236
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 11:09 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 1 | Chloride | 0.124 | 0.12392 | mg/L | 0.0969 | 0.00499 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 23.5 | 10.7 | 0.124 | 0.124 | 0.124
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 11:09 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 2 | Phosphate | 1.29 | 1.2871 | ug P/L | 0.0907 | 0.00238 | Conc = 3.73e-4 * Area^3 - 0.0570 * Area^2 + 19.8 * Area - 0.507 | 48.2 | 27.2 | 1.29 | 1.29 | 1.29
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 11:11 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 1 | Chloride | 24.3 | 24.2878 | mg/L | 8.44 | 0.647 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 8.66 | 97.2 | 24.3 | 97.2
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 11:11 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 2 | Phosphate | 53.1 | 53.0538 | ug P/L | 2.73 | 0.0931 | Conc = 3.73e-4 * Area^3 - 0.0570 * Area^2 + 19.8 * Area - 0.507 | 48.2 | 24.7 | 212 | 53.1 | 212
Tres Rios 1796 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-05-26 | 11:18 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 1 | Chloride | 32.3 |  | mg/L | 10.6 | 0.803 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.4 | 12 | 323 | 32.3 | 323
Tres Rios 1796 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2016-05-26 | 11:18 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 2 | Phosphate | 267 |  | ug P/L | 14 | 0.478 | Conc = 3.73e-4 * Area^3 - 0.0570 * Area^2 + 19.8 * Area - 0.507 | 47.4 | 21 | 2670 | 267 | 2670
Tres Rios 1797 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-05-26 | 11:21 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 1 | Chloride | 23.9 |  | mg/L | 8.33 | 0.638 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 22.3 | 9.07 | 239 | 23.9 | 239
Tres Rios 1797 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2016-05-26 | 11:21 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 2 | Phosphate | 252 |  | ug P/L | 13.2 | 0.451 | Conc = 3.73e-4 * Area^3 - 0.0570 * Area^2 + 19.8 * Area - 0.507 | 47.4 | 24.3 | 2520 | 252 | 2520
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 11:25 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 1 | Chloride | -0.355 | -0.35489 | mg/L | -0.0892 | -0.00488 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 18.1 | 0.412 | -0.355 | -0.355 | -0.355
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2016-05-26 | 11:25 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 2 | Phosphate | 1.52 | 1.5223 | ug P/L | 0.103 | 0.00285 | Conc = 3.73e-4 * Area^3 - 0.0570 * Area^2 + 19.8 * Area - 0.507 | 47 | 31.8 | 1.52 | 1.52 | 1.52
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 11:28 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 1 | Chloride | 24.4 | 24.4227 | mg/L | 8.48 | 0.641 | Conc = 2.91e-3 * Area^3 + 0.0136 * Area^2 + 2.57 * Area - 0.126 | 21.9 | 11.1 | 97.7 | 24.4 | 97.7
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2016-05-26 | 11:28 | instrument | OM_5-26-2016_11-07-55AM.OMN |  | 2 | Phosphate | 54.8 | 54.8437 | ug P/L | 2.82 | 0.096 | Conc = 3.73e-4 * Area^3 - 0.0570 * Area^2 + 19.8 * Area - 0.507 | 47.8 | 23.9 | 219 | 54.8 | 219