## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-10-28 | 10:44 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 200 | 198.301 | mg/L | 30 | 1.77 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 25.6 | 11.1 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-10-28 | 10:44 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 400 | 398.7746 | ug P/L | 23.1 | 0.741 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 54.4 | 19.4 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2015-10-28 | 10:44 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 100 | 102.9133 | mg/L | 22.3 | 1.4 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 25.6 | 12.4 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2015-10-28 | 10:44 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 200 | 206.3754 | ug P/L | 11.8 | 0.375 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 54.8 | 18.6 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2015-10-28 | 10:47 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 50 | 48.9331 | mg/L | 15 | 1.02 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 25.2 | 12 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2015-10-28 | 10:47 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 100 | 93.7758 | ug P/L | 5.81 | 0.181 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 54.4 | 19.4 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 10:50 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 25 | 24.4407 | mg/L | 9.61 | 0.671 | Conc = 0.0109 * Area^3 - 0.329 * Area^2 + 7.65 * Area - 27.8 | 25.2 | 10.3 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 10:50 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 50 | 45.643 | ug P/L | 3.01 | 0.0918 | Conc = 9.38e-3 * Area^3 - 0.325 * Area^2 + 20.1 * Area - 7.90 | 54.4 | 19 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2015-10-28 | 10:53 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 10 | 9.8984 | mg/L | 4.62 | 0.331 | Conc = 6.79e-3 * Area^3 - 0.0859 * Area^2 + 3.27 * Area - 4.01 | 25.2 | 10.3 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2015-10-28 | 10:53 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 20 | 19.0168 | ug P/L | 1.31 | 0.0391 | Conc = 5.71e-3 * Area^3 - 0.186 * Area^2 + 18.7 * Area - 4.32 | 54 | 18.6 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2015-10-28 | 10:56 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 5 | 5.1121 | mg/L | 2.49 | 0.178 | Conc = 5.83e-3 * Area^3 - 0.0375 * Area^2 + 2.57 * Area - 1.36 | 25.2 | 7.42 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2015-10-28 | 10:56 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 10 | 10.7776 | ug P/L | 0.752 | 0.0222 | Conc = 5.03e-3 * Area^3 - 0.161 * Area^2 + 18.5 * Area - 3.89 | 53.2 | 28.5 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2015-10-28 | 10:59 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 2.5 | 2.7267 | mg/L | 1.33 | 0.089 | Conc = 5.42e-3 * Area^3 - 0.0178 * Area^2 + 2.32 * Area - 0.647 | 25.2 | 13.6 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2015-10-28 | 10:59 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 5 | 7.4899 | ug P/L | 0.523 | 0.0148 | Conc = 6.68e-3 * Area^3 - 0.219 * Area^2 + 19.0 * Area - 4.65 | 54.4 | 28.9 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:00 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 0 | -0.19966 | mg/L | -0.157 | -0.00436 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 63.1 | 0.825 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:00 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 0 | -2.03 | ug P/L | -0.157 | -0.00235 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 103 | 21.4 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-28 | 11:01 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 18.6 |  | mg/L | 7.85 | 0.563 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.6 | 10.3 | 18.6 | 18.6 | 18.6
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-28 | 11:01 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 40.7 |  | ug P/L | 2.7 | 0.083 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.8 | 18.6 | 40.7 | 40.7 | 40.7
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-28 | 11:02 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 19 |  | mg/L | 7.98 | 0.565 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 12.4 | 19 | 19 | 19
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-28 | 11:02 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 40.9 |  | ug P/L | 2.71 | 0.0845 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 18.6 | 40.9 | 40.9 | 40.9
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-28 | 11:03 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 18.5 |  | mg/L | 7.8 | 0.555 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 26 | 5.36 | 18.5 | 18.5 | 18.5
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-28 | 11:03 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 41.4 |  | ug P/L | 2.75 | 0.0842 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 18.6 | 41.4 | 41.4 | 41.4
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-10-28 | 11:10 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 23.4 | 23.4426 | mg/L | 9.32 | 0.654 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.6 | 6.6 | 2340 | 23.4 | 2340
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-10-28 | 11:10 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 45.2 | 45.1555 | ug P/L | 2.98 | 0.0905 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 18.6 | 4520 | 45.2 | 4520
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:11 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | -0.184 | -0.18428 | mg/L | -0.149 | 0.00345 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 67.2 | 27.2 | -0.184 | -0.184 | -0.184
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:11 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | -0.872 | -0.87236 | ug P/L | -0.0725 | -0.00167 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 30.5 | 18.6 | -0.872 | -0.872 | -0.872
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 11:14 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 23.9 | 23.8942 | mg/L | 9.45 | 0.672 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 10.3 | 95.6 | 23.9 | 95.6
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 11:14 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 46 | 45.9842 | ug P/L | 3.03 | 0.0923 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.8 | 18.6 | 184 | 46 | 184
Tres Rios 1738 9.21.15 | Unknown | 1 | 1 | 1 | 10 | 1 |  |  |  | 2015-10-28 | 11:18 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 24.3 |  | mg/L | 9.57 | 0.675 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 12.4 | 24.3 | 243 | 243
Tres Rios 1738 9.21.15 | Unknown | 1 | 1 | 1 | 10 | 1 |  |  |  | 2015-10-28 | 11:18 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 211 |  | ug P/L | 12 | 0.379 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.8 | 18.6 | 211 | 2110 | 2110
1739 | Unknown | 1 | 1 | 2 | 10 | 1 |  |  |  | 2015-10-28 | 11:19 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 18.8 |  | mg/L | 7.89 | 0.566 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 13.2 | 18.8 | 188 | 188
1739 | Unknown | 1 | 1 | 2 | 10 | 1 |  |  |  | 2015-10-28 | 11:19 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 146 |  | ug P/L | 8.66 | 0.274 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 53.6 | 28 | 146 | 1460 | 1460
1740 | Unknown | 1 | 1 | 3 | 10 | 1 |  |  |  | 2015-10-28 | 11:20 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 21.1 |  | mg/L | 8.64 | 0.617 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 13.2 | 21.1 | 211 | 211
1740 | Unknown | 1 | 1 | 3 | 10 | 1 |  |  |  | 2015-10-28 | 11:20 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 228 |  | ug P/L | 12.9 | 0.411 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.8 | 18.6 | 228 | 2280 | 2280
1741 | Unknown | 1 | 1 | 4 | 10 | 1 |  |  |  | 2015-10-28 | 11:21 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 15.1 |  | mg/L | 6.64 | 0.484 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 12 | 15.1 | 151 | 151
1741 | Unknown | 1 | 1 | 4 | 10 | 1 |  |  |  | 2015-10-28 | 11:21 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 220 |  | ug P/L | 12.5 | 0.397 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28 | 220 | 2200 | 2200
1742 | Unknown | 1 | 1 | 5 | 10 | 1 |  |  |  | 2015-10-28 | 11:22 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 17 |  | mg/L | 7.29 | 0.525 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 13.6 | 17 | 170 | 170
1742 | Unknown | 1 | 1 | 5 | 10 | 1 |  |  |  | 2015-10-28 | 11:22 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 214 |  | ug P/L | 12.2 | 0.388 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28.9 | 214 | 2140 | 2140
1743 | Unknown | 1 | 1 | 6 | 10 | 1 |  |  |  | 2015-10-28 | 11:23 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 17.3 |  | mg/L | 7.41 | 0.54 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 10.3 | 17.3 | 173 | 173
1743 | Unknown | 1 | 1 | 6 | 10 | 1 |  |  |  | 2015-10-28 | 11:23 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 208 |  | ug P/L | 11.9 | 0.375 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 27.6 | 208 | 2080 | 2080
1744 | Unknown | 1 | 1 | 7 | 10 | 1 |  |  |  | 2015-10-28 | 11:23 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 15.4 |  | mg/L | 6.74 | 0.488 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 24.7 | 6.19 | 15.4 | 154 | 154
1744 | Unknown | 1 | 1 | 7 | 10 | 1 |  |  |  | 2015-10-28 | 11:23 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 220 |  | ug P/L | 12.5 | 0.398 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 27.6 | 220 | 2200 | 2200
1745 | Unknown | 1 | 1 | 8 | 10 | 1 |  |  |  | 2015-10-28 | 11:24 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 59.7 |  | mg/L | 16.8 | 1.13 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.6 | 12.8 | 59.7 | 597 | 597
1745 | Unknown | 1 | 1 | 8 | 10 | 1 |  |  |  | 2015-10-28 | 11:24 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 385 |  | ug P/L | 22.1 | 0.704 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 18.6 | 385 | 3850 | 3850
1746 | Unknown | 1 | 1 | 9 | 10 | 1 |  |  |  | 2015-10-28 | 11:25 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 38 |  | mg/L | 12.9 | 0.895 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 10.7 | 38 | 380 | 380
1746 | Unknown | 1 | 1 | 9 | 10 | 1 |  |  |  | 2015-10-28 | 11:25 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 295 |  | ug P/L | 16.6 | 0.526 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28.5 | 295 | 2950 | 2950
1747 | Unknown | 1 | 1 | 10 | 10 | 1 |  |  |  | 2015-10-28 | 11:26 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 22 |  | mg/L | 8.9 | 0.634 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 14.8 | 22 | 220 | 220
1747 | Unknown | 1 | 1 | 10 | 10 | 1 |  |  |  | 2015-10-28 | 11:26 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 145 |  | ug P/L | 8.57 | 0.269 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28.9 | 145 | 1450 | 1450
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:27 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 0.585 | 0.58483 | mg/L | 0.247 | 0.0135 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 24.7 | 12.4 | 0.585 | 0.585 | 0.585
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:27 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 5.29 | 5.2872 | ug P/L | 0.369 | 0.0119 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 52.8 | 29.7 | 5.29 | 5.29 | 5.29
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 11:29 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 23.7 | 23.7055 | mg/L | 9.4 | 0.667 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 12 | 94.8 | 23.7 | 94.8
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 11:29 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 48.4 | 48.3543 | ug P/L | 3.17 | 0.0977 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.8 | 18.6 | 193 | 48.4 | 193
1748 | Unknown | 1 | 1 | 11 | 10 | 1 |  |  |  | 2015-10-28 | 11:34 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 18.6 |  | mg/L | 7.83 | 0.565 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 24.7 | 11.5 | 18.6 | 186 | 186
1748 | Unknown | 1 | 1 | 11 | 10 | 1 |  |  |  | 2015-10-28 | 11:34 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 134 |  | ug P/L | 8.01 | 0.254 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28.9 | 134 | 1340 | 1340
1749 | Unknown | 1 | 1 | 12 | 10 | 1 |  |  |  | 2015-10-28 | 11:35 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 15.3 |  | mg/L | 6.72 | 0.486 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 25.2 | 12.4 | 15.3 | 153 | 153
1749 | Unknown | 1 | 1 | 12 | 10 | 1 |  |  |  | 2015-10-28 | 11:35 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 156 |  | ug P/L | 9.19 | 0.293 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28 | 156 | 1560 | 1560
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:42 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 1.12 | 1.1174 | mg/L | 0.519 | 0.0336 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 27.2 | 12.8 | 1.12 | 1.12 | 1.12
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2015-10-28 | 11:42 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 0.409 | 0.40937 | ug P/L | 0.0204 | 0.0029 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 21.9 | 0.409 | 0.409 | 0.409
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 11:45 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 1 | Chloride | 23.6 | 23.6478 | mg/L | 9.38 | 0.66 | Conc = 4.63e-3 * Area^3 + 0.0169 * Area^2 + 1.94 * Area + 0.104 | 24.7 | 12.8 | 94.6 | 23.6 | 94.6
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2015-10-28 | 11:45 | instrument | Tre_Rios_ES_TR_Cl_PO4_10_28_2015.omn |  | 2 | Phosphate | 47 | 47.0133 | ug P/L | 3.09 | 0.0965 | Conc = - 0.0143 * Area^3 + 0.478 * Area^2 + 13.8 * Area + 0.127 | 54.4 | 28.5 | 188 | 47 | 188