## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-10-07 | 10:21 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 10 | 0 | mg N/L | 37 | 1.13 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 80.8 | 57.7 | 10 | 10 | 10
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-10-07 | 10:21 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 20 | 0 | mg N/L | 90.3 | 2.69 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 139 | 103 | 20 | 20 | 20
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-10-07 | 10:22 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 4 | 0 | mg N/L | 19.7 | 0.674 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 80.4 | 57.7 | 4 | 4 | 4
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-10-07 | 10:22 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 8 | 0 | mg N/L | 41.3 | 1.31 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 139 | 103 | 8 | 8 | 8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-07 | 10:23 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 1 | 0 | mg N/L | 5.57 | 0.199 | Conc = 4.20e-3 * Area^2 + 0.107 * Area + 0.272 | 80.4 | 57.7 | 1 | 1 | 1
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-10-07 | 10:23 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 2 | 0 | mg N/L | 10.6 | 0.345 | Conc = 6.10e-4 * Area^2 + 0.164 * Area + 0.184 | 140 | 105 | 2 | 2 | 2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 10:25 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.5 | 0.5 | mg N/L | 2.86 | 0.103 | Conc = 3.77e-3 * Area^2 + 0.126 * Area + 0.130 | 84.9 | 57.7 | 0.5 | 0.5 | 0.5
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 10:25 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 1 | 1 | mg N/L | 5.35 | 0.173 | Conc = 5.88e-4 * Area^2 + 0.167 * Area + 0.120 | 139 | 107 | 1 | 1 | 1
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-10-07 | 10:26 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0.19878 | mg N/L | 1.11 | 0.0398 | Conc = 3.41e-3 * Area^2 + 0.140 * Area + 0.0541 | 80 | 57.7 | 0.2 | 0.2 | 0.2
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-10-07 | 10:26 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.4 | 0.39955 | mg N/L | 2.18 | 0.0699 | Conc = 5.69e-4 * Area^2 + 0.169 * Area + 0.0755 | 141 | 108 | 0.4 | 0.4 | 0.4
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-10-07 | 10:27 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.1 | 0.10254 | mg N/L | 0.601 | 0.0206 | Conc = 3.21e-3 * Area^2 + 0.148 * Area + 0.0229 | 78.8 | 58.6 | 0.1 | 0.1 | 0.1
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-10-07 | 10:27 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.2 | 0.1967 | mg N/L | 1.08 | 0.035 | Conc = 5.59e-4 * Area^2 + 0.170 * Area + 0.0539 | 140 | 108 | 0.2 | 0.2 | 0.2
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-10-07 | 10:28 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.0492 | mg N/L | 0.292 | 0.00982 | Conc = 3.11e-3 * Area^2 + 0.151 * Area + 0.0118 | 82.9 | 61 | 0.05 | 0.05 | 0.05
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-10-07 | 10:28 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.1 | 0.091545 | mg N/L | 0.497 | 0.0163 | Conc = 5.54e-4 * Area^2 + 0.171 * Area + 0.0433 | 140 | 105 | 0.1 | 0.1 | 0.1
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 10:29 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0052395 | mg N/L | -0.0485 | -0.00141 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 81.6 | 59.8 | 0 | 0 | 0
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 10:29 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0 | -0.00048809 | mg N/L | 0.00528 | 0.00101 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 141 | 132 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-07 | 10:31 | instrument | OM_10-7-2015_10-20-10AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.922 |  | mg N/L | 5.41 | 0.193 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80 | 57.7 | 0.922 | 0.922 | 0.922
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-07 | 10:31 | instrument | OM_10-7-2015_10-20-10AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.509 |  | mg N/L | 2.75 | 0.0908 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 106 | 0.509 | 0.509 | 0.509
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-07 | 10:32 | instrument | OM_10-7-2015_10-20-10AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.927 |  | mg N/L | 5.43 | 0.194 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 0.927 | 0.927 | 0.927
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-07 | 10:32 | instrument | OM_10-7-2015_10-20-10AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.501 |  | mg N/L | 2.7 | 0.0897 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 106 | 0.501 | 0.501 | 0.501
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-07 | 10:33 | instrument | OM_10-7-2015_10-20-10AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.917 |  | mg N/L | 5.38 | 0.192 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 81.2 | 57.7 | 0.917 | 0.917 | 0.917
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-10-07 | 10:33 | instrument | OM_10-7-2015_10-20-10AM.OMN | VHG YASUCM-500 1:50 Dilution | 2 | Ammonia | 0.503 |  | mg N/L | 2.72 | 0.089 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 57.7 | 0.503 | 0.503 | 0.503
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-10-07 | 10:41 | instrument | OM_10-7-2015_10-20-10AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.0516 | 0.050277 | mg N/L | 0.273 | 0.0089 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 86.2 | 72.6 | 5.16 | 0.0516 | 5.16
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2015-10-07 | 10:41 | instrument | OM_10-7-2015_10-20-10AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.18 | 0.15826 | mg N/L | 0.851 | 1.32 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 137 | 111 | 18 | 0.18 | 18
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 10:42 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.00421 | -0.0032452 | mg N/L | -0.037 | -0.00147 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 74.6 | 59.4 | 0.00421 | 0.00421 | 0.00421
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 10:42 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.0288 | -0.0066788 | mg N/L | -0.0277 | -0.00091 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 65.2 | 54 | 0.0288 | 0.0288 | 0.0288
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 10:44 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.46 | 0.49043 | mg N/L | 2.8 | 0.104 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 79.6 | 57.7 | 0.46 | 0.46 | 0.46
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 10:44 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.91 | 0.94316 | mg N/L | 5.03 | 0.166 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 103 | 0.91 | 0.91 | 0.91
Tres Rios 1738 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-10-07 | 10:49 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 3.78 |  | mg N/L | 18.1 | 0.633 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 3.78 | 3.78 | 3.78
Tres Rios 1738 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-10-07 | 10:49 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 1.08 |  | mg N/L | 5.97 | 0.198 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 105 | 1.08 | 1.08 | 1.08
Tres Rios 1739 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-10-07 | 10:51 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 4.03 |  | mg N/L | 19.1 | 0.662 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 79.6 | 57.7 | 4.03 | 4.03 | 4.03
Tres Rios 1739 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-10-07 | 10:51 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 1.09 |  | mg N/L | 6.06 | 0.202 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 104 | 1.09 | 1.09 | 1.09
Tres Rios 1740 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-10-07 | 10:52 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 3.09 |  | mg N/L | 15.4 | 0.539 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 3.09 | 3.09 | 3.09
Tres Rios 1740 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-10-07 | 10:52 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.991 |  | mg N/L | 5.49 | 0.183 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 104 | 0.991 | 0.991 | 0.991
Tres Rios 1741 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-10-07 | 10:53 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 3.08 |  | mg N/L | 15.4 | 0.542 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80 | 57.7 | 3.08 | 3.08 | 3.08
Tres Rios 1741 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-10-07 | 10:53 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.947 |  | mg N/L | 5.24 | 0.175 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 107 | 0.947 | 0.947 | 0.947
Tres Rios 1742 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-10-07 | 10:54 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 2.89 |  | mg N/L | 14.6 | 0.515 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80 | 57.7 | 2.89 | 2.89 | 2.89
Tres Rios 1742 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-10-07 | 10:54 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.918 |  | mg N/L | 5.08 | 0.169 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 106 | 0.918 | 0.918 | 0.918
Tres Rios 1743 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-10-07 | 10:55 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 2.76 |  | mg N/L | 14.1 | 0.493 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 2.76 | 2.76 | 2.76
Tres Rios 1743 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-10-07 | 10:55 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.901 |  | mg N/L | 4.98 | 0.166 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 105 | 0.901 | 0.901 | 0.901
Tres Rios 1744 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-10-07 | 10:57 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.0258 |  | mg N/L | 0.105 | 0.0037 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 81.6 | 60.6 | 0.0258 | 0.0258 | 0.0258
Tres Rios 1744 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-10-07 | 10:57 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.539 |  | mg N/L | 2.92 | 0.0966 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 97.7 | 0.539 | 0.539 | 0.539
Tres Rios 1745 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-10-07 | 10:58 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 1.78 |  | mg N/L | 9.74 | 0.346 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80 | 57.7 | 1.78 | 1.78 | 1.78
Tres Rios 1745 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-10-07 | 10:58 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 1.26 |  | mg N/L | 6.99 | 0.231 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 104 | 1.26 | 1.26 | 1.26
Tres Rios 1746 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-10-07 | 10:59 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.0157 |  | mg N/L | 0.0388 | 0.00131 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 85.4 | 63.9 | 0.0157 | 0.0157 | 0.0157
Tres Rios 1746 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-10-07 | 10:59 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.219 |  | mg N/L | 1.08 | 0.0356 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 105 | 0.219 | 0.219 | 0.219
Tres Rios 1747 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-10-07 | 11:00 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 3.09 |  | mg N/L | 15.4 | 0.539 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 3.09 | 3.09 | 3.09
Tres Rios 1747 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-10-07 | 11:00 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 1.33 |  | mg N/L | 7.4 | 0.243 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 58.1 | 1.33 | 1.33 | 1.33
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 11:01 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.00767 | 0.00069046 | mg N/L | -0.0141 | -0.000834 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 137 | 84.9 | 0.00767 | 0.00767 | 0.00767
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 11:01 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.0192 | -0.017241 | mg N/L | -0.084 | -0.00129 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 116 | 55.3 | 0.0192 | 0.0192 | 0.0192
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 11:02 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.475 | 0.50646 | mg N/L | 2.89 | 0.104 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80 | 57.7 | 0.475 | 0.475 | 0.475
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 11:02 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.953 | 0.98852 | mg N/L | 5.28 | 0.172 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 139 | 100 | 0.953 | 0.953 | 0.953
Tres Rios 1748 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-10-07 | 11:08 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 2.47 |  | mg N/L | 12.8 | 0.45 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 2.47 | 2.47 | 2.47
Tres Rios 1748 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-10-07 | 11:08 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 1.06 |  | mg N/L | 5.9 | 0.193 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 56.9 | 1.06 | 1.06 | 1.06
Tres Rios 1749 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-10-07 | 11:09 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 1.11 |  | mg N/L | 6.39 | 0.228 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80 | 57.7 | 1.11 | 1.11 | 1.11
Tres Rios 1749 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-10-07 | 11:09 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia |  |  | mg N/L | 3.65 | 0.122 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 106 | 0.667 | 0.667 | 0.667
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2015-10-07 | 11:19 | instrument | OM_10-7-2015_10-20-10AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.442 | 0.47206 | mg N/L | 2.69 | 0.0962 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 81.2 | 57.7 | 44.2 | 0.442 | 44.2
Dilution check | Check Standard | 1 | 2 | S15 | 1 | 100 |  |  |  | 2015-10-07 | 11:19 | instrument | OM_10-7-2015_10-20-10AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 2 | Ammonia | 0.463 | 0.46556 | mg N/L | 2.49 | 0.0822 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 104 | 46.3 | 0.463 | 46.3
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 11:25 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | -0.000987 | -0.0091504 | mg N/L | -0.0712 | -0.00135 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 127 | 61 | -0.000987 | -0.000987 | -0.000987
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2015-10-07 | 11:25 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.0304 | -0.0049937 | mg N/L | -0.0187 | -0.00082 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 86.2 | 69.3 | 0.0304 | 0.0304 | 0.0304
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 11:26 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 1 | NItrate/Nitrite | 0.471 | 0.50189 | mg N/L | 2.86 | 0.103 | Conc = 3.09e-3 * Area^2 + 0.152 * Area + 9.82e-3 | 80.4 | 57.7 | 0.471 | 0.471 | 0.471
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2015-10-07 | 11:26 | instrument | OM_10-7-2015_10-20-10AM.OMN |  | 2 | Ammonia | 0.954 | 0.98992 | mg N/L | 5.28 | 0.172 | Conc = 5.48e-4 * Area^2 + 0.171 * Area + 0.0336 | 140 | 103 | 0.954 | 0.954 | 0.954