## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2014-05-14 | 10:20 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 200 | 199.9916 | mg/L | 26.5 | 1.91 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 20.2 | 0.825 | 200 | 200 | 200
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2014-05-14 | 10:20 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 400 | 399.6563 | ug P/L | 23.2 | 0.71 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 57.7 | 29.7 | 400 | 400 | 400
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2014-05-14 | 10:21 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 100 | 100.1235 | mg/L | 18.5 | 1.45 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 20.2 | 11.1 | 100 | 100 | 100
CalStd A | Calibration Standard | 1 | 2 | S2 | 1 | 1 |  |  |  | 2014-05-14 | 10:21 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 200 | 202.1076 | ug P/L | 11.6 | 0.355 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 58.1 | 29.7 | 200 | 200 | 200
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2014-05-14 | 10:24 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 50 | 49.6906 | mg/L | 12.2 | 1 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 20.2 | 1.24 | 100 | 50 | 100
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 2 |  |  |  | 2014-05-14 | 10:24 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 100 | 95.7476 | ug P/L | 5.24 | 0.155 | Conc = 0.00 * Area^3 + 0.00 * Area^2 + 0.00 * Area + 0.00 | 59 | 29.7 | 200 | 100 | 200
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 10:27 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 25 | 25.2308 | mg/L | 7.52 | 0.642 | Conc = 5.50e-3 * Area^3 + 9.90e-3 * Area^2 + 3.57 * Area - 4.75 | 19.8 | 1.65 | 100 | 25 | 100
CalStd C | Calibration Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 10:27 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 50 | 51.0607 | ug P/L | 2.75 | 0.0804 | Conc = 0.0274 * Area^3 - 1.02 * Area^2 + 26.8 * Area - 16.5 | 57.7 | 30.5 | 200 | 50 | 200
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2014-05-14 | 10:30 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 10 | 10.046 | mg/L | 3.51 | 0.305 | Conc = 4.13e-3 * Area^3 + 0.0792 * Area^2 + 2.52 * Area - 0.0189 | 19.8 | 1.24 | 100 | 10 | 100
CalStd D | Calibration Standard | 1 | 1 | S2 | 1 | 10 |  |  |  | 2014-05-14 | 10:30 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 20 | 20.7892 | ug P/L | 1.13 | 0.0317 | Conc = 0.0139 * Area^3 - 0.511 * Area^2 + 21.7 * Area - 4.27 | 58.1 | 30.5 | 200 | 20 | 200
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2014-05-14 | 10:33 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 5 | 4.9111 | mg/L | 1.84 | 0.155 | Conc = 4.03e-3 * Area^3 + 0.0837 * Area^2 + 2.46 * Area + 0.158 | 19.4 | 1.24 | 100 | 5 | 100
CalStd E | Calibration Standard | 1 | 1 | S2 | 1 | 20 |  |  |  | 2014-05-14 | 10:33 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 10 | 9.9814 | ug P/L | 0.567 | 0.0157 | Conc = 9.84e-3 * Area^3 - 0.364 * Area^2 + 20.4 * Area - 1.90 | 56.9 | 30.9 | 200 | 10 | 200
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2014-05-14 | 10:36 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 2.5 | 2.5002 | mg/L | 0.981 | 0.0788 | Conc = 4.22e-3 * Area^3 + 0.0757 * Area^2 + 2.55 * Area - 0.0498 | 19.4 | 0.825 | 100 | 2.5 | 100
CalStd F | Calibration Standard | 1 | 1 | S2 | 1 | 40 |  |  |  | 2014-05-14 | 10:36 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 5 | 5.3345 | ug P/L | 0.328 | 0.00822 | Conc = 9.33e-3 * Area^3 - 0.347 * Area^2 + 20.3 * Area - 1.69 | 54 | 29.7 | 200 | 5 | 200
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 10:37 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 1 | Chloride | 0 | 0.022191 | mg/L | 0.0514 | 0.0131 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 13.2 | 1.65 | 0 | 0 | 0
CalStd G | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 10:37 | instrument | OM_5-14-2014_10-17-56AM.OMN |  | 2 | Phosphate | 0 | -0.46437 | ug P/L | 0.0316 | 0.00321 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 128 | 113 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2014-05-14 | 10:38 | instrument | OM_5-14-2014_10-17-56AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21.9 |  | mg/L | 6.74 | 0.58 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.24 | 21.9 | 21.9 | 21.9
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2014-05-14 | 10:38 | instrument | OM_5-14-2014_10-17-56AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 51.5 |  | ug P/L | 2.77 | 0.0804 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 30.1 | 51.5 | 51.5 | 51.5
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2014-05-14 | 10:39 | instrument | OM_5-14-2014_10-17-56AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 22 |  | mg/L | 6.76 | 0.583 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 2.06 | 22 | 22 | 22
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2014-05-14 | 10:39 | instrument | OM_5-14-2014_10-17-56AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 51.6 |  | ug P/L | 2.78 | 0.0815 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 30.5 | 51.6 | 51.6 | 51.6
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2014-05-14 | 10:40 | instrument | OM_5-14-2014_10-17-56AM.OMN | VHG YASUCM-500 1:200 Dilution | 1 | Chloride | 21.8 |  | mg/L | 6.72 | 0.579 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 0.825 | 21.8 | 21.8 | 21.8
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2014-05-14 | 10:40 | instrument | OM_5-14-2014_10-17-56AM.OMN | VHG YASUCM-500 1:200 Dilution | 2 | Phosphate | 51.4 |  | ug P/L | 2.77 | 0.0817 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 59 | 30.5 | 51.4 | 51.4 | 51.4
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2014-05-14 | 10:52 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 24.5 | 24.5464 | mg/L | 7.36 | 0.629 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 2450 | 24.5 | 2450
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2014-05-14 | 10:52 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 51.1 | 51.0608 | ug P/L | 2.75 | 0.0794 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 30.9 | 5110 | 51.1 | 5110
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 10:53 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 0.0239 | 0.023853 | mg/L | 0.052 | 0.0147 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 13.2 | 1.24 | 0.0239 | 0.0239 | 0.0239
Blank | Check Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 10:53 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | -3.35 | -3.3463 | ug P/L | -0.115 | -0.00166 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 49.9 | 21.4 | -3.35 | -3.35 | -3.35
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 10:56 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 25.2 | 25.1717 | mg/L | 7.51 | 0.64 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 19.8 | 1.65 | 101 | 25.2 | 101
CCV | Check Standard | 1 | 1 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 10:56 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 49.3 | 49.3043 | ug P/L | 2.65 | 0.0773 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.3 | 30.1 | 197 | 49.3 | 197
Tres Rios 1654 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2014-05-14 | 11:03 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 12.4 |  | mg/L | 4.22 | 0.368 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 19.8 | 1.24 | 124 | 12.4 | 124
Tres Rios 1654 | Unknown | 1 | 1 | 1 | 1 | 10 |  |  |  | 2014-05-14 | 11:03 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 173 |  | ug P/L | 9.84 | 0.295 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.7 | 1730 | 173 | 1730
Tres Rios 1655 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2014-05-14 | 11:05 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 13.8 |  | mg/L | 4.61 | 0.403 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 19.8 | 1.24 | 138 | 13.8 | 138
Tres Rios 1655 | Unknown | 1 | 1 | 2 | 1 | 10 |  |  |  | 2014-05-14 | 11:05 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 222 |  | ug P/L | 12.8 | 0.386 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.3 | 28.5 | 2220 | 222 | 2220
Tres Rios 1656 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2014-05-14 | 11:08 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 15.9 |  | mg/L | 5.19 | 0.452 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 19.8 | 1.24 | 159 | 15.9 | 159
Tres Rios 1656 | Unknown | 1 | 1 | 3 | 1 | 10 |  |  |  | 2014-05-14 | 11:08 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 207 |  | ug P/L | 11.9 | 0.357 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.7 | 2070 | 207 | 2070
Tres Rios 1657 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2014-05-14 | 11:11 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 41.8 |  | mg/L | 10.8 | 0.91 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 418 | 41.8 | 418
Tres Rios 1657 | Unknown | 1 | 1 | 4 | 1 | 10 |  |  |  | 2014-05-14 | 11:11 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 456 |  | ug P/L | 26.2 | 0.792 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.3 | 4560 | 456 | 4560
Tres Rios 1658 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2014-05-14 | 11:14 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 16.5 |  | mg/L | 5.37 | 0.471 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 2.89 | 165 | 16.5 | 165
Tres Rios 1658 | Unknown | 1 | 1 | 5 | 1 | 10 |  |  |  | 2014-05-14 | 11:14 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 197 |  | ug P/L | 11.3 | 0.337 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.3 | 1970 | 197 | 1970
Tres Rios 1659 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2014-05-14 | 11:16 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 26.2 |  | mg/L | 7.74 | 0.664 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 262 | 26.2 | 262
Tres Rios 1659 | Unknown | 1 | 1 | 6 | 1 | 10 |  |  |  | 2014-05-14 | 11:16 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 350 |  | ug P/L | 20.5 | 0.618 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 29.7 | 3500 | 350 | 3500
Tres Rios 1660 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2014-05-14 | 11:19 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 14.9 |  | mg/L | 4.92 | 0.429 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 149 | 14.9 | 149
Tres Rios 1660 | Unknown | 1 | 1 | 7 | 1 | 10 |  |  |  | 2014-05-14 | 11:19 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 149 |  | ug P/L | 8.34 | 0.248 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.3 | 1490 | 149 | 1490
Tres Rios 1661 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2014-05-14 | 11:22 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 23.4 |  | mg/L | 7.09 | 0.611 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 234 | 23.4 | 234
Tres Rios 1661 | Unknown | 1 | 1 | 8 | 1 | 10 |  |  |  | 2014-05-14 | 11:22 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 172 |  | ug P/L | 9.74 | 0.291 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.7 | 1720 | 172 | 1720
Tres Rios 1662 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2014-05-14 | 11:25 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 11.6 |  | mg/L | 3.99 | 0.348 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 19.8 | 1.24 | 116 | 11.6 | 116
Tres Rios 1662 | Unknown | 1 | 1 | 9 | 1 | 10 |  |  |  | 2014-05-14 | 11:25 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 169 |  | ug P/L | 9.61 | 0.287 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 29.3 | 1690 | 169 | 1690
Tres Rios 1663 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2014-05-14 | 11:27 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 17.2 |  | mg/L | 5.54 | 0.481 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 2.06 | 172 | 17.2 | 172
Tres Rios 1663 | Unknown | 1 | 1 | 10 | 1 | 10 |  |  |  | 2014-05-14 | 11:27 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 178 |  | ug P/L | 10.1 | 0.301 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 30.1 | 1780 | 178 | 1780
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 11:28 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 0.233 | 0.2326 | mg/L | 0.132 | 0.0108 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 13.2 | 2.89 | 0.233 | 0.233 | 0.233
Blank | Check Standard | 1 | 2 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 11:28 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | -4.23 | -4.233 | ug P/L | -0.16 | -0.00236 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 36.7 | 19.8 | -4.23 | -4.23 | -4.23
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 11:31 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 24.9 | 24.9438 | mg/L | 7.45 | 0.642 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 2.06 | 99.8 | 24.9 | 99.8
CCV | Check Standard | 1 | 2 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 11:31 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 51.5 | 51.5054 | ug P/L | 2.77 | 0.0807 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 30.5 | 206 | 51.5 | 206
Tres Rios 1664 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2014-05-14 | 11:37 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 19.2 |  | mg/L | 6.06 | 0.527 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 192 | 19.2 | 192
Tres Rios 1664 | Unknown | 1 | 1 | 11 | 1 | 10 |  |  |  | 2014-05-14 | 11:37 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 195 |  | ug P/L | 11.2 | 0.334 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 29.7 | 1950 | 195 | 1950
Tres Rios 1665 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2014-05-14 | 11:40 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 15.4 |  | mg/L | 5.07 | 0.442 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.24 | 154 | 15.4 | 154
Tres Rios 1665 | Unknown | 1 | 1 | 12 | 1 | 10 |  |  |  | 2014-05-14 | 11:40 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 177 |  | ug P/L | 10.1 | 0.3 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 58.1 | 30.1 | 1770 | 177 | 1770
Tres Rios 1657 | Unknown | 1 | 2 | 4 | 1 | 100 |  |  |  | 2014-05-14 | 11:43 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 4.33 |  | mg/L | 1.64 | 0.139 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 19.8 | 2.06 | 433 | 4.33 | 433
Tres Rios 1657 | Unknown | 1 | 2 | 4 | 1 | 100 |  |  |  | 2014-05-14 | 11:43 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 51.4 |  | ug P/L | 2.77 | 0.0802 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 29.3 | 5140 | 51.4 | 5140
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 11:48 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 0.0246 | 0.024567 | mg/L | 0.0523 | 0.0138 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 13.2 | 1.65 | 0.0246 | 0.0246 | 0.0246
Blank | Check Standard | 1 | 3 | S3 | 1 | 1 |  |  |  | 2014-05-14 | 11:48 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | -1.8 | -1.8042 | ug P/L | -0.0366 | -0.00109 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 34.6 | 20.2 | -1.8 | -1.8 | -1.8
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 11:51 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 1 | Chloride | 24.9 | 24.8649 | mg/L | 7.44 | 0.638 | Conc = 4.32e-3 * Area^3 + 0.0719 * Area^2 + 2.59 * Area - 0.111 | 20.2 | 1.65 | 99.5 | 24.9 | 99.5
CCV | Check Standard | 1 | 3 | S2 | 1 | 4 |  |  |  | 2014-05-14 | 11:51 | instrument | OM_5-14-2014_10-49-24AM.OMN |  | 2 | Phosphate | 50 | 50.0487 | ug P/L | 2.69 | 0.0783 | Conc = 6.88e-3 * Area^3 - 0.264 * Area^2 + 19.7 * Area - 1.08 | 57.7 | 30.9 | 200 | 50 | 200