## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2015-01-26 | 10:33 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 21.7 | 0.629 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 72.2 | 42.9 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2015-01-26 | 10:34 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 9.69 | 0.288 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 72.6 | 42.5 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2015-01-26 | 10:35 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.57 | 0.0769 | Conc = 8.36e-4 * Area^2 + 0.0740 * Area + 4.79e-3 | 72.6 | 43.7 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-01-26 | 10:36 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.667 | 0.02 | Conc = 7.85e-4 * Area^2 + 0.0752 * Area - 2.03e-4 | 73.4 | 41.2 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2015-01-26 | 10:37 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.019814 | mg N/L | 0.268 | 0.00803 | Conc = 7.84e-4 * Area^2 + 0.0753 * Area - 2.23e-4 | 72.6 | 39.2 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2015-01-26 | 10:39 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.010007 | mg N/L | 0.141 | 0.00431 | Conc = 7.79e-4 * Area^2 + 0.0754 * Area - 4.75e-4 | 73.8 | 46.2 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2015-01-26 | 10:40 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0052902 | mg N/L | 0.0853 | 0.00252 | Conc = 7.62e-4 * Area^2 + 0.0757 * Area - 1.05e-3 | 68.5 | 39.6 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-01-26 | 10:41 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.0016051 | mg N/L | -0.0241 | -0.000864 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 41.6 | 22.3 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2015-01-26 | 10:42 | instrument | OM_1-26-2015_10-31-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.481 |  | mg N/L | 6.05 | 0.18 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.2 | 42.5 | 0.481 | 0.481 | 0.481
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2015-01-26 | 10:43 | instrument | OM_1-26-2015_10-31-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.481 |  | mg N/L | 6.05 | 0.18 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 71.8 | 43.7 | 0.481 | 0.481 | 0.481
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2015-01-26 | 10:45 | instrument | OM_1-26-2015_10-31-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 0.479 |  | mg N/L | 6.03 | 0.179 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.6 | 42.9 | 0.479 | 0.479 | 0.479
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2015-01-26 | 10:49 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.000335 | 0.0004073 | mg N/L | 0.00319 | 0.000518 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 101 | 56.9 | 0.000335 | 0.000335 | 0.000335
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2015-01-26 | 10:50 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0513 | 0.050943 | mg N/L | 0.683 | 0.0202 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 74.2 | 37.9 | 0.0513 | 0.0513 | 0.0513
Tres Rios 1702 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2015-01-26 | 10:54 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.214 |  | mg N/L | 2.79 | 0.0832 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.6 | 43.7 | 0.214 | 0.214 | 0.214
Tres Rios 1703 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2015-01-26 | 10:55 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.208 |  | mg N/L | 2.71 | 0.0806 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 71.8 | 42.5 | 0.208 | 0.208 | 0.208
Tres Rios 1704 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2015-01-26 | 10:56 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.179 |  | mg N/L | 2.35 | 0.0707 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.2 | 42.5 | 0.179 | 0.179 | 0.179
Tres Rios 1705 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2015-01-26 | 10:58 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.239 |  | mg N/L | 3.1 | 0.0924 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 71.8 | 43.7 | 0.239 | 0.239 | 0.239
Tres Rios 1706 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2015-01-26 | 10:59 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.253 |  | mg N/L | 3.28 | 0.098 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 73 | 43.3 | 0.253 | 0.253 | 0.253
Tres Rios 1707 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2015-01-26 | 11:00 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.269 |  | mg N/L | 3.47 | 0.103 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.2 | 43.3 | 0.269 | 0.269 | 0.269
Tres Rios 1708 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2015-01-26 | 11:01 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0391 |  | mg N/L | 0.52 | 0.0155 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.6 | 42.9 | 0.0391 | 0.0391 | 0.0391
Tres Rios 1709 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2015-01-26 | 11:02 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0321 |  | mg N/L | 0.428 | 0.0127 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 71.8 | 44.5 | 0.0321 | 0.0321 | 0.0321
Tres Rios 1710 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2015-01-26 | 11:03 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.00583 |  | mg N/L | 0.077 | 0.00212 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 74.2 | 42.1 | 0.00583 | 0.00583 | 0.00583
Tres Rios 1711 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2015-01-26 | 11:05 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.199 |  | mg N/L | 2.59 | 0.0773 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.2 | 42.5 | 0.199 | 0.199 | 0.199
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2015-01-26 | 11:06 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | -0.000246 | -0.00016768 | mg N/L | -0.00462 | -0.000597 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 37.1 | 35.5 | -0.000246 | -0.000246 | -0.000246
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2015-01-26 | 11:07 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.0509 | 0.050485 | mg N/L | 0.677 | 0.0204 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 73.4 | 44.1 | 0.0509 | 0.0509 | 0.0509
Tres Rios 1712 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2015-01-26 | 11:11 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.274 |  | mg N/L | 3.53 | 0.106 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.2 | 43.3 | 0.274 | 0.274 | 0.274
Tres Rios 1713 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2015-01-26 | 11:12 | instrument | OM_1-26-2015_10-31-41AM.OMN |  | 1 | NItrate/Nitrite | 0.244 |  | mg N/L | 3.17 | 0.0944 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 72.2 | 42.9 | 0.244 | 0.244 | 0.244
Ext Source QC | Method Detection Limit | 1 | 2 | S16 | 1 | 1 |  |  |  | 2015-01-26 | 11:13 | instrument | OM_1-26-2015_10-31-41AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.05 |  | mg N/L | 12.4 | 0.365 | Conc = 8.24e-4 * Area^2 + 0.0745 * Area + 9.77e-5 | 71.8 | 42.9 | 1.05 | 1.05 | 1.05