## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2014-10-13 | 10:04 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 2 | 1.9996 | mg N/L | 23.8 | 0.681 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 72.2 | 42.5 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2014-10-13 | 10:05 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0.8023 | mg N/L | 10.3 | 0.305 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 72.2 | 42.5 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2014-10-13 | 10:07 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0.19414 | mg N/L | 2.6 | 0.0794 | Conc = 5.27e-4 * Area^2 + 0.0709 * Area + 0.0118 | 72.2 | 42.9 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2014-10-13 | 10:08 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.049057 | mg N/L | 0.639 | 0.0193 | Conc = 4.59e-4 * Area^2 + 0.0728 * Area + 3.95e-3 | 73.4 | 44.1 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2014-10-13 | 10:09 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.021017 | mg N/L | 0.252 | 0.00772 | Conc = 4.34e-4 * Area^2 + 0.0734 * Area + 2.05e-3 | 74.2 | 42.1 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2014-10-13 | 10:10 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.01348 | mg N/L | 0.148 | 0.00494 | Conc = 3.99e-4 * Area^2 + 0.0743 * Area + 1.21e-4 | 73 | 43.3 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2014-10-13 | 10:11 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0034463 | mg N/L | 0.00878 | 0.00124 | Conc = 4.76e-4 * Area^2 + 0.0725 * Area + 2.65e-3 | 72.6 | 62.7 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2014-10-13 | 10:13 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0 | -0.00021283 | mg N/L | -0.042 | -0.00113 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 79.6 | 16.5 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2014-10-13 | 10:14 | instrument | OM_10-13-2014_10-03-14AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.1 |  | mg N/L | 13.9 | 0.409 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73 | 43.3 | 1.1 | 1.1 | 1.1
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2014-10-13 | 10:15 | instrument | OM_10-13-2014_10-03-14AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.1 |  | mg N/L | 13.9 | 0.409 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.4 | 43.7 | 1.1 | 1.1 | 1.1
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2014-10-13 | 10:16 | instrument | OM_10-13-2014_10-03-14AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.11 |  | mg N/L | 13.9 | 0.409 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73 | 42.5 | 1.11 | 1.11 | 1.11
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2014-10-13 | 10:20 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.00187 | 0.0018924 | mg N/L | -0.0128 | -0.000621 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 108 | 58.6 | 0.00187 | 0.00187 | 0.00187
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2014-10-13 | 10:21 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.0488 | 0.048693 | mg N/L | 0.634 | 0.0191 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 72.6 | 41.6 | 0.0488 | 0.0488 | 0.0488
Tres Rios 1678 | Unknown | 1 | 1 | 54 | 1 | 1 |  |  |  | 2014-10-13 | 11:54 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.198 |  | mg N/L | 2.65 | 0.0788 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.4 | 43.7 | 0.198 | 0.198 | 0.198
Tres Rios 1679 | Unknown | 1 | 1 | 55 | 1 | 1 |  |  |  | 2014-10-13 | 11:56 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.199 |  | mg N/L | 2.67 | 0.0791 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.8 | 42.5 | 0.199 | 0.199 | 0.199
Tres Rios 1680 | Unknown | 1 | 1 | 56 | 1 | 1 |  |  |  | 2014-10-13 | 11:57 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.21 |  | mg N/L | 2.81 | 0.0829 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.8 | 42.9 | 0.21 | 0.21 | 0.21
Tres Rios 1681 | Unknown | 1 | 1 | 57 | 1 | 1 |  |  |  | 2014-10-13 | 11:58 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.178 |  | mg N/L | 2.39 | 0.0701 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.4 | 43.7 | 0.178 | 0.178 | 0.178
Tres Rios 1682 | Unknown | 1 | 1 | 58 | 1 | 1 |  |  |  | 2014-10-13 | 11:59 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.217 |  | mg N/L | 2.9 | 0.0862 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.4 | 44.1 | 0.217 | 0.217 | 0.217
Tres Rios 1683 | Unknown | 1 | 1 | 59 | 1 | 1 |  |  |  | 2014-10-13 | 12:00 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.252 |  | mg N/L | 3.37 | 0.0995 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.4 | 43.3 | 0.252 | 0.252 | 0.252
Tres Rios 1684 | Unknown | 1 | 1 | 60 | 1 | 1 |  |  |  | 2014-10-13 | 12:02 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.013 |  | mg N/L | 0.141 | 0.00406 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 67.2 | 42.5 | 0.013 | 0.013 | 0.013
Blank | Check Standard | 1 | 7 | S8 | 1 | 1 |  |  |  | 2014-10-13 | 12:03 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.00117 | 0.0011944 | mg N/L | -0.0225 | -0.000733 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 93.2 | 35.1 | 0.00117 | 0.00117 | 0.00117
CCV | Check Standard | 1 | 7 | S4 | 1 | 1 |  |  |  | 2014-10-13 | 12:04 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.0491 | 0.048931 | mg N/L | 0.637 | 0.0188 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.4 | 42.1 | 0.0491 | 0.0491 | 0.0491
Tres Rios 1685 | Unknown | 1 | 1 | 61 | 1 | 1 |  |  |  | 2014-10-13 | 12:08 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.0105 |  | mg N/L | 0.106 | 0.00292 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 69.7 | 40.4 | 0.0105 | 0.0105 | 0.0105
Tres Rios 1686 | Unknown | 1 | 1 | 62 | 1 | 1 |  |  |  | 2014-10-13 | 12:09 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.0145 |  | mg N/L | 0.162 | 0.00466 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 69.7 | 42.1 | 0.0145 | 0.0145 | 0.0145
Tres Rios 1687 | Unknown | 1 | 1 | 63 | 1 | 1 |  |  |  | 2014-10-13 | 12:10 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.175 |  | mg N/L | 2.34 | 0.0695 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.8 | 44.5 | 0.175 | 0.175 | 0.175
Tres Rios 1688 | Unknown | 1 | 1 | 64 | 1 | 1 |  |  |  | 2014-10-13 | 12:12 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.191 |  | mg N/L | 2.56 | 0.0758 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73.8 | 43.3 | 0.191 | 0.191 | 0.191
Tres Rios 1689 | Unknown | 1 | 1 | 65 | 1 | 1 |  |  |  | 2014-10-13 | 12:13 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.0385 |  | mg N/L | 0.492 | 0.0143 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 73 | 40.4 | 0.0385 | 0.0385 | 0.0385
Blank | Check Standard | 1 | 8 | S8 | 1 | 1 |  |  |  | 2014-10-13 | 12:17 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.00224 | 0.002257 | mg N/L | -0.00772 | -0.000591 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 34.2 | 18.1 | 0.00224 | 0.00224 | 0.00224
CCV | Check Standard | 1 | 8 | S4 | 1 | 1 |  |  |  | 2014-10-13 | 12:18 | instrument | OM_10-13-2014_10-03-14AM.OMN |  | 1 | NItrate/Nitrite | 0.049 | 0.048864 | mg N/L | 0.636 | 0.0188 | Conc = 4.82e-4 * Area^2 + 0.0724 * Area + 2.80e-3 | 72.2 | 44.1 | 0.049 | 0.049 | 0.049