## Sheet1
Sample ID | Sample Type | Replicate Number | Repeat Number | Cup Number | Manual Dilution Factor | Auto Dilution Factor | Weight (Units) | Weight | Units | Detection Date | Detection Time | User Name | Run File Name | Description | Channel Number | Analyte Name | Peak Concentration | Determined Conc. | Concentration Units | Peak Area | Peak Height | Calibration equation | Retention Time | Inject to Peak Start | Conc x ADF | Conc x MDF | Conc x ADF x MDF
CalStd A | Calibration Standard | 1 | 1 | S1 | 1 | 1 |  |  |  | 2014-11-19 | 10:16 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 2 | 0 | mg N/L | 25.5 | 0.679 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 72.2 | 40 | 2 | 2 | 2
CalStd B | Calibration Standard | 1 | 1 | S2 | 1 | 1 |  |  |  | 2014-11-19 | 10:17 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.8 | 0 | mg N/L | 10.2 | 0.28 | Conc = 0.00 * Area^2 + 0.00 * Area + 0.00 | 72.2 | 41.6 | 0.8 | 0.8 | 0.8
CalStd C | Calibration Standard | 1 | 1 | S3 | 1 | 1 |  |  |  | 2014-11-19 | 10:18 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.2 | 0 | mg N/L | 2.66 | 0.0739 | Conc = - 4.84e-5 * Area^2 + 0.0800 * Area - 0.0125 | 72.6 | 40.8 | 0.2 | 0.2 | 0.2
CalStd D | Calibration Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2014-11-19 | 10:19 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.05 | 0.05 | mg N/L | 0.751 | 0.0209 | Conc = - 2.78e-5 * Area^2 + 0.0794 * Area - 9.83e-3 | 70.9 | 42.9 | 0.05 | 0.05 | 0.05
CalStd E | Calibration Standard | 1 | 1 | S5 | 1 | 1 |  |  |  | 2014-11-19 | 10:21 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.02 | 0.017986 | mg N/L | 0.154 | 0.00422 | Conc = 1.66e-4 * Area^2 + 0.0741 * Area + 4.58e-3 | 70.1 | 44.5 | 0.02 | 0.02 | 0.02
CalStd F | Calibration Standard | 1 | 1 | S6 | 1 | 1 |  |  |  | 2014-11-19 | 10:22 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.01 | 0.011554 | mg N/L | 0.101 | 0.003 | Conc = 1.46e-4 * Area^2 + 0.0747 * Area + 3.24e-3 | 70.9 | 44.5 | 0.01 | 0.01 | 0.01
CalStd G | Calibration Standard | 1 | 1 | S7 | 1 | 1 |  |  |  | 2014-11-19 | 10:23 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.005 | 0.0050375 | mg N/L | 0.00526 | 0.00116 | Conc = 1.64e-4 * Area^2 + 0.0742 * Area + 4.03e-3 | 96.1 | 88.2 | 0.005 | 0.005 | 0.005
Cal Std H | Calibration Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2014-11-19 | 10:24 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0 | 0.002218 | mg N/L | -0.0146 | -0.000583 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 121 | 58.6 | 0 | 0 | 0
Ext Source QC | Method Detection Limit | 1 | 1 | S16 | 1 | 1 |  |  |  | 2014-11-19 | 10:25 | instrument | OM_11-19-2014_10-14-50AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.21 |  | mg N/L | 15.7 | 0.425 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 71.8 | 40 | 1.21 | 1.21 | 1.21
Ext Source QC | Method Detection Limit | 2 | 1 | S16 | 1 | 1 |  |  |  | 2014-11-19 | 10:27 | instrument | OM_11-19-2014_10-14-50AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.21 |  | mg N/L | 15.7 | 0.424 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 40.4 | 1.21 | 1.21 | 1.21
Ext Source QC | Method Detection Limit | 3 | 1 | S16 | 1 | 1 |  |  |  | 2014-11-19 | 10:28 | instrument | OM_11-19-2014_10-14-50AM.OMN | VHG YASUCM-500 1:50 Dilution | 1 | NItrate/Nitrite | 1.21 |  | mg N/L | 15.6 | 0.425 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.6 | 41.2 | 1.21 | 1.21 | 1.21
Blank | Check Standard | 1 | 1 | S8 | 1 | 1 |  |  |  | 2014-11-19 | 10:32 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.00354 | 0.0037881 | mg N/L | 0.00789 | -0.000601 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 129 | 42.5 | 0.00354 | 0.00354 | 0.00354
CCV | Check Standard | 1 | 1 | S4 | 1 | 1 |  |  |  | 2014-11-19 | 10:33 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.0596 | 0.056478 | mg N/L | 0.755 | 0.0208 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 41.6 | 0.0596 | 0.0596 | 0.0596
Tres Rios 1690 | Unknown | 1 | 1 | 1 | 1 | 1 |  |  |  | 2014-11-19 | 10:38 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.27 |  | mg N/L | 3.55 | 0.0973 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 40.4 | 0.27 | 0.27 | 0.27
Tres Rios 1691 | Unknown | 1 | 1 | 2 | 1 | 1 |  |  |  | 2014-11-19 | 10:39 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.252 |  | mg N/L | 3.3 | 0.0908 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 73 | 40.8 | 0.252 | 0.252 | 0.252
Tres Rios 1692 | Unknown | 1 | 1 | 3 | 1 | 1 |  |  |  | 2014-11-19 | 10:41 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.286 |  | mg N/L | 3.76 | 0.103 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 41.6 | 0.286 | 0.286 | 0.286
Tres Rios 1693 | Unknown | 1 | 1 | 4 | 1 | 1 |  |  |  | 2014-11-19 | 10:42 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.28 |  | mg N/L | 3.68 | 0.101 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 41.2 | 0.28 | 0.28 | 0.28
Tres Rios 1694 | Unknown | 1 | 1 | 5 | 1 | 1 |  |  |  | 2014-11-19 | 10:43 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.294 |  | mg N/L | 3.86 | 0.106 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 40.4 | 0.294 | 0.294 | 0.294
Tres Rios 1695 | Unknown | 1 | 1 | 6 | 1 | 1 |  |  |  | 2014-11-19 | 10:44 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.281 |  | mg N/L | 3.68 | 0.101 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.6 | 40.8 | 0.281 | 0.281 | 0.281
Tres Rios 1696 | Unknown | 1 | 1 | 7 | 1 | 1 |  |  |  | 2014-11-19 | 10:45 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.0802 |  | mg N/L | 1.03 | 0.0272 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 70.9 | 40.4 | 0.0802 | 0.0802 | 0.0802
Tres Rios 1697 | Unknown | 1 | 1 | 8 | 1 | 1 |  |  |  | 2014-11-19 | 10:47 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.014 |  | mg N/L | 0.147 | 0.00412 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 62.7 | 40.8 | 0.014 | 0.014 | 0.014
Tres Rios 1698 | Unknown | 1 | 1 | 9 | 1 | 1 |  |  |  | 2014-11-19 | 10:48 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.0121 |  | mg N/L | 0.123 | 0.004 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 58.1 | 40.4 | 0.0121 | 0.0121 | 0.0121
Tres Rios 1699 | Unknown | 1 | 1 | 10 | 1 | 1 |  |  |  | 2014-11-19 | 10:49 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.293 |  | mg N/L | 3.85 | 0.106 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 40.4 | 0.293 | 0.293 | 0.293
Blank | Check Standard | 1 | 2 | S8 | 1 | 1 |  |  |  | 2014-11-19 | 10:50 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.00223 | 0.0025659 | mg N/L | -0.00964 | -0.000652 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 101 | 94.4 | 0.00223 | 0.00223 | 0.00223
CCV | Check Standard | 1 | 2 | S4 | 1 | 1 |  |  |  | 2014-11-19 | 10:51 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.0593 | 0.05621 | mg N/L | 0.751 | 0.0208 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 42.9 | 0.0593 | 0.0593 | 0.0593
Tres Rios 1700 | Unknown | 1 | 1 | 11 | 1 | 1 |  |  |  | 2014-11-19 | 10:56 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.279 |  | mg N/L | 3.66 | 0.1 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 73 | 40.4 | 0.279 | 0.279 | 0.279
Tres Rios 1701 | Unknown | 1 | 1 | 12 | 1 | 1 |  |  |  | 2014-11-19 | 10:57 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.311 |  | mg N/L | 4.08 | 0.112 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 72.2 | 42.5 | 0.311 | 0.311 | 0.311
Dilution check | Check Standard | 1 | 1 | S15 | 1 | 100 |  |  |  | 2014-11-19 | 11:02 | instrument | OM_11-19-2014_10-14-50AM.OMN | 50/50 100 ppm each NO3 and NH4 Stocks | 1 | NItrate/Nitrite | 0.00396 | 0.004177 | mg N/L | 0.0135 | 0.000616 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 122 | 39.2 | 0.396 | 0.00396 | 0.396
Blank | Check Standard | 1 | 3 | S8 | 1 | 1 |  |  |  | 2014-11-19 | 11:06 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.00444 | 0.0046254 | mg N/L | 0.0199 | 0.000655 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 49.9 | 40 | 0.00444 | 0.00444 | 0.00444
CCV | Check Standard | 1 | 3 | S4 | 1 | 1 |  |  |  | 2014-11-19 | 11:07 | instrument | OM_11-19-2014_10-14-50AM.OMN |  | 1 | NItrate/Nitrite | 0.0591 | 0.056017 | mg N/L | 0.748 | 0.0206 | Conc = 1.36e-4 * Area^2 + 0.0749 * Area + 2.95e-3 | 71.3 | 36.7 | 0.0591 | 0.0591 | 0.0591